OFFICE OF THE SUB DIVISIONAL ENGINEER (E)

BSNL ELECTRICAL SUB DIVISION-II

Qtr. No.1,Type-I,Ground Floor, BSNL ( P & T ) Colony             Bakshi Nagar, Jammu ( J & K )

#### TENDER DOCUMENT

NIT NO :- 21/EE(E)-I/BSNL/ESD-II/JMU/2023-24/04                       DATED:- 03.10.2023

| Name of work :- | Dismantling of faulty batteries & replacement of new Batteries for 7.5KVA UPS for circle office at 4th floor in BSNL bldg at Trikuta Nagar Jammu. |
| --- | --- |
| Estimated cost :- | Rs.48490/- |
| Earnest Money (EMD) :- | Rs.970/- |

DUE  DATE OF OPENING :- 17.10.2023    **********************************************************************************

Tender Cost = Rs. 150/- + GST as applicable.

NAME  OF AGENCY:-

DATE OF SALE ( Not to be filled for downloaded tenders ) :-

DD/CDR/FDR  No.,  Date , Amount & Name of Bank  for tender sale cost ( For downloaded tenders only) :-

DD/CDR/FDR No.  Date, Amount & Name of Bank for EMD:-

# SEAL OF FIRM					             Sub Divisional Engineer (E)

# INDEX

| SN | Details | Page No. |
| --- | --- | --- |
| 1 | Front Page | 1 |
| 2 | Index | 2 |
| 3 | Correction Slip | 3 |
| 4 | Web Notification | 4-8 |
| 5 | Certificate/undertaking | 5-12 |
| 6 | N.I.T. (FORM C.P.W.D – 6 ) B.S.N.L-EW-6 | 13-16 |
| 7 | (Bid Security declaration ) EMD declaration to be furnished by the agency) | 17-17 |
| 8 | Model form of Bank Guarantees | 18-18 |
| 9 | Model form of PG | 19-20 |
| 10 | Item Rate Tender / Contract for works | 21-25 |
| 11 | Special Conditions of Contract | 26-29 |
| 12 | Schedule of Work | 30-32 |
| 13 | General conditions/ Specifications | 33-34 |
| 14 | List of approved makes | 35-37 |

# CORRECTION - SLIP

Addendum/ Modification to CPWD-8 Forms Conditions of Contract- Definitions :

#### All References To-

- B.S.N.L.

- D.G works/ Additional Chief Engineer CPWD/Chief Engineer of zone.

- Administrative Head of  B.S.N.L..

- BSNL Circles/ Civil Circle

- Ministry of works, Housing & Supply.

- President of India

In various clauses shall be taken to mean :

- B.S.N.L. ( Electrical Engineering)

- Chief Engineer (Electrical) B.S.N.L.

- Administrative Head of B.S.N.L.

- BSNL Electrical Circle and

- B.S.N.L.( Ministry of Communications)

- CMD BSNL/his authorized representative

# WEB NOTIFICATION

NIT NO:- 21/EE(E)-I/BSNL/ESD-II/JMU/2023-24/04                     DATED:- 03.10.2023

| 1.0 | The SDE(E)-II JMU invites on behalf of the BSNL sealed item rate tenders for the following work from the approved and eligible firms satisfying the following eligibility conditions: |
| --- | --- |
|  | Name of work :- | Dismantling of faulty batteries & replacement of new Batteries for 7.5KVA UPS for circle office at 4th floor in BSNL bldg at Trikuta Nagar Jammu. |
|  | Estimated cost :- | Rs.48490/- |
|  | Earnest Money (EMD) :- | Rs.970/- |
|  | Time for completion :- | 15-Days |
|  | Price of tender document (Tender Fees) :- | Rs.150/- + GST as applicable (Non-refundable) |
|  | Last date of rect. Of application :- | 16.10.2023 [Up to 16.00 Hrs.] |
|  | Last date of issue of tender :- | 16.10.2023 [Up to 16.00 Hrs.] |
|  | Last date of rect. of tender :- | 17.10.2023 [Up to 15.00 Hrs.] |
|  | Date of opening of tender :- | 17.10.2023 [At 15.30 Hrs.] |
| 2.0 | Eligibility Conditions: ELIGIBILITY CRITERIA :- A. The Contractors satisfying the following conditions:  Average annual turnover during the last 3 years, ending 31st March of the previous financial year, Should be at least 30% of the estimated cost put to tender. AND  BSNL enlisted contractors in Electrical category of respective class as per their tendering limits. (Class-II) Statutory obligations:- |
|  | Note:- 1.Contractor should have sales tax clearance from J&K Govt. Sales Tax Dept. and the agencies who are not able to produce sales tax clearance certificate at the time of opening of tenders shall give an affidavit, duly notarized, stating that they will submit the sales tax clearance certificate from J&K Govt. Sales Tax Dept.. Before finalizing the contract within fifteen days of the request by the Deptt.. Else their EMD [(Bid Security declaration) EMD declaration to be furnished by the agency)] shall be forfeited absolutely and the firm shall not be allowed to participate in the next tender for the same work. 2. The agency should have EPF and ESI registration certificates from appropriate Govt. authorities. The agencies who claim to be exempted from EPF / ESI should submit an affidavit on judicial stamp paper for the same. |
| 3.0 | Testimonials:- |  |
| 3.1 | The firm shall submit application for issue of tender documents on its printed letter head. Copies of the documents in support of fulfilling the eligibility criterion submitted by the firm shall be self attested as well as certified by any BSNL Executive. |
| 3.2 | Chartered Accountant Certificate for turnover with a copy of PAN card issued by Income Tax department. |
| 3.3 | Documentary proof of satisfying the eligibility conditions in respect of the physical, financial norms, enlistment etc. as in Para 2.0 above. |
| 3.4 | Certificate as per Annexure- I about relative not working in BSNL. |
| 4.0 | BID DOCUMENTS:- |  |
| 4.1 | The tender documents consisting of Plans, Specifications, Schedule of quantities of the various classes of work to be done and the set of terms & conditions of the contract to be complied with by the contractor, whose tender may be accepted and all other relevant information/documents can be downloaded for quoting the tender from our website "www.jandk.bsnl.co.in” |
|  | ALTERNATIVLELY |
| 4.2 | Tender Documents consisting of plans, specifications, the schedule of quantities of the various classes of works to be done and the set of terms and conditions of contract to be complied with by the contractor whose tender may be accepted and other necessary documents can be seen in the office of SDE (E)-II Jammu between 10:00 hrs to 16:00 hrs up to 17.10.2023 every day except on Sundays and public holidays. Tender Documents, excluding standard form will be issued from this office during the hours and on payment specified above. |
| 5.0 | Submission of tenders: -The bids shall be submitted as per two envelope system as described below:- |
| 5.1 | Tenderers, who has purchased tender from this office, shall submit the tenders in two separate sealed envelopes (not to be enclosed in the third envelope) marked as "FIRST COVER FOR THE WORK OF :(NAME OF WORK)" and "SECOND COVER FOR THE WORK OF:(NAME OF WORK)".- |
|  | -The FIRST envelope should contain the Earnest money deposit in the shape of an irrevocable Bank Guarantee Bond of any Scheduled Bank or State Bank of India /CDR/FDR/DD/Pay order of a Scheduled/Nationalized Bank guaranteed by RBI drawn in favour of AO, Cash O/o GMTD BSNL , JAMMU and the SECOND cover should contain the Tender document. In case the First cover is not annexed or Earnest Money is not in proper form, the Second envelope containing tenders will not be opened at all.( Performa for bank guarantee as per Annexure-II ) |
| 5.2 | However the tenderer , who has downloaded tender from internet, shall submit the tenders in two separate sealed envelopes marked as cover as indicated below (not to be enclosed in the third envelope). |
|  | (I) First separate sealed envelope marked as "INTERNET DOWNLOADED TENDER FIRST COVER FOR THE WORK OF : (NAME OF WORK)" containing - |
|  | -(a)The Tender fees in the shape of Demand Draft/Pay order of a Scheduled/Nationalized Bank guaranteed by RBI drawn in favour of AO, Cash O/o GMTD BSNL , JAMMU. |
|  | -(b)The Earnest money deposit in the shape of an irrevocable Bank Guarantee Bond of any Scheduled Bank or State Bank of India /CDR/FDR/DD/Pay order of a Scheduled/Nationalized Bank guaranteed by RBI drawn in favour of AO, Cash O/o GMTD BSNL , JAMMU.(Performa for bank guarantee as per Annexure-II) |
|  | -(c) the documents as required as per prequalification criteria specified in Tender Notice. |
|  | (II) The Second sealed envelope shall be marked as "INTERNET DOWNLOADED TENDER SECOND COVER FOR THE WORK OF :(NAME OF WORK)" containing the internet downloaded bid documents. The second envelope shall be opened only on the fulfillment of prequalification eligibility conditions and the EMD plus tender fees is deposited in correct form. The decision of the officer in charge opening the tender for the same shall be final and binding. If the second cover is not considered to be opened, the tender fees plus EMD shall be returned in original form including the second cover unopened. |
|  | Note : (Applicable if tender is downloaded from internet) The tenderer shall submit the original computer printout of the document from website. The photocopy shall not be accepted. If during the process of tender finalization it is detected the tenderer has submitted the tender documents after making changes/ additions /deletions in the tender documents downloaded from the website, the offer shall be summarily rejected and the EMD deposited by tenderer shall be forfeited in addition to any other action as per prevalent rules. Further, if any discrepancy is noted in the tender downloaded from internet and the hard copy available in the tender issuing office after the agreement is drawn, the hard copy as available in the issuing office shall be treated as final. |
| 6.0 | Tender opening:- |  |
| 6.1 | Tenders, which should always be placed in sealed envelope, in the manner detailed at Para no. 5.0 above, will be received by the SDE(E)-II, Jammu, on 17.10.2023 [Up to 15.00 Hrs.] and will be opened by him or his authorized representative in his office on the same day at 15:30 Hrs. |
| 6.2 | If a holiday is declared on the tender opening day, the tenders will be opened on the next working day. |
| 7.0 | The following are the situations/conditions under which tender will not be opened or considered liable for rejection. |
| 7.1 | If Envelope-I is not annexed or the documents submitted in the Envelope-I are found incomplete or not in proper form against requirements as per clause- 5.1 and 5.2, then the Envelope II containing price bid will not be opened at all and shall be returned to the tenderer on the spot if the tenderer is present at the time of tender opening. |
| 7.2 | The tender in which rates are to be quoted should be properly bound and sealed. In case of loose/spiral bound submission of tender, the tender shall be liable for rejection. (In case of the downloaded tender documents from the internet). |
| 7.3 | Every page of downloaded tender shall be signed by the tenderer with stamp (seal) of his firm/organization and the tenderer shall furnish a declaration” that No addition/ deletion/ correction have been made in the tender document submitted and it is identical to the tender document appearing on website. (In case of the downloaded tender documents from the internet)”. |
| 7.4 | If it is found at any stage of tender scrutiny after submission of tender that the bidder has made any correction/addition/alternation/omission in tender documents vis-a-vis tender documents available on the website/original draft NIT in office, the bid shall be treated as non responsive and shall be summarily rejected and the EMD deposited by tenderer shall be forfeited in addition to any other action as per prevalent rules. |
| 7.5 | The conditional tender or tenders with conditional rebate shall be summarily rejected. However tenders with unconditional rebate will be considered. |
| 7.6 | The tenderer shall submit the original computer printout of the tender documents downloaded from the internet. The photo copy shall not be accepted. |
| 7.7 | The tender documents shall not be sent through the Courier/ Post. The tender document received through Courier/ Post shall not be opened/ considered at all. |
| 7.8 | Canvassing whether directly or indirectly, in connection with tenders is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable to rejection. |
| 8.0 | Performance Guarantee:- The Contractor shall be required to deposit an amount equal to 5% of the tendered value of the work as performance guarantee in the form of an irrevocable Bank Guarantee Bond of any Scheduled Bank or State Bank of India /CDR/FDR/DD etc. as in the case of recovery of Security deposit within TWO WEEKS from the date of issue of Award letter. The validity period of the performance security in the form of performance bank guarantee shall be twelve months from the date of actual completion of work. Further, a sum @10% of the gross value of the bill amount shall be deducted from each running bill till the sum along with the sum already deposited as earnest money [(Bid Security declaration ) EMD declaration to be furnished by the agency)] will amount to security deposit of 5% of the tendered value of the work. Alternatively the firm can deposit an irrevocable bank Guarantee Bond of any Scheduled Bank or State Bank of India /CDR/FDR/DD etc. for a sum @ 10% of tendered value of the work as Security-cum-performance guarantee. (Performa for bank guarantee as per Annexure-III). |
|  | In the event of failure on the part of the successful tenderer to furnish the performance guarantee with in 15 days, the earnest money deposited (EMD) [(Bid Security declaration ) EMD declaration to be furnished by the agency)] will be forfeited and tender shall be cancelled. |
| 9.0 | Tenders are advised to inspect and examine the site and its surrounding and satisfy them-selves before submitting their tenders as to the nature of the ground and sub soil (so far as is practicable), the form and nature of the site, the means of access to the site, the accommodation they may requisite and in general shall themselves obtain all necessary information as to risks, contingencies and other circumstances which may influence or affect their tender. A tenderer shall be deemed to have full knowledge of the site whether he inspects it or not and no extra charges consequent on any misunderstanding or otherwise shall be allowed. The tenderer shall be responsible for arranging and maintaining at his own cost all materials, tools & plants, water, electricity, access facilities for workers and all other services required for executing the work unless otherwise specifically provided for in the contract documents. |
| 10.0 | Submission of tender by a tenderer implies that he has read this notice and all other contract documents and has made himself aware of the scope and specifications of the work to be done and of conditions and rates at which stores, tools, and plants, etc. will be issued to him by the Government and local conditions and other factors having a bearing on the execution of the work. |
| 11.0 | The competent authority on behalf of the BSNL does not bind himself to accept the lowest or any other tender, and reserves to himself the authority to reject any or all of the tenders received without the assignment of a reason. All tenders in which any of the prescribed conditions are not fulfilled or are incomplete in any respect are liable to be rejected. |
| 12.0 | The competent authority on behalf of BSNL reserves to himself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted. |
| 13.0 | The tender of the works shall remain open for acceptance for a period of 90 days from the date of opening of tenders. If any tenderer withdraws his tender before the said period or date of issue of letter of acceptance/intent, whichever is earlier or makes any modifications in terms and conditions of the tender which are not acceptable to the Corporation i.e.”BSNL”, then the BSNL shall without prejudice to any right or remedy be at liberty to forfeit 50% of the said earnest money as aforesaid. |
| 14.0 | No exemption certificate for payment of EMD is acceptable. |
| 15.0 | The Notice Inviting Tender shall form part of the contract document, In accordance with clause-1 of the contract, the letter of intent shall be issued first in favour of the successful tenderer/contractor. After submission of the performance guarantee, the letter of intent (LOI) for commencement of work shall be issued. The contract shall be deemed to have come into effect on issue of communication of acceptance of tender. On such communication of acceptance, the successful tenderer/ contractor shall within 15 days from such date, formally sign the contract consisting of:- |
| (a) | The Notice Inviting Tender, all the documents including additional conditions, specifications and drawings, if any, forming part of the tender and as issued at the time of invitation of tenders and acceptance thereof together with any correspondence leading thereto. |
| (b) | Standard BSNL EW-8. Form. |
| 16.0 | No Engineer of gazetted rank or other gazetted officer employed in Engineering or Administrative duties in an Engineering Department of the Government of India is allowed to work as contractor for a period of two years after his retirement from Government service, without the previous permission of the Government of India in writing. This contract is liable to be cancelled if either the contractor or any of his employees is found any time to be such a person who had not obtained the permission of the Government of India as aforesaid before submission of the tender or engagement in the contractor’s service. |
| 17.0 | (i) The company or firm or any other person is not permitted to tender for works in BSNL Unit in which his near relative(s) is (are) posted. The unit defined as SSA/Circle/Chief Engineer/Chief Archt/Corporate office for non-executive employees and all SSA in a circle including circle office/Chief Engr./Chief Archt./Corporate office for executive employees (including those called as Gazetted officers at present). The tenderer shall give a certificate that none of his/her such near relative is working in the units as defined below where he is going to apply for tender/work. In case of proprietorship firm certificate will be given by the proprietor, for partnership firm certificate will be given by all the partners and in case of limited company by all the Directors of the company. Any breach of these conditions by the company or firm or any other person, the tender/work will be cancelled and earnest money/security deposit will be forfeited at any stage whenever it is so noticed. The department will not pay any damages to the company or firm or the concerned person. |
|  | The company or firm or the person will also be debarred for further participation in the concerned unit. |
|  | (ii) The near relatives for this purpose are defined as : (a) Members of a Hindu Undivided family. (b) They are husband and wife. (c) The one is related to the other in the manner as father, mother, son(s) & son’s wife (daughter in law), daughter (s) & daughter’s husband (son-in-law), brother(s) & brother’s wife, sister(s) & sister’s husband (brother-in-law). |
|  |  | Signature of Sub Divisional Officer |
|  |  | For & on behalf of the BSNL. |

# CERTIFICATE/UNDERTAKING

(To be submitted by the contractor/firm submitting web downloaded Tender)

- I/ We certify that I/We have gone through the terms and conditions of standard BSNL-6               form containing general conditions of contract and shall abide by the same.

- I/We hereby agree the BSNL-6 and BSNL-EW-8 forms shall form part of the agreement in           case the work is awarded to us.

- I/We certify that I/ We are submitting the downloaded original computer print out of the documents form the website.

- I/We certify that no changer/additions/deletions in the tender documents form the website have been made. If during the opening of tender or during the process of tender finalization, it is detected that I/ We  have submitted tender documents after making any knowing/ by me/us be forfeited in addition I/We shall be liable for any other action as per prevalent rules.

Signature & seal of contractor(s)

************************************************************************************

| Certificate in r/o relative(s) being Non BSNL Employee : |
| --- |
| “I_____________S/o _____________ r/o _________________ hereby certify that none of my relative(s) as defined in the tender document is/are employed in BSNL unit as per details given in tender document. In case at any stage, it is found that the information given by me is false / incorrect, BSNL shall have the absolute right to take any action as deemed fit/ without any prior information to me” |
|  | Signature & seal of contractor(s) |

DECLARATION ON RELATIVES

(To be given by Tendering Agency)

- To be signed by Proprietor in case of proprietorship firm

- To be signed by all partners in case of partnership firm

- To be signed by all the directors in case of the company

I……………………………………………………………………………………………………………

S/o…………………………………………………………………………………………………………

R/o…………………………………………………………………………………………………………

Hereby certify that none of my relatives (*) as defined below is/her employed in BSNL units (**) as defined below.

In case at any stage it is found that information given by me is false/ incorrect, BSNL shall have absolute right to take any action as deemed fit/without any prior intimation to me.

(*) Definition of Relatives:

(a) Member of a Hindu Undivided Family

(b) They are Husband and Wife.

(c)They are related to the other in the manner as Father, Mother, Son(s), Wife

(Daughter In Law), (Daughters & Daughters Husband (Son In Law), Brother(s),

Wife Sister(s) * Sisters Husband (Brother in law).

(**) The Company or Firm Or any person is not permitted to tender for the work in BSNL units in which his near relative (s) is (are) posted. The units are defined as.

- For Non Executive Employees:- SSA/Circle//Chief Engineer/Chief Architect/Corporate office.

- For Executive Employees (including those called as gazetted officer at present )

All SSA in circle i/c circle office /Chief Engineer /Chief Architect/ corporate office.

| Extract of letter No.151-08/2002-O&M/38 dated 11/9/2002 from BSNL,O&M CELL, New Delhi. |
| --- |
| Sub: - | Participation of near relatives of the BSNL employees in the Tender/ Execution of works in BSNL Units. |
|  | It has been decided that the near relatives of all BSNL employees either directly recruited or on deputation are prohibited from participation in tenders and execution of works in the different units of BSNL. |
| 1 | The detailed guidelines in this regard are given in the following paragraphs:- |
| i) | The near relatives for this purpose are defined as: |
| a) | Members of a Hindu Undivided family. |
| b) | They are husband and wife. |
| c) | The one is related to the other in the manner as father, mother, son(s) & son's wife (daughter-in-law), Daughter(s)& daughter's husband (son-in-law), brother(s) & brother's wife, sister(s) & sister's husband(brother-in-law). |
| ii) | As per Government of India's CCS Conduct Rule 4, no Government servant shall in the discharge of his official duties deal with any matter or sanction any contract to any company or for any other person if any member of his family is employed in that company or firm or under that person or if he or any member of his family is interested in such matter or contract in any other manner and the Govt. servant shall refer every such matter or contract to his official superior. This clause is applicable to all BSNL employees and in view of this as soon as any BSNL employee become aware of the above aspect, he must intimate this to the prescribed authority. For non executive employees this authority is SSA Head /Circle Head /Chief Engineer /Chief Archt./ Corporate office under whom he is posted. For executive employees (at present some of them are called as Gazetted Officers) the prescribed authority for this purpose is Circle Head/Chief Engineer/Chief Archt. /corporate office under whom is posted. |
| iii) | (a) The company or firm or any other person is not permitted to tender for works in BSNL Unit in which his near relative(s) is(are) posted. The unit is defined as SSA/Circle/Chief Engineer/Chief Archt. / Corporate office for non executive employees and all SSA in a circle including circle office/Chief Eng./Chief Archt./Corporate office for executive employees (including those called as Gazetted officers at present). Therefore, it has been decided by the competent authority that a clause must be added in the tender and other related documents that the tenderer should give a certificate that none of his/her such near relative is working in the units as defined above where he is going to apply for tender/work, for partnership firm certificate will be given by all the proprietor, for partnership firm certificate will be given by all the partners and in case of limited company by all the Directors of the company. Any breach of these conditions by the company or firm or any other person, the tender/work will be cancelled and earnest money/security deposit will be forfeited at any stage whenever it is so noticed. |
|  | The department will not pay any damages to the company or firm or the concerned person. The company or firm or the person will also be debarred for further participation in the concerned unit. |
|  | (b) In respect of cases where the tender notice/work related orders have been issued and are waiting for submission the concerned unit should issue corrigendum for inclusion of above clause. However where tender/work may be taken from the company or firm or any other concerned person giving details of the relatives employed in the jurisdiction of the tender. The company or firm or the person concerned will not be debarred in this case but his work will be kept under proper watch to avoid any future complaint. Further the relative will not be involved in the decision making and execution of the work. |
|  | (c) Where the tenders or the works are already in operation (or awarded) the tenderer may be requested to give details of relatives employed in the jurisdiction of the tender. In such cases the tenderer will be allowed to continue the work but special watch may have to be kept about his performance to avoid any complaint. The concerned relative will not be involved in execution and settlement of claims of the contractor. |
|  | (c) The format of the certificate to be given is "I…………… S/o…………. R/o……. hereby certify that none of my relative(s) as defined in the tender document is/are employed in BSNL unit as per details given in tender document. In case at any stage, it is found that the information given by me is false / incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior intimation to me". |
|  | Above guidelines should be incorporated in the bid documents and other related documents for the various works to be done in BSNL units. This is issued with approval of competent authority. |
|  |  | SR.DDG (O&M) |

BSNL-EW—6

Notice Inviting Tenders

[As per tendering Procedure in BSNL revised upto date}

NIT NO:- 21/EE(E)-I/BSNL/ESD-II/JMU/2023-24/04       DATED:- 03.10.2023

| 01 | Sealed item rate tenders in the prescribed form are hereby invited by SDE(E)-II, Jammu on behalf of the BSNL for the work of : - Dismantling of faulty batteries & replacement of new Batteries for 7.5KVA UPS for circle office at 4th floor in BSNL bldg at Trikuta Nagar Jammu. from the eligible contractors satisfying the following eligibility conditions: BSNL enlisted contractors subject to their financial limits. |
| --- | --- |
|  | Estimated Cost of the work: . | Rs.48490/- |
|  | Earnest money: . | Rs.970/- |
|  | Duration of contract : | 15-Days |
|  | Validity of tenders :- | 90 – days |
| The contractors shall submit and confirm: - |
| 1 | Chartered Accountant certificate with attested copies as applicable along with application on the printed letter heads for purchase of a tender. |
| 2 | List of works completed of the requisite magnitude along-with attested copies of certificates, Testimonials of their satisfactory completion obtained from an officer not below the rank of Executive Engineer. |
| 3 | The tenderer shall submit the tender in 2 sealed covers marked as cover 1st and 2nd. The first cover should contain the Tender Sale DD as specified in prescribed form, from the scheduled bank or Nationalized bank guaranteed by the Reserve Bank of India drawn in favour of Accounts officer O/o GMTD BSNL Jammu& Eligibility Criteria documents. And the second cover should contain the tender documents. In case 1st Cover does not contain said documents in proper form, the 2nd Cover containing tender will not be opened at all. |
| 02 | (a) | Printed forms of tenders consisting of the complete specifications, the schedule of quantities of the various classes of works to be done and the set of conditions of contract to be complied with by the persons whose tender may be accepted, can be purchased, from Sub Divisional Engineer (E) between the hours of 10.00 hrs and 16.00 hrs. every day except Sundays and public Holidays on payment of Rs. 150/- + Vat as applicable. in cash. or can be downloaded from BSNL official web site:-www.jandk.bsnl.co.in |
|  | (b) | The site for the work is available/ or the site for the works shall be made available in parts. |
| 03 | Tenders which should always be placed in sealed cover with the name of the work written on the envelope will be received by the Sub Divisional Engineer (Elect) BSNL Electrical Sub Division-II JAMMU up to 15:00 HOURS on 17.10.2023 and will be opened by him in his office on the same day at 1 5:30 HOURS. |
| 04 | The period of contract shall be reckoned from the 10th day after the date of written order to commence the work. |
| 05 | Earnest Money in the form of demand draft/FDR/BG/DD/CDR of a nationalized/scheduled bank guaranteed by the reserve bank of India, drawn in favour of Accounts Officer ,O/o GMTD BSNL JAMMU must accompany each tender and each tender should be in a sealed cover, super scribed as “ Tender for the work of NAME OF WORK :- Dismantling of faulty batteries & replacement of new Batteries for 7.5KVA UPS for circle office at 4th floor in BSNL bldg at Trikuta Nagar Jammu. Sub Divisional Engineer (E) BSNL, Electrical Sub Division-II Jammu. The validity period of EMD is I20 days from the date of opening of tender. |
| 06 | The contractor should submit and confirm Chartered Accountant certificate in respect of turnover and other registration certificate [Enlistment in BSNL. Electrical License, Sales Tax etc) with attested copies as applicable along with the application on printed letter head for purchase of tender. In case the tender is downloaded from the web site ,the procedure for submitting the same shall be as instructed in the notice inviting tender. |
| 07 | The contractor shall submit and confirm their permanent account number (PAN) issued by the Income Tax Department. |
| 08 | i. | Performance Guarantee ; The contractor is required to furnish performance guarantee for an amount equal to 5% of the contract value in the form of bank guarantee / CDR /FDR/DD/BG ( of a nationalized / Scheduled Bank in a standard format) within two weeks from the date of issue of award letter. The validity period of the performance security in the form of performance bank guarantee shall be one year from the date of actual completion of work. |
|  | ii. | Security deposit: In addition to performance guarantee stated above, a sum @ 10% of the gross amount of the bill shall be deducted from each running bill of the contractor till the sum be deducted with the sum already deposited as earnest money, will amount to security deposit of 5% of the Tendered value of the work. |
| 9 | The acceptance of a tender will rest with the SUB DIVISIONAL ENGINEER (E) , BSNL ELECTRICAL SUB DIVISION-II, JAMMU who does not bind himself to accept the lowest tender or any other tender and reserves to himself the Authority to reject lowest or all the tenders received without assigning any reason. All tenders in which any of the prescribed conditions are not fulfilled or incomplete in any respect are liable to be rejected. Tenders with any condition including that of conditional rebates shall be rejected forthwith summarily. |
| 10 | Canvassing in connection with tender is strictly prohibited and the tenders submitted by the contractors who resort to canvassing will be liable for rejection. |
| 11 | An item rate tender contain in percentage below/above will be summarily rejected. |
| 12 | When a contractor signs a tender in an Indian language, the percentage above or below and the tendered amount in the case of PWD form-7 and the total amount tendered in the case of BSNL form-8 and 12 should also be written in the same language. In the case of illiterate contractors, the rate of the amount tendered should be attested by witness. |
| 13 | On acceptance of a tender, the name of the accredited representative (s) of the contractor who would be responsible for taking instructions from the Engineer-in-Charge shall be written communicated to the Engineer- in-charge. |
| 14 | Special care should be taken to write the rates in figures as well as words and the amount in figures only in such a way that interpolation is not possible. The total amount should be written both in figures and in words. In case of figures the words Rs." should be written before the figure Rupees and words "p" after the decimal figures e.g. Rs. 20.15p and in case of words Rupees should precede and the paise should be written at the end. Unless the rate is in whole rupee and followed by the word "only", providing Electromechanical Installations / services & safeties and works for RMC Data centre in T.E. bldg at Rail Head, Jammu ( Sub Head :- Shifting of DEA set ).t should invariably be upto decimal place, while quoting the rate in schedule of quantities the work "only" should be written closely following the rate and it should not be written in the next line. |
| 15 | The BSNL reserves itself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rate quoted. |
| 16 | Sales Tax or any other tax on the material in respect of this shall be payable and government will not entertain any claim whatsoever in this respect. |
| 17 | i) | The tenderer should give a certificate that none of his/her near relative is employed in BSNL units. In case of Proprietorship firm, certificate will be given by the proprietor & for partnership firm certificate will be given by all the Directors of the company. |
|  | ii) | Near relatives of all BSNL employees is prohibited from participating in tenders & execution of works in different units of BSNL as per the guidelines issued by the Sr. DDG(O&M), BSNL O&M Cell, New Delhi letter No. 151 -08/2002-0&M / #8 dated 11 -9-2002. |
| 18 | No employee in BSNL/Govt. of India is allowed to work as a contractor for a period of two years of his retirement from service without the prior permission. The contract is liable to be cancelled if either the contractor or any of his employees is found at any time to be such a person who had not obtained the permission as aforesaid before submission of tender and engagement in the contractor’s service. |
| 19 | The tender for the work shall not be witnessed by the contractor who himself/themselves has / have tendered or who may has/have tender for the same work. Failure to observe this condition would render tenders of the contractors tendering as witnessing the tender is /are liable for summarily rejection. |
| 20 | It will be obligatory on the part of the tenderer to sign each page of the schedule of work and the tender documents for all the component parts & after the work is awarded he will have to enter into a separate agreement for each component with the officer concerned. |
| 21 | The site shown in the layout plan shall be cleared of all obstructions, loose-stone materials, rubbish of all kind, as well as brush wood. All holes or hollows whether originally existing or produced by removal of loose stone or brush wood shall be carefully filled up with earth well rammed and level led off as directed. |
| 22 | Any tender not submitted in proper manner or If it contains too many corrections, over writings or absurd rates, and absurd amount will be liable to be rejected and the BSNL will be liberty to lake such action as it may deem fit without any reference to the tenderer. |
| 23 | The tenders for the work shall remain open for acceptance for a period of 90 days from the date of opening of the tenders. If any tenderer withdraws his tender before the said period or makes any modification in the terms and conditions of the tender which is not acceptable to the BSNL shall, without prejudice to any other right of remedy beat liberty to forfeit 50% (fifty percent only) of the said earnest money absolutely. |
| 24 | Extension of validity: In case, where the letter of award of work cannot be placed within the validity period of the tender, the BSNL can request all tenderer to extend the validity of their respective tenders and the Earnest Money deposit by a reasonable period. In such cases, extension of validity of Earnest Money deposit by 30 days beyond the extended validity date of tender should also be asked for While BSNL can make the request for extension; the tenderer is free to either extend the validity or refuse the request to extend the validity. |
| 25 | Rates quoted by the contractor in item rate tender in figures and words shall accurately be filled in so that there is no discrepancy in the rates written in the figures and in words. However, if any discrepancy is found, the rate which corresponds with the amount worked out by the contractor shall be taken as correct. |
| 26 | Where the rates quoted by the contractor in figures and in words tally but amount is not worked out correctly, the rate quoted by the contractor will be taken as correct and not the amount. |
| 27 | If the amount of an item is not worked out by the contractor and it does not correspond with the rates written either in figures or in words then the rates quoted by the contractor in words should be taken correct. |
| 28 | The EMD Amounting Rs.970/-of all the unsuccessful tenderer shall be released on issue of award letter to the successful tenderer. This should be done within one week of award letter. |
| 29 | The contractor’s responsibility for the contract shall commence from the date of issue of orders of acceptance of the tender. |
| 30 | Unsealed tenders shall be summarily rejected. |
| 31 | Before tendering, the contractor shall inspect the site and fully acquaint himself about the condition with regard to accessibility of site and site nature and the extent of grounds, working condition, including stocking of materials, installation of T&P etc., and conditions affecting accommodation and movement of labour etc., required for the satisfactory execution of the contract. No claim whatsoever on such account shall be entertained by the BSNL in any circumstances. |
| 32 | The contractor should read the tender documents carefully before submitting the tender. |
| 33 | Exemption from payment of earnest money and security deposit by any other unit/department shall not hold good for BSNL. |
| 34 | The site for execution of the work will be made available, as the work is awarded. In case, it is not possible for the department to make the entire site available on the award of work the contractor shall arrange his working programme accordingly. No claim whatsoever for not giving the site in full on award or for giving site gradually in parts will be tenable. |
| Signature of Sub Divisional Engineer (E) |  |  |  |  |
| BSNL Electrical Sub Division –II, JAMMU |  |  |  |  |
| For and on behalf of |  |  |  |  |
| Bharat Sanchar Nigam Limited |  |  |  |  |

| MODEL FORM OF BANK GUARANTEE |
| --- |
| Whereas ____________________________________ (hereafter called “The Contractor(s)”) has submitted its Tenders dated _____________ for ______________ (Name of work) ___________ _________________________________________________. KNOW ALL MEN by these presents that we ___________________________________ OF __________________________ having our registered officer at __________________________ (hereafter called “The Bank”) are bound unto _______________________________ (hereafter called “The BSNL”) in the sum of _________________________________ for which payment will and truly to be made of the said BSNL, the Bank binds itself, its successors and assigns by these presents. |
| THE CONDITIONS of the obligation are : |
| 1. If the Contractor(s) withdraws its Tender during the period of Tender validity specified on the Tender Form; or 2. If the Contractor(s) having been notified of the acceptance of its Tender by the BSNL during the period of Tender validity. (a) fails or refuses to execute the Contract. (b) fails or refuses to furnish Security Deposit in accordance with the conditions of Tender document. |
| We undertake to pay to the BSNL up to the above amount upon the receipt of its first written demand, without the BSNL having to substantiate its demand, provided that in its demand, the BSNL will note that the amount claimed by it is due to it owing to the occurrence of one or both of the two conditions, specifying the occurred condition of conditions. |
| This guarantee will remain in force as specified in the Tender Document up to and including Thirty (30) days after the period of the Tender validity, and any demand in respect thereof should reach the Bank not later than the specified date/dates. |
| Signature of the Bank |
| Signature of the Witness |
| Name of Witness |
| Address of Witness |
|  | MODEL FORM OF PERFORMANCE GUARANTEE |
|  | 1.0 BANK GUARANTEE BOND FOR PERFORMANCE GUARANTEE FOR ELECTRICAL INSTALLATION/O&M/AIR CONDITIONING, DIESEL ENGINE ALTERNATOR, LIFTS AND SUB-STATION WORKS etc. |
|  | Whereas……………… (here in after called” the Contractor(s)” has submitted its Tender dated _______for______________________________________ (Name of work) and |
|  | Whereas………………(here in after called ” the Contractor(s)” has been communicated the acceptance of its tender dated_______ for__________________________(Name of work) vide letter No._______________________________ dated _______ by BSNL |
|  | KNOWN ALL MEN By these presents that We_____________________of____________________ having our registered office at _____________________(here in after called “ The Bank”) are bound up to _________(here in after called “The BSNL”) in the sum of ________________for which payment will and truly to be made of the said BSNL, the Bank binds itself, its successors and assigns by these presents. |
|  | 2.0 We (name of the bank) ____________________ do hereby undertake to pay the amounts due and payable under this guarantee without any demure, merely on a demand from the BSNL by reason of breach by the said contractor(s)’ of any of the terms or conditions contained in the said Agreement or by reason of the contractors(s)’ failure to perform the said Agreement. Any such demand made on the bank shall be conclusive as regards the amount due and payable by the Bank under this guarantee where the decision of BSNL in these counts shall be final and binding on the bank. However, our liability under this guarantee shall be restricted to an amount not exceeding ______________________. |
|  | 3.0 We under take to pay to the BSNL any money so demanded notwithstanding any dispute or disputes raised by the contractor(s)/supplier(s) in any suit or proceeding pending before any court or tribunal relating thereto our liability under this present being absolute and unequivocal. The payment so made by us under this bond shall be valid discharge of our liability for payment there under and the contractor(s)/supplier(s) shall have no claim against us for making such payment. |
|  | 4.0 We (name of the bank) _________________________ further agree that the guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of the said agreement and that it shall continue to be enforceable till all the dues of the BSNL under or by virtue of the said Agreement have been fully paid and its claims satisfied or discharged or till ________________________ (office/Department) BSNL certifies that the terms and conditions of the said Agreement have been fully or properly carried out by the said contractor(s) and accordingly discharges this guarantee. Unless a demand or claim under this guarantee is made on us in writing on or before the expiry of TWO/TWO AND HALF/THREE YEARS (as specified in the agreement) from the date hereof, we shall be discharged from all liabilities under this guarantee thereafter. |
|  | 5.0 We (name of the bank) _________________________ further agree with the BSNL that the BSNL shall have the fullest liberty without our consent and without affecting in any manner our obligations hereunder to vary any of the terms and conditions of the said Agreement or to extend time of performance by the said contractor(s) from time to time or to postpone for any time or from time to time any of the powers exercisable by the BSNL against the said Contractor(s) and to forbear or enforce any of the terms and conditions relating to the said agreement and we shall not be relieved from our liability by reason of any such variation, or extension being granted to the said Contractor(s) or for any forbearance, act or omission on the part of the BSNL or any indulgence by the BSNL to the said Contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us. |
|  | 6.0 This guarantee will not be discharged due to the change in the constitution of the Bank or the Contractor(s)/supplier(s). |
|  | 7.0 We (name of the bank) ____________________ lastly undertake not to revoke this guarantee during its currency except with the previous consent of the BSNL in writing. |
|  | Dated the _________day of _______ For _____________________________ |
|  | (Indicate the name of bank) |

# ITEM RATE TENDER & CONTRACT FOR WORKS

(i) To be submitted by 15:00 Hrs. on 17.10.2023 to the O/O SDE(E)-II, Bakshi Nagar Jammu.

(ii) To be opened in presence of tenderers who may be present at 15:30 Hrs 17.10.2023 in the O/O SDE(E)-II JMU

TENDER

I/We have read and examined the notice inviting tender, schedule, A, B,C, D, E & F, Specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, clauses of contract, Special conditions, Schedule of Rate & other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work

I/We hereby tender for the execution of the work specified for the BSNL within the time specified in Schedule 'F', viz., schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions in writing referred to in Rule-1 of General Rules and Directions and in Clause 11 of the Conditions of contract and with such materials as are provided for, by, and in respects in accordance with, such conditions so far as applicable

We agree to keep the tender open for 90 days from the due date of submission thereof and not to make any modifications in its terms and conditions.

The EMD amounting Rs.970/- in the form of CDR/FDR/Pay Order from Scheduled Bank is required to be deposited by Agency. If l/we fail to furnish the prescribed performance guarantee within prescribed period, l/we agree that the said BSNL or his successors in office shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money is hereby forwarded in the form of CDR of a Scheduled Bank/Fixed Deposit Receipt /Pay Order of a Scheduled Bank/Demand Draft of a Scheduled Bank as earnest money. If l/we fail to furnish the prescribed performance guarantee within prescribed period, l/we agree that the said BSNL or his successors in office shall without prejudice to any other right or remedy, be at liberty to forfeit the said earnest money absolutely.

Further, If I/we fail to commence work as specified, I/we agree that BSNL or his successors in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money and performance guarantee absolutely, otherwise the said earnest money shall be retained by him towards security deposit to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered, up to maximum of the percentage mentioned in Schedule 'F' and those in excess of that limit at the rates to be determined in accordance with the provision contained in Clause 12.2 and 12.3 of the tender form.

I/We hereby declare that l/we shall treat the tender documents drawings and other records connected with the work as secret/confidential documents and shall not communicate information/derived there from to any person other than a person to whom I/we am/are authorized to communicate the same or use the information in any manner prejudicial to the Safety of the State.

I/We herby certify that none of my relative(s) as defined in the tender document is/are employed in BSNL unit as per details given in tender document. In case at any stage, it is found that the information given by me/us is false/incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior information to me

I/we abide by the original BSNL 8 form referred to in the tender document.

I/We agree that should I/We fail to commence the work specified in the above memorandum, an amount equal to the amount of the earnest money mentioned in the form of invitation of tender and performance guarantee shall be absolutely forfeited to the BSNL and the same may at the option of the competent authority on behalf of the BSNL be recovered without prejudice to any other right or remedy available in law out of the deposit in so far as the same may extend in terms of the said bond and in the event of deficiency out of any other money due to me /us under this contract or otherwise .

(Applicable if tender is downloaded from internet) I/We hereby declare that the tender submitted is the original downloaded computer printout and not the photocopy. I/We agree that during the process of tender finalization if it is detected that the tender documents submitted has been changed/ made additions or/ and deletions , the offer may be summarily rejected and that I/we agree that BSNL or his successors in office shall without prejudice to any other right or remedy available in law, be at liberty to forfeit the said earnest money absolutely in addition to any other action as per prevalent rules.

Dated : Signature of Contractor :

Name of Signatory :

Postal Address :

Seal of Agency if any :

Witness :

Address :

Occupation :

ACCEPTANCE

The above tender (as modified by you as provided in the letters mentioned hereunder) is accepted by me for and on behalf of the BSNL for a sum of Rs. ____________ Rupees____________________________________________ ____________________________________________________________________________________)

The Letters referred to below shall form part of this contract agreement :

1.______________________

2.______________________

3.______________________

For and on behalf of the BSNL

Signatures______________________________

Designation_____________________________

Dated_________________________________

SCHEDULES

| SCHEDULE ‘A’ |
| --- |
| Schedule of quantities (Enclosed) |
| SCHEDULE ‘B’ |
| Schedule of materials to be issued to the contractor: |
| S.No. | Description of Item | Quantity PER JOB | Rates in figures & words at which the material will be charged to the contractor | Place of issue |
| A | B | C | D | E |
|  |  | Nil |  |  |
| SCHEDULE ‘C’ |
| Tools and plants to be hired to the contractor. |
| S.No. | Details of item | Hire charges | Place of issue |
| 1 | 2 | 3 | 4 |
| ----NIL---- |
| SCHEDULE ‘D’ |
| Extra schedule for specific requirements/ document for the work, if any |
|  | (a) General Conditions and Specifications |  |
|  | (b) List of Approved makes |  |  |
| SCHEDULE ‘E’ |
| Schedule of component of Materials, Labour etc. for escalation |
| NIL |  |  |
| CLAUSE 10 C | Clause 10C stands deleted |
| SCHEDULE ‘F’ |
| Reference to General Conditions of contract. |
| Name of work: - Dismantling of faulty batteries & replacement of new Batteries for 7.5KVA UPS for circle office at 4th floor in BSNL bldg at Trikuta Nagar Jammu. |
| Estimated cost of work: | Rs.48490/- |
| Earnest money: | Rs.970/- |
| Performance Guarantee | 5% of tendered value |
| Security Deposit: | 5% of tendered value |
| GENERAL RULES & DIRECTIONS |
| Officer inviting tender | SDE(E)-IV JMU |
| Maximum percentage for quantity of items of work to be executed beyond which rates are to be determined in accordance with Clause 12.2 & 12.3 | AS UNDER |
| DEFINITIONS: |
| 2(v) Engineer-in-charge : | EE(E) JMU |
| 2(viii) Accepting Authority : | SDE(E)-II JMU |
| 2(x) Percentage on cost of materials and labour to cover all overhead and profits | 10% |
| 2(xi) Standard Schedule of rates | DSR and / or M.R. |
| 2(xii) Department | BSNL |
| 9(ii) Standard BSNL contract Form |  |  | BSNL form 7/8 (2009 Edition) "General Conditions of Contract" (Printed by Taneja Sales Corporation) |
| Clause 1 |
| (i) Time allowed for submission of Performance guarantee | Two weeks |
| (ii) Maximum allowable extension beyond which the period provided in (i) above in days | 7 days |
| Clause 2 |
| Authority for fixing compensation under clause 2 | Superintending Engineer (Electrical) |
|  |  |  | (Refer "SPECIAL CONDITIONS " for amendment in clause 2 of standard form) |
| Clause 5 |
| Number of days from the date of issue of letter of acceptance for reckoning date of start | 10 days |
| S. No. | (From Date of Start) | Mile-stones | Amount to be withheld in case of non-achievement of milestone |
| 1.0 |  |  |  |
| 2.0 |  |  |  |
| 3.0 |  |  |  |
| 4.0 |  |  |  |
| Time allowed for completion of work. | 15 days for each job |
| Authority to give fair and reasonable extension of time for completion of work | As per rules |
| Clause 7 |
| Gross work to be done together with net payment/ adjustment of advances for material collected, if any, since the last such payment for being eligible to interim payment | As per the NIT documents |
| Clause 10C |
| Clause 10C to be applicable in contracts with stipulated period of completion exceeding the period shown in next column | Claus 10 C not applicable |
| Clause 11 |
| Specification to be followed for execution of work | As per specification attached and as per BSNL / CPWD specifications where not mentioned |
| Clause 12 |
| 12.2 & 12.3 Deviation limit beyond which clauses 12.2& 12.3 shall apply | 25% |
| 12.5 Deviation limit beyond which clauses 12.2& 12.3 shall apply for foundation work | N.A. |
| Clause 16 |
| Competent Authority for deciding reduced rates | Superintending Engineer(E), BSNL EC, Jammu |
| Clause 36 (i) |
| Minimum Qualification & experience required for Principal Technical Representative |
| a) For works with estimated cost put to tender more than |
| (i) Rs. 10 lakhs for Civil work | Engineering Graduate or retired AE possessing at least recognized Diploma |
| (ii) Rs. 5 lakhs for Elec./Mech work |  |
| (b) For works with estimated cost put to tender |
| (i) Rs. 5 lakhs but less than Rs. 10 lakhs for Civil works | Recognized Engineering Diploma holder |
| (ii) More than Rs. 1 lakh but less than Rs. 5 lakhs for Elec./Mech works | Recognized Engineering Diploma holder |
| (c) Discipline to which the Principal Technical Representative should belong | Electrical |
| (d) Minimum Experience of works | 3 years |
| (e) Recovery to be effected from the contractor in the event of not fulfilling provision of clause 36(i) | Rs. 4,000/- p.m. for Graduate, Rs. 2,000/- p.m. for diploma holder |
| Assistant Engineers retired from Government services that are holding Diploma will be treated at par with Graduate Engineers |
| Clause 42 |
| (i) (a) Schedule/ statement for determining theoretical quantity of cement & bitumen on basis of Delhi Schedule of Rates __ printed by CPWD | NIL |
| (b All other materials | NIL |
| SDE(E) JMU) |

# SPECIEL CONDITIONS OF CONTRACT

| 1 | IMPORTANT NOTE : |
| --- | --- |
| 1.1 | The work shall confirm, generally, to latest CPWD specifications for internal and external Electrical works, Indian Electricity rules, Relevant I.S. Code and local Bye-Laws. |
| 1.2 | The site plan annexed with the bid document indicates the general lay out of various equipments and is subject to minor variation from site to site and within the same site. |
| 1.3 | The vendor should himself evaluate the quantities of various material required and quote accordingly. Cost adjustment on account of deviation in quantity is not permitted unless specifically provided in the schedule of work. All minor civil works are included in the scope of work. Sample of materials should be got approved from BSNL before use at site. |
| 1.4 | The vendor shall make his own arrangement for water and power supply for all cutting, drilling and welding tools and lighting etc. during erection, if reqd., by hiring a suitable DG set and nothing extra shall be paid on this account. |
| 1.5 | The vendor is required to keep the man, material and equipment insured. |
| 1.6 | In case of any discrepancy between different documents, the contents of scope of work, specifications and special conditions shall prevail. |
| 2 | TAXES & DUTIES:- |
| 2.1 | The bidder shall give the total composite price inclusive of all Central & States’ levies and taxes i.e. Sales Tax, Purchase tax, Turnover tax, Service Tax. Works Contract tax Etc. or any other taxes or duties like octroi, local area development tax on material and labour etc. |
| 2.2 | The liability to pay all taxes, levies etc. shall be of contractor and BSNL will not entertain any claim whatsoever in this respect. |
| 2.3 | For the purpose of evaluation of Financial bid, composite price inclusive of all taxes and levies will be considered. |
| 2.4 | No concessional form or any other type of form shall be issued by BSNL. |
| 2.5 | BSNL shall deduct Works Contract Tax from payment due to the firm as per the rules of the state government. A certificate for work contract tax deducted shall be issued to the firm by the Account Officer of the Division. |
| 3 | The bidder or by a person or persons duly authorized by the bidder to the contract shall submit the tender document duly signed on all pages as token of acceptance of terms & conditions specified on each page of the tender documents. The letter of authorization shall be indicated by written power of attorney accompanying the bid. |
| 4 | COMPENSATION FOR DELAY : If the contractor fails to maintain the required progress or complete the work and clear the site on or before the contract or extended date of completion, he has to pay the compensation for delay which is limited to 0.5% per week of the tendered value for the first 10 weeks and 0.7% for the next 10 weeks and thereafter subject to a maximum of 12% of the tendered value for the location where the work is delayed and the firm is found responsible for the same. The clause 2 of BSNL - 8 form stands modified accordingly. |
| 5 | All the material will be under the charge of contractor till it is completed and handed over. Safe custody of material shall be the firms responsibility even if any running payments have been made for material brought at site or installed. However, no material shall be removed from site without written permission of Engineer in charge. |
| 7.5 | In case any site is not available, delivery of material for that site can be made to a location decided by the Engineer-in-Charge. The place for storage of material shall be provided free of cost, however watch & ward and transportation of material to respective site, when available, shall be responsibility of the contractor. |
| 9 | PROGRAMME FOR EXECUTION : |
|  | The firm shall supply detailed program to Engineer-in-Charge for execution of contract within fifteen days of award of work. The program shall contain details about submission of drawing, supply of materials. The tentative dates for installation, testing, commissioning shall be also submitted. |
| 10 | STORES AND SAFETY : |
|  | All the stores and materials required for the satisfactory completion of the work shall be arranged at work site by the contractor with his own sources. Lockable space for storing the material may be provided on request from the contractor. However, safe custody of the material stored at site will be the responsibility of the contractor. |
| 11 | CO-ORDINATION AT SITE : |
|  | At the site of work, more than one agency may be working. Full co-operation shall be extended to other agencies during progress of work. Further, work shall be carried out in such a way so that it may not cause abnormal noise and hindrance to the officers of the department engaged in erection as well to normal routine work. |
| 12 | DATE OF COMPLETION : |
|  | Date of successful testing and commissioning shall be taken as completion date of the work. |
| 13 | GUARANTEE AND DEFECT LIABILITY : |
|  | The guarantee shall be valid for twelve months after date of completion of work. The contractor shall guarantee that all equipment shall be free from any defect due to the defective material and or bad workmanship and also the equipment shall work satisfactorily with performance and efficiencies not less than the guaranteed values. |
| · | Any part found defective during this period shall be replaced free of cost by the contractor. The service of the contractor’s personal, if required during this period shall be available free of cost to the department. |
| · | The contractor shall depute his representative within 36 hours of notification of the defect by the department. |
| · | A joint report shall be prepared by the representative of department and firm regarding nature of defects and remedial action required. Time schedule for such action shall be also finalized. |
|  | In case, the contractor fail to depute his representative within 36 hours of notification of the defect or fails to cause remedial measure within reasonable time as decided during joint inspection, the department may proceed to do so at the contractor’s risk and expenses and without prejudice to any other right. |
| 14 | INCREASE / DECREASE OF TENDERED QUANTITY |
|  | a) BSNL will have the right to increase or decrease up to 25% of the contract value depending upon the requirement of goods and services specified in the schedule of items without any change in the unit price or other terms and conditions at the time of award of contract. |
|  | b) In exceptional situation where the requirement is of emergent nature and it is necessary to ensure continued supplies from the existing venders, the purchase reserves the right to place repeat order up to 50% of the quantities of goods and services contained in the running tender/contract within a period of twelve months from the date of award of work at the same rate or a rate negotiated (downwardly) with the existing venders considering the reasonability of rates based on prevailing market conditions and the impact of reduction in duties and taxes etc. |

| Name of work: - Dismantling of faulty batteries & replacement of new Batteries for 7.5KVA UPS for circle office at 4th floor in BSNL bldg at Trikuta Nagar Jammu. |
| --- |
| Sr. No. | Description of item | Qty. | Rate | Unit | Amount |
| 1 | Dismantling of existing faulty / defective battery & Replacement of new 12Volt , 26 AH sealed lead acid battery for 7.5KVA UPS complete with dismantling of existing faulty / defective / unserviceable battery & fixing of new 12 Volt, 26AH battery i/c connections & testing the battery as well UPS complete as required at site.( Make:- Amara Raja / AMCO / Farukawa / Hitachi / Exide/ Prestolite / Standard ) | 18 | No |  | Each |  |
| 2 | Payback ( less )on account of above dismantled faulty/defective/ unserviceable 12Volt 26AH battery of said UPS(which Shall be the property of Agency) from site | -26 | No |  | Each |  |
|  | Total Rs. |  |  |

Notes for bidder:

- Bidder must mandatorily quote for all GST components (CGST, SGST, IGST) as required

- If Annual maintenance Contract charges are required to be quoted as per SOR, basic charges should be shown in column-4 & the Goods and Services Tax (GST) in column 7 to 12

- The bidder who submits the offer with concessional Goods and Services Tax (GST) shall submit the proof of applicable concessional GST.  In case the concessional GST is not creditable to BSNL it should be included in the price of the goods/services.

- In case , dealer is registered under compounding scheme or any rule/notification where the BSNL is not eligible for input tax credit then the bidder should not disclose any amount in column 7 to 12 & 14

- * %age Rate of FF & packing should be shown of Basic Unit Price excluding all taxes & charges ( i.e as %age of Col.4)

- The FF & packing amount quoted shall not be subject to change after bid evaluation/ ordering on account of change of Copper, Lead base price, changes in duties & taxes of item etc.

- Bidder must mandatorily mention HSN & SAC numbers

Declaration by bidder:-

            - We hereby declare that in quoting the above prices, we have taken into account the entire credit on inputs available under the GST Act introduced w.e.f. 01 July 2017 and further extended on more items till date”.

            - “We hereby certify that HSN/ SAC shown in column 17 are correct & credit of GST for the amount shown in column 14 above are admissible as per GST Laws.

Dated Signature of   tenderer

## 17. APO/PO FORMAT                                                                                                      (Annexure “C”)

| Sl. No | Item | Qty. (Unit) | Basic unit Price Rs. | F & F pkg & insur % Rs. | GST % Rs. | Unit price all inclusive Rs. | GST Credit per Unit Rs. | Unit price excluding GST input tax credit Rs. | HSN/ SAC Code | GSTN(s) of vendor from where supplies shall be made |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

GENERAL CONDITIONS /SPECIFICATIONS

1 The work shall generally be carried out as per IE Rules IS and National Building/electrical Code/Fire Manuals/Telecom & BSNL Specifications and NIT conditions.

2 Good workmanship is an essential requirement to be compiled with the entire work of manufacture, fabrication assembly and installation shall confirm to sound engineering practice.

3 The Agency should get the samples , of material to be used on work , approved from the Engineer-in-Charge or his duly authorized representative before use at site. The material to be used should be as per approved product directory of BSNL. In case any material is not listed in the said directory, the make has to be got approved from E-in-c before use at site.

4 No T&P will be issued by the BSNL.

5 Un-approved material, brought to site of work shall have to be removed immediately by the contractor at his own risk & cost.

6 Rates quoted shall be inclusive of packing , forwarding , insurance , freight , delivery at site and watch and ward of all the materials.

7 All sundry fittings, assemblies , accessories , hardware items , foundation bolts , termination lugs for electrical connections and all other sundry items which are necessary for proper assembly and efficient working of the various components of the works, shall be deemed to have been included in the tender.

8 Any damage done to the building by the contractor during the execution of work shall have to be made good at his risk and cost , within a reasonable time determined by the Engineer-in-Charge . In case he fails to do so , same shall be got done by the BSNL at the risk and cost of contractor. The contractor shall be responsible for the repairing all damages and restoring the same to their original finish. He shall also remove all the unwanted and waste material arising out of his workmanship from the site, at his own cost.

9 The contractor shall employ qualified engineer / supervisor as reqd. And intimate names of such person to the Engineer-in-charge on commencement of work. Failure to do so will attract penalty as per agreement.

10 The contractor should submit report certifying that no dues are pending towards labour charges. In case of failure to do so an amount of Rs. 2500/- will be deducted from his bill.

11 The contractor shall furnish the test certificates & instruction manuals (wherever necessary) for all the equipments / switchgears / meters / cables etc.

12 Numbering & Sign-Writing of the entire installation shall be carried out by the firm as per instructions of the Engineer-in-charge , for which nothing extra shall be paid.

13 All the hidden work including earthing / cabling in ground / conducting in recess / wiring etc. shall be done in the presence of Engineer-in-charge or his duly authorized representative.

ADDITIONAL SPECIFICATIONS

TESTING AND COMPLETION REPORTS

The contractor after successful installation should test all the alarms and submit a self certification to the BSNL that the work has been completed successfully as per specifications and other terms and conditions of the agreement and tender document. The following details should be submitted along with the above certificate.

Electrical Power Connection

i) Manuals / warranty cards of items used in annunciation box and sensors.

ii) Complete circuit diagram of system including wiring and interconnection within annunciator window.

iii) Date of Installation.

* The BSNL or his representative or the agencies authorized (Hereinafter Designated monitoring Agency) shall have the right to inspect and test the Installations as per prescribed test schedules for their conformity to the specifications. Where the BSNL decides to conduct such tests on sites or the premises, all reasonable facilities and assistance like testing instruments and other test gadgets including access to drawings and other details shall be furnished to the Designated Monitoring Agency at no charge to the BSNL.

* Should any inspected or tested component fail to conform the specifications, the BSNL may reject them and the agency shall either replace the rejected components or make all alterations necessary to meet the specifications /requirements free of cost to the BSNL.

* If any equipment or any part thereof is found defective or fails to fulfill the requirements of the Agreement, the Designated Monitoring Agency shall give notice to the agencies setting forth details of such defects or failure and the agency shall at their own cost make defective equipment good or alter the same to make it comply with the requirements of the Agreement forthwith and in any case within a period of not exceeding one month of the initial report. These replacements shall be made by the agencies free of all charges at site,

* Nothing under the above Clause shall in any way release the agencies from any warranty or other obligations under this contract.

LIST OF APPROVED MAKES- BSNL ELECTRICAL WING

| S.NO | ITEM | APPROVED MAKE |
| --- | --- | --- |
| 1 | Engine | Ashok Leyland /Cummins/ Cater pillar / KOEL/ Volvo Penta / Mahindra & Mahindra (up to 40 KVA) /Escorts (up to 30 KVA)/ Eicher (up to 20 KVA |
| 2 | Alternator(Brushless) | Crompton Greaves (AL. series) / KEC / Leroy Somer / Stamford/Jyoti Ltd |
| 3 | Battery (Lead Acid / Mntc. Free) | Amara Raja / AMCO / Farukawa / Hitachi / Exide/ Prestolite / Standard |
| 4 | HV Switchgear (Vacuum Circuit Breaker/SF6 ) | Biecco Lawrie / Crompton / Kirloskar / MEI / Jyoti Ltd |
| 5 | Transformer (Oil filled / Dry type) | ABB / Schneider Electric /Andrew Yule / Bharat Bijlee / Crompton / EMCO / Kirloskar / Siemens |
|  | a) Above 400 KVA b) Up to 400 KVA | In addition to above makes, Uttar/Automatic Electric Gear(AEG)/Patson/Rajasthan Transformer and Switchgear |
| 6 | Air Circuit Breaker | L&T/ Schneider Electric / Siemens |
| 7 | MCCB(Ics=Icu) | L&T/ Schneider Electric / Siemens |
| 8 | SDF units | L&T/ Schneider Electric / Siemens/ HPL/Havells |
| 9 | Power Contactors | L&T/ Schneider Electric / Siemens/ Lakshmi(LECS) |
| 10 | Change Over Switch | HPL / Havells / H-H Elcon |
| 11 | Intelligent APFC Relay | L&T/EPCOS(Siemens)/ Schneider Electric / Neptune Ducati/Syntron/ABB |
| 12 | Bus Bar Trunking/ Sandwiched Bus Duct | Moeller/L&T/Schneider Electric/ABB/Legrand/Zeta |
| 13 | Power Capacitors (MPP/APP) | L&T/EPCOS(Siemens)/ABB/Crompton/ Schneider Electric/Neptune Ducati |
| 14 | Digital/ KWHr meter | Schneider Electric/ AE/ Digitron / IMP/ Meco / Rishabh / Universal/HPL/L&T/ABB |
| 15 | Cold shrink HT/LT Cable Joint | Denson / 3M(M-Seal )/ Raychem |
| 16 | Rubber Matting | ISI mark |
| 17 | MCB/ lsolator /ELCB/RCCB/ Distribution Board | Crompton / Havells / lndokopp / MDS Legrand/ L&T / Schneider Electric/ Siemens / Standard/ C&S/ABB/HPL |
| 18 | MS/ PVC Conduit | ISI mark |
| 19 | Cable Tray | MEM/Bharti/Ratan/Slotco/Profab |
| 20 | HT/LT Cables | ISI mark |
| 21 | PVC insulated copper conductor wire | ISI mark |
| 22 | Centrifugal Pump | Amrut / BE / Beacon / Batliboi / Crompton / Jyoti / Kirloskar / KSB / Mather & platt / WASP/Grundfos |
| 23 | Submersible Pump | Crompton/Amrut / BE / Calama / Kirloskar / KSB |
| 24 | Motors | ABB/ Bharat Bijlee / Crompton Greaves / Schneider Electric / HBB / KEC / Siemens/Jyoti Ltd |
| 25 | Fresh Air Fans | GE / Khaitan/Almonard/Crompton |
| 26 | Starter | ABB / BCH / Schneider Electric / L&T / Siemens / |
| 27 | Single Phase Preventer | L&T / Minilec / Siemens / Zerotrip |
| 28 | GI/MS Pipe | ATC / ATL / BST / GSI / ITC / ITS / IIA / JST / Jindal /TTA / Tata/Zenith |
| 29 | Foot Valve | ISI mark |
| 30 | Gate Valve | Advance/Audco/Johnson Controls/Zoloto/Annapurna / Fountain / Kirloskar / Leader / Sant / Trishul |
| 31 | Compressors | Carrier/Emerson copeland/York/Danfoss (for chillers only) |
| 32 | Resin Bonded Glass wool | Fibre Glass / Pilkingston / UP Twiga |
| 33 | Expanded Polystyrene | BASF(India) Ltd. |
| 34 | Gauge | Feibig / H.Guru / Pricol 35 |
| 35 | Controls | FLICA / Honeywell / Indfoss / Penn-Danfoss / Ranco / Ranutrol / Sporland |
| 36 | Fine Filters | Anfiltra Effluent / ARW / Athlete/ Airtake/ Dyna / Kirsloskar/ Puromatic/ Purafill/ Purolator / Tenacity |
| 37 | GI Sheet | HSU Jindal / National / Nippon Denro / Sail / Tata |
| 38 | Heat Detector | Apollo / Chemtron/ Edward / Fenwal/ Hochiki / Nitton /System Sensor/ Wormed/Honeywell Essar/Notifier |
| 39 | Ionization Detector | Apollo / Cerberus / Edward/ /Fenway / Hochiki / Nitton / System Sensor / Wormed |
| 40 | Photo Electric Smoke Detector | Apollo / Cerebrus / Edward / Fenwal/ Hochiki / Nitton / Wormald |
| 41 | Fire Panel (Microprocessor based) | Agni Instruments / Agni Devices/ Aruna Agencies/ Carmel Sensor / Ravel Elect./Honeywell Essar/Notifier/Navin Systems |
| 42 | Sprinkler/ Hose Reel & Hose Pipe | ISI mark |
| 43 | Fire Extinguisher | ISI mark |
| 44 | Lift | OTIS, Kone, Mitsubishi , Schindler,Johnson |