OFFICE OF THE EXECUTIVE ENGINEER (E)

BSNL ELECTRICAL DIVISION-II

T.E Bldg Kachi Chawni, JAMMU

TENDER DOCUMENT

NIT NO:-27 /EE (E)/BSNL/ED-II/JMU/2023-24	                                              DATED:-20.02.2023

| Name of work :- | OPERATION AND COMPREHENSIVE MAINTENANCE OF ELECTROMECHANICAL SERVICES IN T.E BUILDING KACHI CHAWNI JAMMU.(Stop Gap arrangement) |
| --- | --- |
| Estimated cost :- | Rs. 183882/- |
| Earnest Money (EMD) :- | Rs. 3678/- |

LAST DATE FOR SALE & ISSUE OF TENDER:- 03.03.2023

DUE  DATE OF OPENING:- 04.03.2023

Tender Cost = Rs.500/- + GST as applicable-

NAME  OF AGENCY :-

DATE OF SALE (not to be filled for downloaded tenders):-

DD/CDR/FDR  No./ Date /Amount & Name of Bank  for tender sale cost ( For downloaded tenders only) :-

DD/CDR/FDR  No./ Date /Amount & Name of Bank  for EMD:-

SEAL OF FIRM					   Executive Engineer (E)

BHARAT SANCHAR NIGAM LIMITED

% The Executive Engineer (E)

B.S.N.L. Electrical Division-II

T.E. Bldg. Kachi Chawni,

Jammu (J&K) -180001.

#### INDEX

| Section No. | Item | Page No. |
| --- | --- | --- |
|  | Front Page & Index | 1-2 |
| 1.Part A | Detailed Notice Inviting e-Tender | 3-7 |
| 2. | E-tendering Instructions to Bidders | 8-13 |
| 3. | Tender Form (BSNL EW-8) | 14 |
| 4. Part A | Scope of Maintenance –General | 15-16 |
| 4. Part B | Technical Specifications | 17-28 |
| 5. Part A | General Instructions to Bidders (GIB) | 29-40 |
| 5. Part B | General (Commercial) Conditions of Contract (GCC) | 41-43 |
| 6. | Undertakings & Declaration | 44-45 |
| 7. | Proforma (s) | 46-52 |
| 8. | Price Schedule | 53-55 |
| 9. | Schedule of Requirements(SOR) | 56-59 |
| 10 | List of Approved makes | 60-61 |

SECTION 1 (PART A)

DETAILED NOTICE INVITING TENDER (DNIT)

The Executive Engineer (E) B.S.N.L. Electrical Division-II, Telephone Exchange Building, Kachi Chawni, Jammu.(Mobile. No.9419120062), invites item rate e-tenders on behalf of Bharat Sanchar Nigam Limited (A Government of India Enterprise) from eligible contractors for the following work:-

| 1 | NIT NO:-27 /EE (E)/BSNL/ED-II/JMU/2023-24 | Dated:-20.02.2023 |
| --- | --- | --- |
| 2 | Name of Work | OPERATION AND COMPREHENSIVE MAINTENANCE OF ELECTROMECHANICAL SERVICES IN T.E BUILDING KACHI CHAWNI JAMMU. (Stop Gap arrangement) |
| 3 | Estimated Cost put to tender | Rs.1,83,882/- |
| 4 | Earnest Money Deposit | Rs. 3678/- |
| 5 | Cost of Bid Document | Rs. 590/- (including GST) |
| 6 | Period of completion of work | 2 months |
| 7 | Last date of rect. of application :- | 03.03.2023 [Upto 15.30 Hrs.] |
| 8 | Last date of issue of tender :- | 03.03.2023. [Upto 16.00 Hrs.] |
| 9 | Last date of rect. of tender :- | 04.03.2023. [Upto 15.00 Hrs.] |
| 10 | Date of opening of tender :- | 04.03.2023 [At 15.30 Hrs.] |

Note: In case the date of opening of bid is declared to be a holiday, the date of opening of bid will get shifted automatically to next working day at the same scheduled time. Any change in bid opening date due to any other unavoidable reason will be intimated to all the bidders separately.

- ELIGIBILITY CRITERIA:-

- The Contractors satisfying the following conditions:

- Average annual turnover during the last 3 years, ending 31st March of the previous financial year, should be at least 30% of the estimated cost put to tender.

AND

- BSNL enlisted contractors in Electrical category of respective class as per their tendering limits. Class-IV (E) & above

OR

- Experience of having successfully completed similar works in BSNL comprising of Opn & Comp Mtce / AMC / Repair of either substation or air conditioning as part of scope of work during last 7 years ending last day of month previous to the one in which applications are invited, should be either of the following:-

- Three similar successfully completed works costing not less than the amount equal to 40% of the estimated cost put to tender.

OR

- Two similar successfully completed works costing not less than the amount equal to 60% of the estimated cost put to tender.

OR

- One similar successfully completed work costing not less than the amount equal to 80% of the estimated cost put to tender.

NOTE: -

- The estimated cost of Rs.1,83,882/- shall be considered to evaluate the eligibility criteria.

- Similar work means work of ‘Opn & Comp Mtce / AMC / Repair of either substation or air conditioning as part of scope of work.

- Statutory obligations:-

- The Firm shall have to possess an Electrical license of appropriate voltage (11KV) valid in J&K.

- EPF, ESI , GSTIN registration & other miscellaneous provisions:-

The agency has to comply with the provisions of EPF & ESI and miscellaneous provisions Act-1952 and employees provident fund scheme- 1952 as amended up to date in respect of labourers / employees engaged by them for this work. Any consequence arising due to non-complying of provisions as specified above shall be the sole responsibility of the firm only. The agency shall give an undertaking to this effect as per the prescribed Proforma under Section 6 (Undertaking & Declarations) of this document.

Note: The work completion certificate issuing authority in respect of above shall not be below the rank of Executive Engineer (E) / Manager.

- Accessibility of Tender Document: Tender document consisting of detailed plans, complete specifications, the schedule of quantities and the set of conditions of contract to be complied with can be accessed / obtained for viewing by downloading it from the website www.etenders.gov.in and web site of central procurement portal.  The official copy of tender document for participating in E-tender shall be available for downloading from www.etenders.gov.in. The Notification for said tender is also available on http://www.jandk.bsnl.co.in

- As tenders are invited through e-Tendering process, physical copy of the tender document would not be available for sale.

- The bidding process will be accepted only through e-Tendering platform.

- Once the bidder has submitted his bid through e-Tender, it will be presumed that bidder has understood & accepted all the terms and condition of the tender and no correspondence at later stage will be entertained in this matter.

- Contractor can upload documents in JPG or PDF format or any other format as permitted by e-tendering portal. The e- tender has to be downloaded and uploaded to e- portal with bidder’s digital signature. The submission of documents is deemed as undertaking by bidder that all the documents are true and genuine. If it is found at any time during bidding, execution of work or after completion of work that the information/documents submitted by the bidder are in variance of original/forged/bogus, they shall be legally held responsible for the same. Their offer shall be summarily rejected or termination of contract if awarded, forfeiting of the performance guarantees, security deposit, if any. Further the bidder/contractor shall be blacklisted/ debarred for further works in BSNL Electrical Circle, Jammu for a period of Three years.

- Tenderer must submit following documents online in the Electronic Envelope on e-tender portal on or before the due date & time of submission of tender specified on covering letter to this tender document, in a Electronic Envelope and also upload the scanned copies of these documents with the tender form.

    - Documentary proof of satisfying the eligibility conditions as per “1” above.

    - Copy of PAN card.

    - Copy of valid Goods & service tax (GST) registration/ proof of application for GSTN registration with temporary allotted number should be submitted

    - Copy of CA certificate on original letter head of C.A for turnover.

    - Copy of EPF, Valid ESI Registration.

    - Earnest Money Deposit amount as per  table at Page no. 3 in the prescribed format must accompany each tender. It should be in the form of demand draft / FDR / BG(As per format at Annexure)/ RTGS/NEFT / CDR of a nationalized / scheduled bank guaranteed by the Reserve Bank of India, drawn in favour of Account Officer (Cash) % GMTD, Jammu (Cash) & GMTD, Jammu. The Validity period of EMD is 90+30 =120 days, from the date of opening of tender.

    - Cost of Bid Document - Demand draft / RTGS/NEFT amounting to Rs. 590/- (inclusive of GST) drawn in favour of Account Officer (Cash) % GMTD, Jammu

    - RTGS/NEFT may be done to “ Collection A/c BSNL for Basic” in A/c no: 0794002100013452 with IFSC code: PUNB0070200 in the name of Account Officer (Cash) % GMTD, Jammu (Cash) % GMTD, Jammu (Cash) % GMTD, Jammu Bank transaction acknowledgement will be emailed on email id :  jammussa.banking@gmail.com. The copy of the same may also uploaded on e-tender website.

    - Certificate for “Near relative not working in BSNL” as per format available in NIT.

(All documents shall be self-attested) (Each Partner/Director of Company will submit information).

    - Scan copy of duly filled “TENDER SUBMISSION FORMAT (FOR E-TENDER) & CHECK LIST FOR THE TENDERER” on Page No. 11 - 13     and various “Declaration by Contractor” on Page No 44-45

  - The bidder shall have to download the full tender Documents and again shall upload the Documents with Digital Signature before the prescribed date and time of submission.

  - Online bid documents submitted by intending bidders shall be opened only of those bidders, whose Earnest Money Deposit, Cost of Bid Document and other documents placed in the envelope are found in order. Tender not accompanied by documents as per 2.5 & 2.6 above shall be summarily rejected and will remain archived/ unopened.

  - In case the date of submission (opening) of bid is declared to be a holiday, the date of submission (opening) of bid will get shifted automatically to next working day at the same scheduled time. Any change in bid opening date due to any other unavoidable reason will be intimated to all the bidders separately.

  - After submission of online bid, the contractor can resubmit revised bid any number of times but before last time and date of submission of bid as notified. While submitting the revised bid, contractor can revise the rate of one or more item(s) any number of times (he need not re-enter rates of all the items).

  - Contractor must ensure to quote rate of each item. If any cell is left blank and no rate is quoted by the bidder, rate of such item shall be treated as “0” (Zero).

  - The tender submitted shall become invalid and tender cost shall not be refunded if:

(i) 	The tenderer is found ineligible or wrong tender document is uploaded.

(ii) 	The tenderer does not upload all the documents as per 2.5 & 2.6 above.

(iii) 	Any discrepancy is noticed in the documents as uploaded at the time of submission of bid.

  - General conditions of contract for works in BHARAT SANCHAR NIGAM LIMITED are available in the Division Office.

  - For e-Tendering of this tender BSNL has engaged e-portal maintained by Central Public Procurement Portal (CPPP). For details kindly visit website the Central Public Procurement Portal (CPPP) https://eprocure.gov.in .

  - The intending bidders must have Class-III digital signature to submit the bid.

  - On opening date, the contractor can login and see the bid opening process. After opening of tender he will receive the competitor bid sheet.

  - It is essential to upload all mandatory documents. If some document is not applicable the status shall be printed on paper and same shall be uploaded. Uploading of any blank, irrelevant documents in connection to mandatory documents may lead to rejection of offer.

  - Deviation, if any, in Technical & Commercial Bid of DNIT will be given by the firm on its letter head duly signed & same shall be uploaded. In the absence of such letter it will be assumed that there are no deviations.

- Before e- tendering, the contractor shall inspect the site and fully acquaint himself about the condition with regard to accessibility of site and site nature and the extent of grounds, working condition, including stocking of materials, installation of T & P etc., and conditions affecting accommodation and movement of labour etc., required for the satisfactory execution of the contract. No claim whatsoever on such account shall be entertained by the BSNL in any circumstances.

- Agreement shall be drawn with the successful Tenderer on prescribed Form No. BSNL EW-8, which is available in Division Office. Tenderer shall quote his rates as per various terms and conditions of the said form.

- The time allowed for carrying out the work will be as mentioned above in the table at the beginning of EW 6.

- In case the eligibility credentials are not found in order at any stage i.e. before award of work or during execution of the work or after completion of the work, the contractor will be debarred from tendering in BSNL including any other action under the contract or existing law.

- Performance Guarantee & Security Deposit

a) 	Performance Guarantee (PG): - The Firm shall have to furnish Performance guarantee @ 3% of the contract value of the individual contract within two weeks of the issue of   commencement letter in the form of Bank guarantee on a Nationalized/Scheduled bank in standard format (Annexure II)/ CDR/ FDR/ DD. This performance guarantee shall be submitted in the Electrical Division in the name of concerned Accounts Officer and the validity period of the performance bank guarantee shall be of 24 months or up to the actual completion of work / satisfactorily handing over of site, whichever is later.

b) 	Security deposit: A sum @ 10% of the gross amount of the bill shall be deducted from each running bill of the contractor till the sum will amount to security deposit of 5% of the Tendered value of the work. The Performance Guarantee & Security Deposit shall be refunded after successful / satisfactorily handing over of site after completion of work

8.   	The acceptance of a tender will rest with the Executive Engineer (E) - II, BSNL Electrical Division Jammu, who does not bind himself to accept the lowest tender or any other tender and reserves to himself the Authority to reject lowest or all the tenders received without assigning any reason. All tenders in whom any of the prescribed conditions are not fulfilled or incomplete in any respect are liable to be rejected.

- The BSNL reserves itself the right of accepting the whole or any part of the tender and the tenderer shall be bound to perform the same at the rates quoted.

- i) 	The tenderer should give a certificate that none of his/her relative is employed in BSNL units. In case of proprietorship firm, certificate will be given by the proprietor and for partnership firm certificate will be given by all the Directors of the company.

ii) Near relatives of all BSNL employees either directly recruited or on deputation are prohibited from participation in tenders and execution of works in the different units of BSNL. The near relatives for this purpose are defined as:

a) 	Members of a Hindu Undivided family.

b) 	They are husband and wife.

c)  	The one is related to the other in the manner as father, mother, son(s) & son's wife(daughter-in-law), Daughter(s) & daughter's husband(son-in-law), brother(s) & brother's wife, sister(s) & sister's husband(brother -in-law).

iii) The company or firm or any other person is not permitted to tender for works in BSNL Unit in which his near relative(s) is (are) posted. The unit is defined as SSA/Circle/Chief Engineer/Chief Archt. /Corporate office for non-executive employees and all SSA in a circle including circle office/Chief Eng. /Chief Archt. /Corporate office for executive employees (including those called as Gazetted officers at present). The tenderer should give a certificate that none of his/her such near relative is working in the units as defined above where he is going to apply for tender/work, for proprietorship, partnership firms and limited company certificate shall be given by the authorized signatory of the firm. Any breach of these conditions by the company or firm or any other person, the tender/work will be cancelled and earnest money/performance guarantee will be forfeited at any stage whenever it is so noticed. BSNL will not pay any damages to the company or firm or the concerned person. The company or firm or the person will also be debarred for further participation in the concerned unit. The format of the certificate to be given is

"I……………………………………Son of Sh.…………………………… Resident of……………………………………… hereby certify that none of my relative(s)  as defined in the    tender document is/are employed in BSNL unit as per details given in tender document. In case at any stage, it is found that the information given by me is false/ incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior intimation to me".

(Seal of the firm)                                                                               (Signature of Contractor)

- No employee in BSNL/ Govt. of India is allowed to work as a contractor for a period of two years of his retirement   from service without the prior permission. The contract is liable to be cancelled if either the contractor or any of his employees is found at any time to be such a person who had not obtained the permission as aforesaid before   submission of tender and engagement in the contractor’s service.

- The tender for the works shall only be witnessed by the contractor who himself/themselves has/ have tendered or who may and has/have tender for the same work. Failure to observe this condition would render tenders of the contractors tendering as witnessing the tender is/are liable for summarily rejection.

- The tenders for the work shall remain open for acceptance for a period of 90 days from the date of opening of the tenders. If any tenderer withdraws his tender before the said period or makes any modification in the terms and conditions of the tender which is not acceptable to the BSNL shall, without prejudice to any other right of remedy, be at liberty to be suspend for one year and shall not be eligible to bid for BSNL tenders from date of issue of suspension order.

- Extension of validity: In case, where the letter of award of work cannot be placed within the validity period of the tender, the BSNL can request all tenderer to extend the validity of their respective tenders by a reasonable period. While BSNL can make the request for extension, the tenderer is free to either extend the validity or refuse the request to extend the validity.

- The contractor should read the tender documents carefully before submitting the tender.

- This Notice Inviting Tender shall form part of the Contract document. The successful tenderer/contractor on acceptance of his tender by the Accepting authority, shall, within 15 days from the stipulated date of start of the work, sign the contract consisting of:-

a)  	The Notice Inviting Tender, all the documents including additional conditions, specifications and drawings, if any, forming the tender as issued at the time of invitation of tender and acceptance thereof together with any correspondence leading thereto.

b)  	Standard BSNL EW-8 form.

- Conditional tenders or tenders with conditional rebate shall be summarily rejected.

- BSNL shall deduct work contract tax, income tax and other statutory deductions, as applicable from payments due to the firm as per rules of the State/Central Government. The Accounts officer of the concerned division shall issue certificates for such deductions to the firm.

19.  Termination of Contract on death of contactor:-

Without prejudice of any of the rights or remedies under this contract, if the contractor dies, the Engineer-in Charge on behalf of the BSNL shall have the option of terminating the contract without compensation to the contractor.

20.	Indulging of contractor in criminal /antisocial activities and cases under Investigation /charge sheeted by CBI or any other government agencies etc.

If the CBI or any Independent External Monitor (IEM) such as Income Tax/ Goods & Service Tax/ Central Excise/ Custom Department recommends a course of action; action will be taken as per the directions of CBI or concerned department.

21.   EPF Provisions

The agency has to comply with the provision of EPF Act-1952 and employee Provident Fund Scheme- 1952 as amended up to date in respect of labours/employees engaged by them for this work. Any Consequences arising due to non-complying of provisions as specified above shall be the sole responsibility of the firm only.

- Bye laws Indemnity against liabilities :-

The contractor shall comply with all by laws and regulations of the local and statutory authorities having jurisdiction over the works and shall be responsible for payment of all fees and other charges and giving and receiving all necessary notices and keep the Engineer –in-charge informed about the notices issued and received.

The contractor shall indemnify the department against all claims in respect of patent rights design, trademark or name of other protected rights in respect of any plant, machine, work or materials used for or in connection with the works or temporary works and from and against all claims demands, proceedings, costs, charges and expenses whatsoever in respect of or in relation thereto. The contractor shall defend all actions arising from such claims and shall himself pay all royalties, License fees, damages , costs and charges of all and every sort that may be legally incurred in respect hereof shall be borne by the contractor. • All liabilities / penal recoveries on matters arising out of tax/excise /levies such as incorrect deductions discrepancies in the filing of returns, revised assessments by the concerned authorities etc. shall be borne by the contractor.

EXECUTIVE ENGINEER (ELECT.)

For & on Behalf of BSNL

SECTION -2

E-TENDERING INSTRUCTIONS TO TENDERER

General

Submission of Tender through online process is mandatory for this e-Tender.

E-Tendering is a new methodology for conducting Public Procurement in a transparent and secured manner. For conducting electronic tendering, BSNL Electrical Circle Jammu has decided to use the portal https://www.etenders.gov.in through Central Public Procurement Portal, NIC, Government of India.

1. Tender Bidding Methodology:

Electronically Sealed Bid System –“Single Stage - Two Envelopes Electronic system”

In case of two electronically sealed envelopes system Financial & Techno-commercial tender shall be submitted by the bidder at the same time.

- Broad outline of activities from Bidders prospective:

- Procure a Digital Signing Certificate (DSC)

- Register on Central Public Procurement Portal (CPPP)

- Create Users and assign roles on CPPP

- View Notice Inviting Tender (NIT) on CPPP

- Download Official Copy of Tender Documents from CPPP

- Bid-Submission on CPPP: Prepare & arrange all document/paper for submission of bid online and offline.

- Please take care to scan documents that total size of documents, to be uploaded remains minimum. If required, documents may be scanned at lower resolutions say at 150 dpi. However it shall be sole responsibility of bidder that the uploaded documents remain legible.

- Utmost care may be taken to name the file/documents to be uploaded on CPPP. There should be no special character or space in the name of file. Only underscores are allowed. The illustrative examples are given below:

| File name | Allowed or not allowed in CPPP | Reason for allowed /Not allowed |
| --- | --- | --- |
| QA Certificate | not allowed | Space in between words / characters not allowed |
| QA Certificate(1) | not allowed | Special characters not allowed |
| QA Certificate | Allowed | Under score allowed between words /characters |
| QA Certificate | Allowed | Upper & lower cases allowed |

- It is advised that all the documents to be submitted (See clause 5 of this Section) are kept scanned or converted to PDF format in a separate folder on your computer before starting online submission. Price schedule (BOQ) as per Section-8 (Excel Format)    may be downloaded and rates may be filled appropriately. This file may also be saved in a secret folder on your computer. The names & total size of documents (Preferably below 50 MB) may be checked. For participating in this tender online, the following instructions are to be read carefully. These instructions are supplemented with more detailed guidelines on the relevant screens of the CPPP.

- Digital Certificates

For integrity of data and its authenticity/ non-repudiation of electronic records, and be compliant with IT Act 2000, it is necessary for each user to have a Digital Certificate (DC). also referred to as Digital Signature Certificate (DSC), of Class III or above, issued by a Certifying Authority (CA) licensed by Controller of Certifying Authorities (CCA) [refer  http://www.cca.gov.in].

- Registration

To use the Central Public Procurement Portal (https://www.etenders.gov.in), vendor needs to register on the portal (if not registered earlier). The vendor should visit the home-page of the (https://www.etenders.gov.in) CPPP portal and go to online Bidder Enrolment or select Bidders Manual Kit.

Note: Please contact NIC Helpdesk (as given below), to get your registration accepted/activated

| NIC Helpdesk |
| --- |
| Telephone | 0120-6277787,4001002,4001005 |
| E-mail ID | Technical - support-eproc(at)nic(dot)in Policy Related – cppp-doe(at)nic(dot)in |
| BSNL Contact-1 |
| BSNL’s Contact Person | Sh. Naresh Kumar SDE (E) |
| Telephone | 9419120868 (M) [between 10:00 hrs to 17:30 hrs on working days] |
| E-mail ID | sdee1bsnljammu@gmail.com |
| BSNL Contact-2 |
| BSNL’s Contact Person | Sh. Tarsem Kumar Bangotra EE (E) |
| Telephone/FAX | 0191-2562400 and 9419120062 (M) [between 10:00 hrs to 17:30 hrs on working days] |
| E-mail ID | eee2bsnljammu@gmail.com |

- Method for submission of bid documents

The entire bid-submission would be online on E-TENDER. Broad outline of submissions are as follows:

  - Submission of scanned copy of Bid Cost/ Earnest Money Deposit (EMD)/ Eligibility Documents as prescribed etc.

  - Submission of digitally signed copy of Financial Bid/ Full Tender Documents.

All documents submitted online must be digitally signed by the bidder

NOTE: Bidder must ensure that after following above the status of bid submission must become – “Complete”.

- Offline Submission (for those bidders who do not opt to submit Tender cost & EMD through RTGS/NEFT):

The bidder is requested to submit the following documents offline to The Executive Engineer (E), BSNL Electrical Division-II, Jammu on or before the due date & time of submission of tender specified on covering letter of this tender document.

- Cost of Bid Document - Demand draft amounting Rs. 590/- (inclusive of GST) drawn in favour of Account Officer (Cash) % GMTD, Jammu ( If the Cost of Bid Document is not paid online through RTGS/NEFT)

- Earnest Money Deposit amount as  per table at page no.3  in the prescribed format must accompany each tender. It should be in the form of demand draft / FDR /  BG/ (As per format at Annexure) / CDR of a nationalized / scheduled bank guaranteed by the Reserve Bank of India, drawn in favour of Account Officer (Cash) % GMTD, Jammu. The Validity period of EMD is 90+30 =120 days, from the date of opening of tender. (If the EMD is not deposited online through RTGS / NEFT)

NOTE: The Bidder has to upload the Scanned copy of above said original documents during Online Bid-Submission.

5.2 Online submission:

i. ELECTRONIC ENVELOPE-I

| 1 | Tender Document duly digitally signed by the authorized signatory. |
| --- | --- |
| 2 | Scanned copies of Earnest Money Deposit (EMD) and Cost of tender document. |
| 3 | All documents as per 2.5 & 2.6 on Page No: 4 & 5 |

ii.  ELECTRONIC ENVELOPE-II

Price Schedule(BOQ) as per Schedule of Work (Financial Bid)

Note:

- It is strictly instructed that documents should be uploaded in order as detailed above.

- No document should be uploaded twice.

- Price schedule / BOQ/Schedule of Work

Utmost care may kindly be taken to upload price schedule / BOQ/ Schedule of work. Any change in the format of price Schedule / BOQ /Schedule of work file shall render it unfit for bidding. Following steps may be followed

- Down load price schedule / BOQ/ Schedule of work part.

- Fill rates in down loaded price schedule / BOQ/ Schedule of work.

- Save filled copy of downloaded price schedule/BOQ/ Schedule of work file in your computer and remember Its Name & location for uploading correct file (duly filled in) when required.

- Download price schedule / BOQ/ Schedule of work in Excel/pdf format. Fill up required information and save in your computer for uploading it while submitting the bid.

- Other Instructions

For further instructions, the vendor should visit the home-page of the portal (www.etenders.gov.in), and go to the Bidders Manual Kit. The compatible support software (PDF Converter, Java, etc.) for online bid submission may be downloaded from CPP Portal. The help information provided through ‘CPPP User-Guidance Center’ is available in three categories –Users intending to Register / First-Time Users, Logged-in users of Buyer organizations, and Logged-in users of Supplier organizations. Various links are provided under each of the three categories.

E-TENDER offers a unique facility for “Public Online Tender Opening Event (TOE)”. Tender Opening Officers as well as authorized representatives of bidders can attend the Public Online Tender Opening Event (TOE) from the comfort of their offices. For this purpose, representatives of bidders (i.e. Supplier organization) dully authorized are requested to carry a Laptop and Wireless Connectivity to Internet.

For further instructions, the vendor should visit the home-page of the portal (www.eprocure.gov.in), and go to the Bidders Manual Kit. The compatible support software (PDF Converter, Java, etc) for online bid submission may be downloaded from CPP Portal.

The help information provided through ‘CPPP User-Guidance Center’ is available in three categories – Users intending to Register / First-Time Users, Logged-in users of Buyer organizations, and Logged-in users of Bidder organizations. Various links are provided under each of the three categories.

Important Note: It is strongly recommended that all authorized users of Supplier organizations should thoroughly peruse the information provided under the relevant links, and take appropriate action. This will minimize problems during the use of CPPP. The following ‘FOUR KEY INSTRUCTIONS for BIDDERS’ must be assiduously adhered to:

- Obtain individual Digital Signing Certificate (DSC or DC) well in advance of your first tender.

- Submission deadline on CPPP.

- Register your organization on CPPP well in advance of your first tender submission deadline on CPPP.

- Get your organization’s concerned executives trained on CPPP using online training module well in advance of your tender submission deadline on CPPP.

- Submit your bids well in advance of tender submission deadline on CPPP (BSNL should not be responsible any problem arising out of internet connectivity issues).

- Minimum Requirements at Bidders end

- Computer System with good configuration (with at least 1 GB RAM).

- 2 Mbps Broadband connectivity.

- Internet Explorer 9.0 or above.

- Java Run Time Engine (JRE –1.8.0) or higher

- Digital Certificate(s) for users.

TENDER SUBMISSION FORMAT (FOR E-TENDER)

IMPORTANT NOTE: before submitting the tender document on line, contractor must verify the check list properly.

To,

The Executive Engineer (E),

BSNL Electrical Division-II

Jammu

Important Note: Before submitting on line tender document, contractor must verify the check list properly for offline submission of required documents & uploading of their scanned copies as per 2.5 & 2.6 on Page. 4.

Subject: Submission of e-Tender for the work of “As per table at page no.3”

As per tender publication advertised by your office and display of Notice Inviting Tender on web site http:/www.jandk.bsnl.co.in and www.etenders.gov.in. We are hereby submitting the following documents duly attested.

ENVELOPE – I

| S.No. | DOCUMENTS | DETAILS |
| --- | --- | --- |
| 1 | Tender due on |  |
| 2 | Tender Cost. |  |
| a. | Demand Draft No / RTGS/NEFT transaction acknowledgement No / Electronic receipt |  |
| b. | Date |  |
| c. | Amount Rs. |  |
| d. | Name of Bank and Branch |  |
| e. | In favour of | Account Officer …………………. |
| 3. | Earnest Money Deposit |  |
| a. | DD/FDR/CDR/BG No. / RTGS/NEFT transaction acknowledgement No / Electronic receipt |  |
| b. | Date |  |
| c. | Amount Rs. |  |
| d. | Name of Bank and Branch |  |
| e. | In favour of | Account Officer …………….. |
| 4. | Details of firm / Company |  |
| a. | Name of firm / Company) |  |
| b. | Name of Proprietor / Partner / Managing Director |  |
| c. | Address |  |
| d. | Pin Code |  |
| e. | Telephone |  |
| f. | E– mail address (MANDATORY) |  |
| g. | Address of Branch / Head Office Name |  |
| 5. | Income Tax returns / Chartered Accountant Certificate Date |  |
| 6. | Goods & Service tax (GST) Registration No. & Date |  |
| 7. | EPF Registration NO. |  |
| 8. | ESI Registration NO. |  |
| 9. | Bank details of agency for RTGS/online payment |  |
| A | Bank Account No:- |  |
| B | Bank Name & Branch:- |  |
| C | IFSC code:- |  |

10. Lists of 3 works carried out satisfactorily (Certified Officer not below the rank of Executive Engineer).

(To be issued by the user on his printed letterhead to the tenderer)

This is to certify that the work has been completed satisfactorily as per details given in tender document / P.O.

| Sl.No | Name of Work | Date of start | Date of Completion | Amount of work Done | Department and P.O. / Agreement No. |
| --- | --- | --- | --- | --- | --- |
| 1. |  |  |  |  |  |
| 2. |  |  |  |  |  |
| 3. |  |  |  |  |  |

- Annual Turnover (To be issued by Chartered Accountant on his letter head indicating following)

| Sl. No | Year | Annual turn over |
| --- | --- | --- |
| 1 |  | Rs |
| 2 |  | Rs |
| 3 |  | Rs |

Note: - The bidder may upload certificate from C.A mentioning financial turnover. There is no need to upload entire voluminous balance sheet. If required the same may be provided at the time of offline opening of documents.

I, ___________________________________________   proprietor/ duly authorized representative of   M/s. _____________________________________________    hereby certify that the information given above is true to the best of my knowledge and belief. I have been duly authorized to sign and certify the documents. I understand that any wrong information/suppression of facts will disqualify us from being considered for the tender participation.

Place                                                                                                       Yours sincerely

(Signature)

Date                                                                                                     (Name in block letter)

Seal of firm

CHECK LIST FOR THE TENDERER

IMPORTANT NOTE: Before on line submitting the tender document, contractor must verify the check list properly.

| S.No | Check | Yes / No |
| --- | --- | --- |
| 1 | Whether the demand draft / RTGS/NEFT for Rs ______________ drawn in favor of Account Officer (Cash) % GMTD, Jammu towards the tender cost is placed in the envelope for documents for offline submission. |  |
| 2 | Whether EMD amounting to Rs 3502.00 in the form of Demand draft/FDR/Bank guarantee/CDR of a nationalized bank or Scheduled bank guaranteed by the RBI, drawn in favor of Account Officer (Cash) % GMTD, Jammu is placed in the Envelope for documents for offline submission. OR Electronic receipt of EMD in the form of RTGS/NEFT, in favor of Account Officer (Cash) % GMTD, Jammu is placed in the Electronic Envelope and e-mailed to the concern |  |
| 3 | Whether attested copies of valid chartered accountant certificate for the works execution turnover of not less than 30% of the estimated cost put to tender for each FY in last three FY is placed in the envelope. |  |
| 4 | Whether the Tenderer has got the requisite “Digital Signing Certificate” (DSC) and has got itself registered with with the Central Public Procurement Portal (CPPP) https://eprocure.gov.in to e-submit the tender |  |
| 5 | Whether attested copies of documents required as per NIT document is placed in the envelope to be submitted offline. |  |
| (i) | PAN Card |  |
| (ii) | Valid Goods & service tax (GST) registration |  |
| (iii) | CA certificate for Turn over |  |
| (iv) | EPF , ESI registration |  |
| 6 | Whether Power of attorney in favour of the signatory signing the tender and documents is placed in the first E-envelope.(Not applicable, in case of the tenders signed by the proprietor himself) |  |
| 7 | Whether the tenderer has uploaded soft copy of tender document under his /her digital signature |  |
| 8 | Whether the tenderer has filled up his address and phone number in the relevant page of the tender document. |  |

I/we hereby declare that no addition /deletion/correction have been made in the tender document submitted and is identical to the tender document appearing on website.

(Signature of the contractor)

Seal of the firm

Section-3

Tender Form (BSNL EW-8)

BHARAT SANCHAR NIGAM LIMITED

CIRCLE – J&K, TELECOM CIRCLE			                                              DIVISION- II, Jammu.

BRANCH: EW						                                              SUB DIVISION- IV, Jammu.

Item Rate Tender & Contract for Works

(A)	Tender for the work of:-  OPERATION AND COMPREHENSIVE MAINTENANCE OF ELECTROMECHANICAL SERVICES IN T.E BUILDING KACHI CHAWNI JAMMU.(Stop Gap arrangement)

…………………………………………………………………………………………………

T E N D E R

1. 	I/we have read and examined the notice inviting tender, schedules A, B, C, D, E & F., specifications applicable, Drawings & Designs, General Rules and Directions, Conditions of Contract, clauses of contract, special conditions, Schedule of Rates and other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work.

2. 	I/We hereby tender for the execution of the work specified for BSNL within the time  specified, schedule of quantities and in accordance in all respects with the specifications, designs, drawings and instructions and other documents and Rules referred to in the conditions of contract and all other contents in the tender document for the work.

3. 	I/We agree to keep the tender open for ninety (90) days from the due date of submission thereof and not to make any modifications in its terms and conditions.

4. 	EMD of requisite amount is enclosed. If I/We, fail to commence the work specified I/We agree that the said BSNL shall without Prejudice to any other right or remedy, be at liberty to forfeit the EMD absolutely and the same may at the option of the competent authority on behalf of BSNL be recovered without prejudice to any other right or remedy available in law out of the Deposit in so far as the same may extend in terms of the said bond and in the event of Deficiency out of any other money due to me/us under this contract or otherwise.

5.      	Should this tender be accepted, I/We agree to execute all the works referred to in the tender documents upon the terms and conditions contained or referred to therein and to carry out such deviations as may be ordered up to maximum of percentage mentioned in clause 12.3 of the tender form and those in excess of that limit at rates to be determined in accordance with provisions contained in clause 12.2.

6. 	I/we agree to furnish to BSNL Deposit at call receipt/FDR/Bank guarantee of a Nationalized/ Scheduled Bank for an amount equal to 3% of the contract value in a standard format within two weeks from the date of issue of award letter. I/We agree to keep the performance bank guarantee valid for one year from the date of actual completion of work.

7. 	I/We hereby declare that I/We shall treat the tender documents drawings and other records connected with the work as secret/confidential documents and shall not communicate information/derived there from to any person other than to whom I/We am/are authorized to communicate the same or use the information in any manner prejudicial to the safety or interest of BSNL.

8.	I/We agree that should I/we fail to commence the work specified in the above memorandum, an amount equal to the amount of the Performance Guarantee money mentioned in the form of invitation of tender shall be absolutely forfeited to the B.S.N.L. and the same may at the option of the competent authority on behalf of the B.S.N.L.  be recovered without prejudice to any other right or remedy available in law out of the deposit in so far as the same may extend in terms of the said bond and in the event of deficiency out of any other money due to me/us under this contract or otherwise.

Signature of Witness

(Required in the case of contractor’s thumb impression is given by the contractor in place of signature)

(Signature of contractor)

(Name & Postal address) 						Seal of Contractor

Date:

Occupation of Witness

ACCEPTANCE

The above tender as modified by you (contractor) and as provided in the letters mentioned hereunder is accepted by me for and on behalf of the Bharat Sanchar Nigam Limited for sum of Rs._______________ Rupees_______________________________________________________________)

The letters referred to below shall form part of this contract Agreement:-

a)

b)										                       Executive Engineer (E)

For & on behalf of the B.S.N.L.

SECTION -4 (Part A)

SCOPE OF MAINTENANCE- GENERAL

Electrical Maintenance of the Technical/Administrative/Residential building(s) as applied in our case means that all Electro Mechanical Services included in the schedule of work are kept in healthy and clean condition and wherever operation is called for, the same is also carried out. Specific details of maintenance activities required to each service are detailed under sections pertaining to that service.

METHODOLOGY

- It is presumed that contractor will provide minimum qualified staff at the site, which will be adequate to perform routine maintenance and operational functions. For optimum utilization one person can be responsible for number of services. Also maintenance staff has to be available round the clock round the year even on holidays. However, strength may vary during day & night shifts. Scheme for staff employed shall be got approved by the Engineer-in-charge.

- In case of faults beyond the capacity of the staff provided as above, contractor shall immediately provide extra specialized work-force so as to attend to the fault in minimum reasonable time.

COMMERCIAL

- The workers engaged by firm should maintain proper discipline and good behavior with occupants.

- The firm shall on the request of Engineer-in-charge, forthwith remove from the works any person employed thereon by him who in the opinion of the BSNL misconducts himself or misbehaves or has doubtful character. Such person shall not be employed again on the work.

- Any damage to the installation(s) / building during the maintenance period due to the carelessness on the part of maintenance staff shall be the responsibility of firm & he will replace/ rectify without any extra cost.

- The agency will provide the workers with necessary T&P, Testing & safety equipment.

- Relevant safety precautions and other site precautions / safety rules shall be adhered to while executing the contract.

- Any accident or damage during maintenance / operation (if applicable) will be the responsibility of the agency & the Department will not entertain any claim, compensation, penalty etc. on this account or on account of non-observance of any other requirement of law relevant to this work.

- Agency has to observe all the labour rules & regulations in force at the place of work, like EPF, ESI, Employee Accident Insurance, etc. BSNL shall not entertain any claims on this account.

- The agency has to supply details as per (Annexure I under Section 5 (Part A) of all the workers likely to be engaged by him before start of the work to the Engineer-in-charge.

- Dismantled materials shall be returned to the Department except those items for which the replacement is supplied by the agency. Further all the material replaced during the servicing of E/A set shall be the property of the contractor.

- Items used for replacement shall be of approved make as per list attached.

- The Department reserves the right to carry out any work at the risk and cost of the agency, if the agency fails to perform any duty as per the contract.

- The tenderer must obtain himself at his own expense all the information necessary for the purpose of tendering.

- Inspect the site & acquaint himself with all the local conditions, means of access to the work & nature of work etc. No claims shall be entertained on these accounts

- The contractor shall not sublet the work or part thereof. However, services of specialized agencies for specific work can be obtained.

- The sitting arrangement for the staff engaged by the agency should be arranged by the firm at his own cost. The space, water, telephone (if possible) & electricity shall be made available by the Department free of cost.

- The Department reserves the right to terminate the contract by giving show cause notice of 7 days duration at any time during the currency of the contract.

- The contractor has to keep all the Electro-mechanical equipments & site neat and clean to avoid any accident and/or fire hazards.

- Since the firm will be doing the maintenance and / or operation of critical services (in major  exchanges) like sub-station, Fire fighting, standby power etc. responsible & trained person(s) should be placed round the clock at site who could take initial steps under emergency situation. If RLU / RSU exchanges are clubbed with major exchange, the persons (as mentioned in the note below the schedule of work), shall be deputed round the clock  at  major exchange to visit the RLU / RSU exchanges  any time, as per need & promptly to run the generator and other Electro-mechanical services  for uninterrupted functioning.

- Firm should have round the clock contact telephone number. In case of Emergency contractor and authorized engineer supervisor shall be available at site on short notice from engineer - in- charge and make all efforts to make the situation normal at the earliest.

- After the contract period is over the installation has to be duly handed over to the Department. The contractor shall be responsible for any discrepancies vis-à-vis, the status of installation at the start of work plus any modification carried out during the currency of the contract.

- Any defects, shortcoming brought to the notice of the department within the first 15 days shall be the responsibility of the Department.

- The worker should wear uniform preferably in dark blue colour & at the back of the uniform (Shirt) “SAVE ENERGY” shall be written in HINDI/ENGLISH.

- The staff engaged by the firm shall bear Name Plate on duty.

- The firm /contractor should take over/hand over the services in smooth manner without dislocating the services of the exchange / bldg.

- A complaint register with page numbered for all services is to be maintained as per format given under Section 5 Part A (General Instructions to Bidder)

- The supervisor of the firm shall visit site at least weekly and shall check all the equipment & sign the records available at site (like complaint register and log book). ( Applicable for O&M work only)

- Agency shall ensure proper upkeep of History register and records given in various annexure, which should be page numbered and make them available during the visit of officers. ). Remarks entered by visiting officer in the log books/ registers shall be attended on priority & compliance report shall be given to officer concerned. ).

- In case deletion/addition of services, additional amount shall be paid/ Recovered as per rate prescribed in maintenance norms by the Electrical wing CO New Delhi including abetment of tender. However cost of operation of services shall remain unchanged.

- In addition to all the above conditions, it is added that in case the Engineer-in-charge feels that services of the exchange are in danger, the Department/Engineer-in-charge reserves the right to get the work done  for maintaining the smooth services to the exchange and cost of work shall be recovered from the agency. Further decision of Engineer-in-charge with regard to whether the services are in danger or not, shall be final & binding.

MATERIALS:

- Replacement of defective/damaged material shall be on approved make basis. Dismantled materials shall be returned to the Department except for those items for which the replacement is supplied by the agency.

- After award of work the contractor shall prepare and submit a list of inventory of materials to be kept at site as spares, for prompt maintenance in consultation with the Engineer-in-Charge. Materials for all the services to be considered for preparation of inventory.

SECTION -4 (PART B)

TECHNICAL SPECIFICATION

###### EI & FANS

Part I:   Scope of Maintenance

- Ensuring that EI installation is always kept in clean, healthy working condition.

- Attending day to day routine complaints in a prompt and satisfactory manner.

- Ensuring that no breakdown, in power supply takes place and in case it happens to take all required steps including contacting supply co. for earliest restoration.

- Maintaining the installation i.e. fans fittings and other components of the installation in clean condition including proper sign writing.

- Ensuring that there is no wastage of electrical energy. Details of steps to be taken in this regard to be worked out in consultation with the Engineer -in-charge.

- Carrying out minor additions and alternations ordered by Engineer-in-charge. (Materials required shall be supplied by the department.)

- Carrying out various maintenance routines and tests as stated in Part III.

- Maintaining Registers for complaints and test results.

Part II: TASKS TO BE PERFORMED WITHIN FIRST 15 DAYS

- Following items should be carried out within first 15 days.

- Establish an Enquiry office and organize a system with the approval of Engineer - in - Charge so that complaints can be received and attended property.

- Measurement of the resistance of Earth Stations of EI System and checking of the continuity of earth conductor. Results to be recorded.

- Preparing an inventory of materials to be kept at site for prompt maintenance in consultation with Engineer-in-Charge. Materials for all the services to be considered for preparation of inventory.

- Inspection of Main board & SDBs for (a) any loose / improper connection (No strand cutting for making connection to be allowed), (b) improper rating of switches / fuse (c) Cleanliness.

- General inspection of EI system to identify shortcoming. Also any other relevant aspect which may come in the way of proper maintenance should be recorded in Register and also brought to the notice of Engineer-in-charge.

- Insulation Test of cables and insulators etc. Results to be recorded.

Part-III: MAINTENANCE SCHEDULE TO BE FOLLOWED

(All activities to be entered in register to be maintained at site).

- Daily

- Check all points are working.

- Quarterly

- Check MB & SDB for any loose connection.

- Cleaning of switch board fans, fittings etc. so that installation is always clean.

- Half Yearly

- Testing of earthing system for earth resistance and continuity

- Yearly

- Greasing and oiling of fans of all types if required

Note: - Broken / incomplete louvers of fittings, switch plates etc. to be attended at the earliest.

Part - IV: MATERIALS

- Replacement of materials shall be made by Energy Efficient items to match with the existing ones.

- Repair / Replacement of all type of Cables shall be the responsibility of the agency .Nothing extra shall be paid on this account. Decision of Engineer-in-charge shall be final and binding on the agency.

- All the materials required for carrying out maintenance with the exception of following shall be arranged by the contractor at his own cost.

- The replacement of fans & fittings shall only be carried out in those cases where these have been scrapped by BSNL.

- Materials required for minor additions and alterations.

- To save electrical energy on long term basis, 40W or 80W Box type/Mirror Optic fluorescent fitting shall be replaced with energy efficient LED Lamps / FTL by the firm in the event of the existing chokes / CFL gets faulty. Decision regarding replacement of choke/ CFL whether it is faulty or not shall be taken by the Engineer-in-charge & shall be binding on the firm.

| Existing | To be replaced by Energy Efficient |
| --- | --- |
| Incandescent Bulbs /CFL | LED lamps |
| Conventional Chokes /Fluorescent TL | LED TL |

###### SUB-STATION &AVR

Part - I: Scope of Maintenance

- Ensuring that, HT Panel, Transformer, L.T. Panels & outdoor structure and AVR as well as connecting cables are maintained in healthy & clean condition.

- To perform maintenance tasks as per schedule given below.

- To disconnect total electric supply and or individual loads in case of emergent situation to avoid / limit damage.

- To ensure continuous power supply and in case of breakdowns take steps to ensure restoration at the earliest.

- To carry out and maintain test results of all items as mentioned in the schedule.

Part - II:  TASKS TO BE PERFORMED WITHIN FIRST 15 DAYS

Identify person(s) with necessary competence to be responsible for Sub-station maintenance.

- The person(s) deputed for Sub-station job should:-

- Know how to treat the persons suffering from electric shock / burn etc.

- Be able to operate fire extinguisher.

- Make himself familiar with the distribution scheme the switches controlling various loads and also importance

- Clearly understand what is to be done in case of an emergency. This should be done in consultation with Engineer-In-charge.

- Carry out general inspection with a view to identify shortcoming if any in the Sub-stations installation.

- Preparing and updating the single line distribution Diagram & displaying it at appropriate locations.

- Check all the switches & meters for proper operation.

- Check availability and working of fire extinguishers at earmarked locations.

- Check operation and calibration of all the safety devices like relays and fuses.

- Check the earthing system for the proper earth values & continuity of earthing system.

- Check insulation value of oil in all the equipments.

- Carry out meggar test.

- Check oil level in all the equipments to ensure proper levels.

- Check power factor meter, maximum demand meter for proper functioning.

- Check all the electrical connections for proper tightness.

- Sign writing on M.V. Panel i/c & o/g switches for connected load.

- Check the, H.T. Panel rubber mat in front of M.V. Panel.

- Check for Respirator etc.

- Check for Medicine etc. (expiry date etc. may also be checked) in first aid box.

- Watering the earth.

- Check fire bucket for sand.

- Checking functioning and plug setting in IDMT relay.

All results of above inspection to be recorded and brought to the notice of Engineer-In-charge specially highlighting shortcomings for necessary action.

Part - III: MAINTENANCE SCHEDULE TO BE FOLLOWED

- Daily Checks

  - Check all the equipments installed in the Sub-station for the following and rectification/ replenishment/replacement shall be done by the agency, for the items included in the offer

  - Any abnormal heating.

  - For any abnormal noise

  - Any breakage / oil leakage in the equipment installed.

  - Any inflammable material like oil, broken furniture, packing etc. is stored in the Sub-station. If fire hazardous material stored it has to be removed immediately. if required contact Engineer- in-charge for suitable action.

  - The colour of the breather attached to the transformer. Colour should be blue.

  - Proper working of the instruments.

  - In case of outdoor installation inspect for any abnormality.

  - Read the servicing schedule (to be finalized in consultation with the Engineer-In-charge and kept in Sub-station room) of HT Panel, Transformer, and LT  Panels with a view to alert the authorities concerned in advance of the due dates of maintenance activity.

  - Maintain the sub-station logbook as per the  Performa

  - Check Transformer oil level.

  - Check fuses etc.

- Watering the earth.

- In case of outdoor installation

- Checking & cleaning of insulators - every three months.

- Checking and cleaning of lightening arrestors - every three months.

- Checking & cleaning of drop out fuses - every three months.

- Painting of installation - once during the currency of contract.

- Half yearly

- Oil testing - after six months of last test.

- Earthing systems check - after six months of last test.

- Relay and other protection Devices working - after six months of last test.

- Insulation measurement of the system - after six months of last test.

- Checking of the connections for tightness and cleanliness - after six months of last test.

- ON/OFF operation of all switches including cleaning and lubricating of operating mechanism wherever required, particularly in case of outdoor installation.

Note-1):- If anything adverse is noticed during the daily check the matter will be reported to the Engineer-in-charge and wherever necessary corrective measures should be taken immediately.

Part - IV:   MATERIALS

All the materials required for carrying out maintenance with the exception of following shall be arranged by the contractor at his own cost.

Exceptions:

Replacement of Transformer / HT Panel / LT Panel

LOG BOOK:

|  |  |  |  |  | SUBSTATION LOGBOOK |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Name of work: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Agency: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Agreement No:- |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | STATE ELECTRICITY BOARD READING | SOURCE 1 | LT PANEL READING |  |  |
| TIME | RY | YB | BR | OUT GOING 1 | PF | KWH | KVARH | KVA | KWH | TRANSFORMER 1 |  |  |
|  |  |  |  | R | Y | B |  |  |  |  |  | VOLTAGE | AMPS | PF | KW | TEMP | TAPPING |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  | RY | YB | RB | R | Y | B |  |  |  |  |  |  |

###### ENGINE ALTERNATOR SETS

Part - I: Scope OF MAINTENANCE

- Ensuring that the E/A set installation are kept clean and healthy working condition.

- Testing the system every day for operating fitness.

- Carrying out various maintenance activities and test as stated in part- III

- To maintain Logbook.

- To calculate the average fuel consumptions/hour during the month.

Part - II: TASKS TO BE PERFORMED WITHIN - 15 DAYS

- Inspect the installation for any shortcoming which is to be recorded and brought to the notice of Engineer-in charge.

- Check the safety devices as well as operating switches for their proper functioning. Any defective item to be attended on priority basis.

- The system should be brought into working condition if this is not the case on priority.

- Identify qualified persons responsible for maintenance and operation of EA sets.

- The person (s) should familiarize themselves with the installations, load distribution and working of E/A set. Need for watch to keep various parameters in permissible limits and responding to various alarms should be clearly understood.

- Inspect the EA room for proper ventilation (normally 1 ½ times the radiator area should be available for fresh air and the hot air during operation should have free passage to outside atmosphere. Steps for improvement to be discussed with maintenance-in-charge.

- The Engine capacity vis-à-vis the loads being supplied should be checked to ensure that there is no mismatch.

- Check the earthing system for proper values. The results of inspections as above should be recorded in register and brought to the notice of Engineer-in-Charge.

Part - III: MAINTENANCE SCHEDULE TO BE FOLLOWED

- Daily

- Check and record the availability of diesel.

- Check the level of water in the radiator.

- Check the state of battery, terminals for cleanliness & level of water.

- Check the Lubricating Oil level. If low, top up.

- If Engine is not being run daily due good power condition, the E/A set should be run every alternate day about 15 Minutes to ensure that it is in perfect working condition. (Applicable for O&M work only).

- Ensure cleanliness of E/A room.

- Check air/line connections and air breather for cleanliness.

- Watering the earth as and when required.

- Watering earth as and when required.

- Fault/Breakdown, if any, to be attended & reported to Engineer -in-charge.

- Periodical Maintenance

- Proper working of safety devices and alarms (For LLOP, Lack of fuel, over speed, H.C.T.)

- Servicing of E/A set is to be got done by the authorized service dealer nominated by corresponding engine manufacturer, as per the recommendation of the Engine Manufacturer in the presence of JE / SDE (E). All the material for the servicing (Lube Oil, Filters, etc) shall be arranged by the firm from the authorized service dealer nominated by corresponding engine manufacturer for these capacities & model of the engines and bill for the same shall be produced along with service reports.. The firm shall be paid as per schedule of quantity by the department. The similar certificate of purchase from engine manufacturer for engine spares or extra items shall be submitted along with the bill. The spare parts for alternator shall be purchased from concerned alternator manufacturer or their authorized service dealer for the capacities mentioned in the agreement. The certificate or purchase/documents shall be submitted to the Engineer-in-charge.

- Capacity testing of Engine alternator set:. The firm will assess the maximum load that can be delivered by the EA by putting additional load along with Exchange load, should be done every six month.

Part - IV: MATERIALS

All items required for proper upkeep and maintenance of E/A set have to be arranged by the contractor. except following items.

- Diesel for the E/A sets.

- Major overhauling of Engine.

Replacement of battery and servicing of DG set. For this, the rates shall be quoted separately and carried out only on approval of the E. E. (E).

| Name Of Exchange: | LOG BOOK FOR ENGINE ALTERNATOR SET |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Details of Engine : | Details of Alternator : |  |  |  |  |  |  |  |  |  |
| Engine No : | Make and Model : |  |  |  |  |  |  |  |  |  |
| Make and Model : | KVA : |  |  |  |  |  |  |  |  |  |
| Date | Time of failure of Power Supply | Time of Exch. On battery. | Reading on Starting of Diesel Engine | Voltmeter Reading | LOAD Amp. Meter Reading | Reading on Closure of Diesel Engine | Hrs. run of Engine | Total running Hrs. during the Day | Hour Meter Reading | Total Diesel Consumption during the day | Diesel quantity received per Month | KWH Reading | KW Reading | Remarks | Signature |  |
|  | From | To | From | To | Time | Ltr (Diesel Tank Reading) | RY | YB | BR | R | Y | B | Time | Ltr (Diesel Tank Reading) | Hrs. |  | Start | Close | Litre | Litre |  |  |  |  |  |
| Total : |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.Running Hours During the Month as Per Engine Hour meter Reading |  |  |  |  |  |  |  |  |  |  |
| 2.Total Unit Generated During the Month: |  |  |  |  |  |  |  |  |  |  |
| 3. Diesel quantity in balance at the end of the Month : |  |  |  | Signature of AE/JE: |  |

4. 	SPLIT AIR CONDITIONER UNITS

pART-I - Scope of maintenance

- Keep all the units in clean and healthy working condition.

- Leak testing /pressure testing, charging of refrigerant of compressor as per manufacturer recommendations.

- Attending day to day faults promptly.

- Carrying out maintenance tasks as mentioned in part III.

- In case of fault in the compressor, the firm shall ensure replacement of the compressor from the manufacturer or their authorized dealer along with a warranty certificate, any local repairing by cutting opening of the compressor is not permitted.

- No rewinding of blower motor of split/window ACs will be carried out. The defective motors will be replaced by new ones.

- The rate for checking and replacement of any faulty items of AC including compressor, charging of refrigerant, replacement of blower fan and replacement of relay, capacitor, thermostat, grill, knob, fan blade, bearing and oiling, greasing etc, Leak testing pressure testing, charging of refrigerant of compressor, cleaning of cooling coil fins, Electronic Starter (OLP 3), Voltage stabilizer of AC etc. shall be included.

- The faulty compressor shall be the property of the contractor in lieu of supplying new “manufacturer sealed compressor” of same make and model.

PART-II - TASKS TO BE PERFORMED WITH IN 15 DAYS

- Inspect all the units for proper electrical connection & installation etc.

- Any short coming to be recorded and brought to notice of Engineer-in Charge.

PATR-III - MAINTENANCE SCHEDULE TO BE FOLLOWED

- Cleaning of filters – Monthly except in summers, in summers fortnightly.

- Checking of Electrical connections  - Quarterly

PART-IV - MATERIALS:

All the materials required for carrying out the maintenance with exception of following shall be arranged by the contractor at his own cost.

- Replacement of Window / Split AC.

PART-V -SPECIAL CONDITIONS RELEVANT TO PARTICULAR JOB/PARTICULAR SITE

- In case blower motor / condenser motor gets burnt the same is to be replaced by the firm with the New motor of similar approved make, for which nothing Extra shall be payable

- When the sealed compressors become faulty, the same are to be replaced by sealed compressors only. The documentary proof of factory replacement from Original Manufacturer is to be submitted.

- From Sub Distribution Board to the point of supply of AC including stabilizer is within the scope of the firm (Even if the EI & Fan maintenance is not covered in the contract).

- For servicing, the Window AC unit will be complete draw out from the cabinet & will be cleaned with blower and pressurized water. All fins will be cleaned & gap will be maintained. The bottom will also be properly cleaned and may be painted to avoid corrosion. During this procedure, the blower fan motor will be dismantled and refitted after greasing and oiling. Grill temperature shall be recorded in report.

5.  	COMPOUND LIGHTING

Part - I: Scope OF MAINTENANCE

- Ensure the compound lighting installation is always kept clean, and in healthy working condition.

- Attending day to day routine complaints in prompt and satisfactory manner.

- Ensure that there is no wastage of electrical energy and lights do not remain switched on when not needed.

- Carrying out various maintenance routine and tests as stated below.

Part - II: TASKS TO BE PERFORMED WITHIN FIRST 15 DAYS

- Inspecting the entire installation comprising of control switches, cable, poles fittings, lamps and earthing for any shortcomings. Recording the same and bringing it to the notice of Engineer-in-charge.

- Checking earthing system for proper efficiency.

- Checking the connections for any loose / improper connection (no strand cutting for making connection to be allowed).

Part - III: MAINTENANCE SCHEDULE TO BE FOLLOWED

- Cleaning of fittings on a regular basis so that fittings are always in clean condition.

- Checking earthing system after every six months of initial check.

- Checking for proper electrical connections after every six months of initial check.

- Painting of poles and outdoor feeder pillars once a year. Time to be decided in consultation with Engineer-in-charge.

Part - IV: MATERIALS

All the materials required for carrying out the maintenance with exception of following shall be arranged by the contractor at his own cost.

  - Replacement of Fittings/Pole / pole box.

9. PREVENTIVE MAINTENANCE SCHEDULE:-

| PREVENTIVE MAINTENANCE SCHEDULE OF ELECTRO-MECHANICAL SERVICES |
| --- |
| MONTH | EI & Fans | Pumps | Comp. Lighting | Lightn. Cond. | S/Stn. & AVR | DG set | Fire Det. /Alarm | W/SAC | Fire Extinguishers | AC PACKAGE UNIT |
| MONTH 1,7 | (i) Check all points are working (ii) Check MB & SDBs for any loose connection | (i) Check the system for its proper working (noise / heating etc ) and gland leakage if any | (i) Check working of fittings and for its cleanliness | (i) Carry out physical inspection of the system, joints etc. for healthiness of the system | (i) Carry out general inspection installation for any abnormal noise, heating, oil leakage, working of all the instruments, colour of breather, transformer oil level. | (i) Check level of water /coolant & Lub oil , state of battery ,its water level and terminals for cleanliness, and leakage in radiator/fuel/lub oil etc. (ii) Checking of working of safety devices & alarms and breather for cleanliness. | (i)Check working of F/D system from control panel along with PA system, battery for proper charge ,cleaning of contacts etc. (ii) cleaning of detectors from outside and conducting of fire drill. (iii) Testing each detector with smoke/heat once in a year | (i) Filter cleaning | (i) Check the weight of the cylinder. Horn and hose and hose assembly shall be examined and cleaned . | (i) Cleaning of Filters, check of Electrical connections, damper adjustment, check current of all motors , Elect & Mech interlocking , Fire Alarm Tripping, Leak Test |
| MONTH 2,8 | (i) Check all points are working (ii) Check MB & SDBs for any loose connection | (i) Check the system for its proper working (noise / heating etc ) and gland leakage if any | (i) Check working of fittings and for its cleanliness | (i) Carry out physical inspection of the system ,joints etc. for healthiness of the system | (i) Carry out general inspection installation for any abnormal noise, heating, oil leakage, working of all the instruments, colour of breather ,transformer oil level. | (i) Check level of water /coolant & Lub oil , state of battery ,its water level and terminals for cleanliness, and leakage in radiator/fuel/lub oil etc. (ii) Checking of working of safety devices & alarms and breather for cleanliness. | (i)Check working of F/D system from control panel along with PA system, battery for proper charge, cleaning of contacts etc. (ii) cleaning of detectors from outside and conducting of fire drill; | (i) Filter cleaning (ii) Servicing i/c cleaning of fins with blower & pressurized water | (i) Check the weight of the cylinder. Horn and hose and hose assembly shall be examined and cleaned . | i) Cleaning of Filters, check of Electrical connections, damper adjustment, check current of all motors , Elect & Mech interlocking , Fire Alarm Tripping, Leak Test (ii) Servicing of complete AC Plant (Once in a year) |
| MONTH 3,9 | (i) Check all points are working (ii) Check MB & SDBs for any loose connection (iii) Cleaning of Switch Board / fans/ fittings. | (i) Check the system for its proper working (noise / heating etc ) and gland leakage if any | (i) Check working of fittings and for its cleaniness | (i) Carry out physical inspection of the system, joints etc. for healthiness of the system | (i) Carry out general inspection installation for any abnormal noise, heating, oil leakage, working of all the instruments, colour of breather ,transformer oil level. (ii) Cleaning of insulators, lightening arrestors, drop out fuses. | (i) Check level of water /coolant & Lub oil , state of battery ,its water level and terminals for cleanliness, and leakage in radiator/fuel /Lub oil etc. (ii) Checking of working of safety devices & alarms and breather for cleanliness. (ii) Run the DG set on load to see its efficient working. | (i)Check working of F/D system from control panel along with PA system, battery for proper charge ,cleaning of contacts etc. (ii) cleaning of detectors from outside and conducting of fire drill; | (i) Filter cleaning (ii) Checking of Elect connections | (i) Check the weight of the cylinder. Horn and hose and hose assembly shall be examined and cleaned . | i) Cleaning of Filters, check of Electrical connections, damper adjustment, check current of all motors , Elect & Mech interlocking , Fire Alarm Tripping, Leak Test (ii) Cleaning of condenser ,Checking of Elect Panel ,belts and control ckts. |
| MONTH 4,10 | (i) Check all points are working (ii) Check MB & SDBs for any loose connection (iii) Measurement of the resistance of Earth Stations | (i) Check the system for its proper working (noise / heating etc ) and gland leakage if any (ii) Earth and Insulation Test | (i) Check working of fittings and for its cleanliness (ii) Check Earthing system. (iii) Check for proper electrical connections in feeder pillar / control box etc | (i) Carry out physical inspection of the system, joints etc. for healthiness of the system (ii) Check Earthing system | (i) Carry out general inspection installation for any abnormal noise, heating, oil leakage, working of all the instruments, colour of breather, transformer oil level. (ii) checking of oil strength, Earthing system ,working of relay and other protection devices and Insulation measurement of system and watering of earth etc | (i) Check level of water /coolant & Lub oil , state of battery ,its water level and terminals for cleanliness, and leakage in radiator/fuel /Lub oil etc. (ii) Checking of working of safety devices & alarms and breather for cleanliness. (iii) Earth and Insulation Test and watering the earth pit. | (i)Check working of F/D system from control panel along with PA system, battery for proper charge, cleaning of contacts etc. (ii) cleaning of detectors from outside and conducting of fire drill; | (i) Filter cleaning | (i) Check the weight of the cylinder. Horn and hose and hose assembly shall be examined and cleaned . | i) Cleaning of Filters, check of Electrical connections, damper adjustment, check current of all motors , Elect & Mech interlocking , Fire Alarm Tripping, Leak Test (iii) Earth testing, Meggering of cables, testing of protection devices and control ckts |
| MONTH 5,11 | (i) Check all points are working (ii) Check MB & SDBs for any loose connection | (i) Check the system for its proper working (noise / heating etc ) and gland leakage if any | (i) Check working of fittings and for its cleaniness | (i) Carry out physical inspection of the system, joints etc. for healthiness of the system | (i) Carry out general inspection installation for any abnormal noise, heating, oil leakage, working of all the instruments, colour of breather ,transformer oil level. | (i) Check level of water /coolant & Lub oil , state of battery ,its water level and terminals for cleanliness, and leakage in radiator/fuel/ Lub oil etc. (ii) Checking of working of safety devices & alarms and breather for cleanliness. | (i)Check working of F/D system from control panel along with PA system, battery for proper charge ,cleaning of contacts etc. (ii) cleaning of detectors from outside and conducting of fire drill; | (i) Filter cleaning (ii) Servicing i/c cleaning of fins with blower & pressurized water | (i) Check the weight of the cylinder. Horn and hose and hose assembly shall be examined and cleaned . | (i) Cleaning of Filters, check of Electrical connections, damper adjustment, check current of all motors , Elect & Mech interlocking , Fire Alarm Tripping |
| MONTH 6,12 | (i) Check all points are working (ii) Check MB & SDBs for any loose connection (iii) Oiling and greasing of Fans / Exhaust fans (Once in a Year ) | (i) Check the system for its proper working (noise / heating etc ) and gland leakage if any | (i) Check working of fittings and for its cleanliness (ii) Painting of pole if required (Once in a Year ) | (i) Carry out physical inspection of the system, joints etc. for healthiness of the system | (i) Carry out general inspection installation for any abnormal noise, heating, oil leakage, working of all the instruments, colour of breather, transformer oil level. (ii) Cleaning of insulators, lightening arrestors, drop out fuses. | (i) Check level of water /coolant & Lub oil , state of battery ,its water level and terminals for cleanliness, and leakage in radiator/fuel/ Lub oil etc. (ii) Checking of working of safety devices & alarms and breather for cleanliness. | (i)Check working of F/D system from control panel along with PA system, battery for proper charge, cleaning of contacts etc. (ii) cleaning of detectors from outside and conducting of fire drill; | (i) Filter cleaning (ii) Checking of Elect connections | (i) Check the weight of the cylinder. Horn and hose and hose assembly shall be examined and cleaned . | i) Cleaning of Filters, check of Electrical connections, damper adjustment, check current of all motors , Elect & Mech interlocking , Fire Alarm Tripping, Leak Test (ii) Cleaning of condenser, Checking of Elect Panel, belts and control ckts. |
|  |  |  |  |  |  | Note:- Service of the DG set is to be carried out as per manufacturer recommendations |  |  |  |  |

SECTION 5 (PART A)

GENARAL INSTRUCTIONS TO BIDDER (GIB)

  - SCOPE OF MAINTENANCE:-

1.1	Electrical maintenance of the Technical/Administrative/Residential buildings as applicable in this contract means that all Electro- Mechanical Services included in the schedule of work are kept in operational, healthy and clean condition. Applicable maintenance schedule is to be carried out and breakdowns are attended to promptly.

1.2	Specific details of O&M activities with regard to each service are spelled out under section pertaining to that service. In case of minor addition / alteration to the installation / existing equipment, the Operation and maintenance of such addition shall be done by the firm without any extra cost.

1.3	The price adjustment for inclusion / deletion of any major service to / from the scope of work shall be done after deriving the rate for the item. The derived rate shall be the sum of material cost of actual services to be maintained (@ 3.3% / 2.7% on SBP rates) + labour cost (@ Govt. appd. rates. The no. of labour to be selected as per criterion mentioned at page 39 below) +/- % age of tendered amount above / below estimates cost.

1.4	If any Electrical equipment / installation which is in the inventory of tender but under warranty for some period, then recovery will be made and if new items added to the inventory after expiry of warranty period then extra item shall be paid as per above condition. The decision of Engineer-in-Charge for payment for deletion /addition in the agreement scope of work shall be final and binding on the contractor.

1.5	If any of the small buildings is deleted or added, cost in tender amount will be based on the estimated cost of that building + / - abetment over the estimated cost of the NIT.

1.6	All the electro mechanical services of the building will be handed over to the contractor in healthy condition. Handing / Taking over between the contractors shall be carried out within 15 days after the closure of contract to the entire satisfaction of the Engineer-in-charge, failing which works shall be carried out at risk and cost by the Department and the decision of Engineer-in-charge shall be final and binding on the contractors. The activities shall be completed by Engineer-In-Charge within 03 months.

1.7	After the contract period is over the installation has to be duly handed over to BSNL/next agency in the presence of BSNL authority, in good working, efficient & healthy condition.  The contractor shall be responsible for any discrepancies vis-a-vis the status of installation at the start of work plus any modification carried out during the currency of the contract.

1.8	Subletting the of work or part thereof is not allowed; however, on emergent grounds services of specialized agencies for specific works can be obtained with the permission of EE (E).

1.9	At the time of completion / closure of the contract, the defect liability for the assets which were under the scope of agency against the agreement lies with the contractor. The defects / faults in Electro-mechanical services included in the scope of work and identified & intimated  by SDE(E) / Engineer-in- charge shall be rectified / removed by the contractor free of cost at the time of handing over of the assets to the department. This shall be done within 10 days of handing over of the site otherwise work will be done at the risk and cost of agency without any further notice.

1.10	Electrical maintenance shall be carried out as per instructions contained herein & in the respective sections. If any preventive maintenance, checking of health of equipment is required to be done then it should be carried out by the agency as per the requirement without any extra cost.

Watch and ward of the installation under O& M contract   shall be the responsibility of   the contractor during contract period.

1.11	After the contract period is over the installation has to be duly handed over to the new agency along with the record of test results of equipments & associated items like oil etc. under supervision of SDE (E)/JTO (E) in charge. However installation is to be taken over by the new agency for O & M within 15 days of award of work

- METHODOLOGY :-

  - At the start of work, firm shall prepare an inventory of all Electro-Mechanical services jointly with J.T.O (E) / SDE (E), concerned.

  - Any defects, shortcoming brought to the notice of the department while taking over New O & M within   the first 15 days from the date of start of contract, shall be the responsibility of the department shall be duly verified by the Department involving Telecom Officer also from SSA, except the activities which are part of preventive maintenance and are required periodically. Such activities shall be undertaken by the firm. All defects which can be attended without any material should be attended by the agency without any extra cost.

  - In case of change of contract from one agency to other, both the agency shall jointly inspect the assets of O & M along with BSNL representative & shall prepare a defect list duly signed by both the agencies & BSNL representative within 15 days. In case anyone of incoming or outgoing agency does not respond for joint inspection & preparation of defect list, the defect list shall be prepared in the presence of BSNL representative which shall be binding on other party.

  - The defects listed during joint inspection shall be rectified by the old agency within 15 days from the date of preparation of defect list. If the agency fails to rectify the same within these 15 days, the same shall be got rectified at the risk & cost of the old agency without further notice. In such case, the department shall take necessary action for rectification of defects within next 15 days.

  - In case of any disagreement between outgoing & incoming agency related to the defect, the decision of the Executive Engineer (E) shall be final & binding on both the firms. In no case Executive Engineer (E) shall take the decision not more than 15 days from the date of disagreement of defects.

  - The contractor shall be responsible for any discrepancies, the status of installation at the start of work plus any modification carried out during the currency of the contract.

  - Prior intimation is to be given to concerned for carrying out the preventive maintenance schedule.

- DOCUMENTATION

- Preventive Maintenance schedule shall be displayed at site in a prominent manner.

- Firm shall maintain History register at site which shall contain all the details of Preventive maintenance carried out as per schedule and the breakdown maintenance carried out as per site requirement during the contract period. The contractor shall submit within 7 days, preventive maintenance report in r/o site carried out during the last month. The report shall be made in 2 copies - 1 each for site (to be pasted in history register at site) & office record concerned. A copy shall be emailed to SE (E) Jammu also for information.

- A complaint Register shall be maintained by the firm and the same shall be available for checking & verification.

- Certified copy of agreement should always be available at site .

- Performa for Bill Submission: It is given below.

# Performa for Bill Submission:

From: -                                                                                          To:-

M/s___________________                                                                 The Sub Divisional Engineer (E)

__________________                                                                     BSNL Elect. Sub Division_____

Dear Sir,

Name of Work: “…………………………………………………………………………………....”

Agreement No. -----------------------------------

- We submit herewith our bill /invoice (in duplicate) for the period -------- against the above maintenance contract.

- a) The electrical units consumed during previous month as per metering is _______ units (current reading – previous reading).

- The diesel consumed during the above period, total run hours and KW/H in respect of each engine is given below:-

| E/A Set No. | Diesel consumed | Total Engine Run( Hrs ) | CPH (Ltr. / Hr) | Total KWH |
| --- | --- | --- | --- | --- |
| Engine - I |  |  |  |  |
| Engine - II |  |  |  |  |
| The report of monthly fire drill jointly signed by JTO(E)/Exchange In-charge/our representative is enclosed. |
| The penalty imposed by Electricity Board during the period is ______. |
| Following test reports prescribed in the scope of work. for the billed period are enclosed. |
| (i) |
| (ii) |
| (iii) |
| The following durations of breakdown in services like Sub Station, AC Plant, DG set, water supply etc took place during the above period. |
| (i) |
| (ii) Photocopy of the history register (concerned pages) Proof of EPF, ESI,& other applicable labour laws such as list of staff engaged for this work etc. |
| Yours faithfully, ……………… ……………. |
| PREVENTIVE MAINTENANCE REPORT FOR THE PERIOD................................. |
| Date of preventive maintenance carried out |
| S. NO | NAME OF SERVICE | ACTIVITY CARRIED OUT | Frequency | ACTION TAKEN | Value / remark (If not found ok) |
| 1 | EI & FANS | (i) Check all points are working | Quarterly | Ok |  |
|  |  | (ii) Check MB & SDBs for any loose connection | Quarterly | Done |  |
|  |  | (iii) Cleaning of Switch Board / fans/ fittings. | Quarterly | Done / not due |  |
|  |  | (iv) Measurement of the resistance of Earth Stations (once in 6 month) | Half yearly | Done / not due |  |
| 4 | S/Stn. | (i) Carry out general inspection installation for any abnormal noise, heating, oil leakage, working of all the instruments, colour of breather, transformer oil level etc. | Quarterly | Checked and found OK |  |
|  |  | (ii) Cleaning of insulators, lightening arrestors, drop out fuses. | Quarterly | Done |  |
|  |  | (iii) checking of oil strength, | Half yearly | done / not due |  |
|  |  | (iv) Checking of the connections for tightness and cleanliness | Half yearly | done / not due |  |
|  |  | (v) Earthing system, working of relay and other protection devices and Insulation measurement of system and watering of earth etc. | half yearly | done / not due |  |
| 5 | DG set | (i) Check level of water /coolant & Lub oil and leakage in radiator/fuel/lub oil etc. | Quarterly | Checked and found OK / top up required |  |
|  |  | (ii) Check state of battery and batter terminals for cleanliness | Quarterly | healthy / not healthy |  |
|  |  | (iii) Checking of working of safety devices(LLOP, HWT) & alarms etc. | Quarterly | working/ not working/not due |  |
|  |  | (iv) Earth and Insulation Test and watering the earth pit. | half yearly | done / not due |  |
|  |  | Performance data:- | Quarterly |  |  |
|  |  | 1 Volts |  | ok / not ok |  |
|  |  | 2. Current |  | ok |  |
|  |  | 3. KW |  | Ok |  |
|  |  | 4. PF |  | Ok |  |
|  |  | 5. RPM / HZ |  | Ok |  |
|  |  | 6. Hour meter reading |  | Ok |  |
|  |  | 7. Lub oil pressure |  | ok / not ok |  |
|  |  | 8. Smoke level |  | Blue/black/clear |  |
|  |  | 9. Battery voltage |  | Ok |  |
|  |  | 10. Electrolyte level |  | ok / not ok |  |
|  |  | 11. Radiator condition |  | clean / choked |  |
|  |  | 12. V- Belt tension |  | checked and found ok |  |
|  |  | 13. Details of servicing, if done:- | 600 Hrs / 6 month or as per manufacturer's recommendation : |
| 7 | HPAC/ PAC/ SAC | (i) Filter cleaning and servicing i/c cleaning with blower ,pressurized water and checking of Elect connections of all WAC / SAC |  | Done |  |
|  |  |  | Quarterly |  |  |
|  |  | Grill temp. of AC-1 |  | ok / not ok |  |
|  |  | Grill temp. of AC-2 |  | ok / not ok |  |
|  |  | Grill temp. of AC-3 |  | ok / not ok |  |
|  |  | Grill temp. of AC-4 |  | ok / not ok |  |
|  |  | Grill temp. of AC-5 |  | ok / not ok |  |
|  | Note : Shaded portion to be filled up with value/ remark |
| Sign of Technician / firm |  | Sign of site incharge |
| Signature of JTO (E) |  | Signature of SDE (E) |

Copy to:

            - EE(E), Jammu.

            - Site record.

(iii) COMPLAINT REGISTER

| Date & Time of Complaint | Officer/Section lodging Complaint | Nature of Complaint | Date & time of redressal of complaint | Acknowledge-ment of rectification by Complainant | Remarks |
| --- | --- | --- | --- | --- | --- |

- Resources ( work force / material / transport etc )required for Contract:

The firm shall depute adequate no. of skilled and unskilled workforce for carrying out the Operation & maintenance & other activities as per contract. In case any additional / & specialized workforce / are required for routine maintenance /& fault control, same shall be provided by the agency at its own cost and nothing extra shall be paid. It will be sole responsibility of the agency to attend the site/ equipments, rectify the fault and commission the equipment within the stipulated time as per all the clauses and conditions of the agreement for the inventory attached. The firm shall ensure that the equipment is rectified within reasonable time as specified in the contract. In no case telecom services should interrupted due to any fault in assets under maintenance in this contract. The firm shall depute 34 shifts of skilled workforce and 90 shifts of unskilled workforce in a month for carrying out the operation & maintenance as per schedule of work. This is the minimum staff / shifts required for the services mentioned in the tender document. In case any additional / & specialized staff /& shifts are required for routine maintenance /& fault control, same shall be provided by the agency at its own cost and nothing extra shall be paid.

The firm will provide minimum qualified workforce required for proper operation, maintenance & upkeep of services as per the instruction of engineer-in-charge. However, it is the firm’s responsibility to carry out proper work as per agreement and if more workforce are required, it is to be arranged by the firm at no extra cost. Decision of engineer in charge shall be final & binding. The operation and maintenance workforce has to be available round the clock round the year even on holidays.

4.2  	In case of faults beyond the capacity of the workforce provided as above, contractor shall immediately   provide extra specialized work force so as to attend the fault in minimum reasonable time.

  - Shut down for maintenance shall be taken with prior approval of the department

  - The vendor agrees that it shall at all times indemnify BSNL against all claims for compensation under the provisions of any law for the time being in force or in respect of any person employed by it in carrying out the contract. Further, such staff has no right to claim employment from BSNL

  - The firm has to supply details of all the workers as per Annexure-1 (A&B) below likely to be engaged by it before start of the work. No worker shall be removed without approval of Maintenance in charge in writing.

ANNEXURE – I

A. 	Details to be supplied before starting the work.

| 1. | Name of the Agency (With Office Address) | : |  |
| --- | --- | --- | --- |
|  | Name of the Proprietor | : |  |
|  | Telephone No.(s) of the firm | : |  |
|  | Name & Address of the Supervisor |  |  |
|  | 24 Hours contact No. | : |  |
|  | Particulars of the License/ Registration | : |  |

- Details of the staff to be posted at site.

|  | Name & Address | Qualification | Responsibility | Attested Photo |
| --- | --- | --- | --- | --- |
| 1 | Name |  |  |  |  |
|  | Permanent Address |  |  |  |  |
|  | Local Address |  |  |  |  |
|  | Bank A/c Details |  |  |  |  |
|  | EPF /ESI Details |  |  |  |  |

CERTIFICATE /UNDERTAKING

I hereby certify that the above details of the staff have been personally verified by me. They bear good moral character and I stand full responsibility for them.

Signature of Contractor.

Name:-

(Seal)

  - The workers engaged by firm should maintain proper discipline and good behavior with occupants. The firm shall remove such workers from the site whose behavior is found improper. Engineer – in – Charge’s decision shall be final. Any instruction issued by the Departmental Officer has to be followed by the staff of Agency failing which they shall be removed as per the decision of E-in-C. During free time they should do preventive maintenance of Electrical Installation including cleaning etc.

  - The agency should monitor the health of all electrical assets.

  - Emergency Complaint (as identified by E –in C) should be attended immediately.

  - Agency has to observe all the labour rules & regulations in force.

  - The details such as EPF, ESI, qualification, and Identity and address proof of operative staff shall be furnished before commencement of contract. The contact details, ID and address proof of operative staff shall be intimated to the nearest police station before commencement of contract.

- MATERIALS

Generally materials needed for the maintenance has to be arranged by the firm at own cost. Materials arranged by contractor shall be of makes as per list attached OR ISI mark duly approved by the Engineer-in-charge. For specific details in this regard refer sections relevant to service.

[TYPICAL INVENTORY]

- LED Rods - 20 nos.

- LED bulbs – 20 nos.

- 6A to 32A SP / SPN / TPN MCB – 10 nos

- The scope of work includes maintenance of complete installation on comprehensive basis i.e, no material to be supplied by the Department. The minimum inventory of material required for smooth maintenance of installation shall be maintained at site. Only replacement of major equipments as specified in Part-IV of relevant sections under specification which is required to be replaced as a whole after due scrapping and shall be the responsibility of the Deptt. Agency shall maintain till commissioning of new assets in place of scrapped electrical assets & the firm has to maintain the life expired equipments also.

- The replacement of material shall be with the same rating and make as that of the original. However, in case of non-availability of a particular make, any approved make is acceptable; If not available then makes shall be provided with approval of EE (E).

- Dismantled materials shall be returned to the Department except those items for which the replacement is supplied by the agency.

- The contractor shall maintain the following minimum inventories at site in addition to items/spares mentioned under specifications. However the items/ spares which are not relevant to particular site need not be maintained.

- TOOLS & PLANTS

All tools and plants, testing & safety equipments required for carrying out various tasks relevant to operation and maintenance have to be arranged by agency at its own cost.

.

- Tax Indemnity clause:

BSNL has the right to recover Input Tax Credit loss suffered by it due to any mis-declaration on invoice by the supplier.

Any sum of money due and payable to the supplier (including security deposit refundable to him) under this contract may be appropriated by the purchaser or the BSNL or any other person(s) contracting through the BSNL and set off the same against any claim of the Purchaser or BSNL or such other person or person(s) for payment of a sum of money arising out of this contract or under any other contract made by the supplier with  the Purchaser or BSNL or such other person(s) contracting through the BSNL.

In case of set off of the security deposit against any claim of the purchaser or BSNL or such other person or person(s) for payment of a sum of money arising out of this contract or under any other contract made by the supplier with the Purchaser or BSNL or such other person(s) contracting through the BSNL, the GST on such set off will be borne by the supplier.GST would not be liable on security deposit. But if supplier set off the security deposit against any claim of the purchaser or BSNL or such other person or person(s) for payment of a sum of money arising out of this contract or under any other contract made by the supplier with the Purchaser or BSNL or such other person(s) contracting through the BSNL, then GST would be levied.

The bidder should furnish the name of its collaborator (if applicable), brand name, model number, type of the products and HSN classification under GST and Customs law offered in this tender. The technical literatures of the products should also be submitted. No change in either technology or product shall be permitted after opening of bids.

Note: No payment will be made for goods rejected at the site on testing. Payment, if made, for such items shall be recovered from subsequent bills or other bills.

8	GST Invoice

  - All the details of supplier (name, address, GSTIN/ unregistered supplier, place of supply, SAC/ HSN code etc.) and other mandatory details shall be mentioned on the invoice.

  - Invoice/Supplementary invoice/Debit Note/Credit Note/Receipt Voucher need to be issued in compliant format and timely within the time prescribed under GST law.

  - In case of any deficient/incomplete/rejected supply, BSNL shall convey the same in a reasonable time to enable the supplier to issue credit note and take tax adjustment.

  - It would be the responsibility of the supplier to declare correct information on invoice and GSTN viz. the amount, the place of supply, rate of tax etc. In case, the eligibility of input tax credit is questioned or denied to BSNL on account of default by the supplier, the same would be recovered by BSNL from the supplier.

  - Registered location of the both the parties i.e. BSNL and supplier should be mentioned in the agreement with GSTIN No. Further, supplier should raise invoices at the registered premise of BSNL for availing of credit and ensure that the place of supply as per GST law is same as registered premise

  - BSNL could at any time instruct the supplier to raise its invoices at a particular location of BSNL

  - It is the responsibility of the supplier to ensure that place of supply and the GSTN of BSNL are in the same state. If for any reason they are not in the same state, the supplier shall intimate to BSNL and give adequate time before rising of the invoice.

  - E-waybill number should be mentioned on the invoices.

  - Supplier shall be responsible for timely issuance and delivery of invoice/ DN/ CN to enable BSNL to claim tax benefit on or before the stipulated time period provided by the GST law.

- It is the responsibility of the supplier to ensure that outward supply return (GSTR-1) would be filed correctly. If not, than cost would be borne by supplier.

- Reporting of correct outward supply by supplier in the outward return (GSTR-1) is the responsibility of the supplier. In case of mismatch because of supplier’s fault, prompt amendments must be made by the supplier else supplier would be required to indemnify BSNL of the loss of credit due to mis-match. The compliances to be adhered by supplier includes (but is not limited to) the following:

- Uploading appropriate invoice details on the GSTN within the stipulated time;

- Issuing GST compliant invoice / CN/ DN.  PO issued by BSNL should be referred by supplier for capturing information on the invoice.

- Supplier nees to pay the entire self-assessed tax on timely basis.

- Where invoice is not uploaded or incorrect upload of invoice detail of GSTN by supplier then credit on such invoice will be given provisionally subject to matching. So, acceptance of changes made by BSNL on GSTN on account of non-upload or incorrect upload of invoice details on GSTN is to be submitted by supplier. Such changes w.r.t. the mismatch are required to be accepted by supplier within the time limit prescribed under the GST law. It should be noted that in case supplier does not accept such changes within the time limit prescribed under GST law, the loss of input tax credit (if any) would be recovered from the supplier. In case of mismatch because of Supplier's fault, prompt amendments must be made by the supplier else supplier would be required to indemnify BSNL for the losses of credit and interest paid due to mismatch.

- Supplier to issue all necessary documentation and perform all necessary compliances for BSNL to be eligible to claim the input tax credit of GST tax to them.  In case BSNL is unable to claim the input tax credit, the amount w.r.t. GST charged by the supplier would be recovered from the supplier.

- A self-declaration along-with evidence that the bidder is not blacklisted by GST authorities. In case supplier gets black listed during the tenure of BSNL contract, then supplier must indemnify  BSNL you ensure that no loss of input tax credit is borne by BSNL due to default of supplier.

  - Refer Annexure below( placed as Annexure- A1 ) for clause stating that all the details of supplier (name, address, GSTN/ unregistered supplier, place of supply, SAC/ HSN code etc.) and other mandatory details shall be mentioned on the invoice.

| S. No | Particulars for ‘Input invoice’ |  | S. No | Particulars for ‘Receipt Voucher’ |
| --- | --- | --- | --- | --- |
| 1 | Name and registered address of the supplier |  | 1 | Name and registered address of the supplier |
| 2 | GST registration number of supplier |  | 2 | GST registration number of supplier |
| 3 | Name of BSNL entity |  | 3 | Name of BSNL entity |
| 4 | ‘Bill to’ and ‘Ship to’ address of BSNL |  | 4 | ‘Bill to’ and ‘Ship to’ address of BSNL |
| 5 | GST registration number of BSNL |  | 5 | GST registration number of BSNL |
| 6 | Date of invoice |  | 6 | Date of document issued |
| 7 | Invoice Number |  | 7 | Document Number |
| 8 | Place of supply (including state) |  | 8 | Place of supply (including state) |
| 9 | Type of Tax (CGST, SGST and IGST) |  | 9 | Amount of advance taken |
| 10 | Rate of Tax |  | 10 | Type of Tax (CGST, SGST and IGST) |
| 11 | Value of goods / service and type / rate / amount of Tax should be separately |  | 11 | Rate of Tax |
| 12 | Quantity of goods |  | 12 | Quantity of goods |
| 13 | Total value of invoice |  | 13 | In case invoice has more than one tax rates, rate of tax and amount of tax for each supply should be mentioned separately. |
| 14 | Description of Supply of goods / service |  | Note: Invoice issued at a later stage against receipt voucher to mention this document number. Refund Voucher to be issued against the advances received if no supply is made and no invoice is raised. |
| 15 | HSN Code in case of goods |  |  |
| 16 | Accounting Code in case of service |  |  |
| 17 | In case invoice has more than one tax rates, rate of tax and amount of tax for each supply should be mentioned separately. |  |  |

  - Where the location agreed are more than one state, then separate invoice state wise to claim input tax credit in a particular state (typically happens in a bill to-ship to scenario) shall have to be submitted.

  - It shall be the responsibility of the supplier to mention State of place of supply of goods/services in the invoice issued to BSNL.

  - GST (if applicable) on account of liquidated damages due to delay in supply of goods would be borne by supplier.

  - GSTN Registration Number(s) of all units/business places of the bidder vide which he intends to execute the contract, if awarded.

GSTN 1…………………….                                                                                                                                                                                                                                                                                                                              GSTN 2……………………                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                                               GSTN 3……………………. and so on

Note:

            - In case the supplier does not agree with the POS or HSN/SAC code stated on the PO, it is the responsibility of the supplier to approach/ request BSNL to revise the PO.

            - BSNL has the right to recover input tax credit loss suffered by it due to any mis-declaration on invoice by the supplier

            - GST will be applied additionally on above shown basic Price of tender document (tender document fee) and total tender document cost is to be shown sum of Basic price plus GST amount separately.

            - BSNL would be required to issue a tax invoice to the bidders. The details of such tax invoice would be required to be uploaded on the GSTN portal in following manner:

            - BSNL shall furnish its outward supply details (which includes revenue on account of tender fee) in form GSTR-1 by the 10th of every month;

            - Such details shall be communicated to the recipient of said supplies through GSTR- 2A (Part-A)

            - Post matching of the outward details posted by BSNL on GSTN with the input details posted by the bidder, GSTN portal would calculate the total amount of tax payable by BSNL and bidder would be eligible to claim credit of GST paid on tender fee.

9. BSNL GSTIN Details

    - Increase/ Decrease of tendered quantity

BSNL will have the right to increase or decrease up to 25% of the contract value depending upon the requirement of goods and services specified in the schedule of items without any change in the unit price or other terms and conditions at the time of award of contract.

In exceptional situation where the requirement is of an emergent nature and it is necessary to ensure continued supplies from the existing venders, the purchaser reserves the right to place repeat order up to 50% of the quantities of goods and services contained in the running tender /contract within a period of twelve months from date of award of work at the same rate or a rate negotiated (downwardly) with the existing venders considering the reasonability of rates based on prevailing market conditions and the impact of reduction in duties and taxes etc.

- DAMAGES TO   INSTALLATION:

  - Any  damage to the  installation(s)/building  during  the maintenance  period  due to the carelessness on the part of maintenance  staff  shall be the responsibility of firm  & shall be replaced/rectified  by the firm without any extra cost.

  - Any accident or damage during maintenance/operation  will be  the  responsibility of the agency & the Department  will  not entertain  any claim, compensation, penalty etc. on this  account or  on account of non-observance of any other requirement of  law relevant to his work.

- TERMINATION OF CONTRACT:

  - Right is reserved by BSNL for terminating the contract due to serious default.  This includes major break down or accident or loss due to negligence on the part of firm, failure to attend breakdown in reasonable time, non-attending of fault in spite of repeated reminders in reasonable time disobedience and abandoning the site etc. In such a case full 8% Security Deposit which includes Performance Guarantee shall be forfeited by BSNL.  The decision of Superintending Engineer in this regard shall be final and binding.

  - Right is reserved by BSNL for closure of the contract at any time by giving one months   notice for reasons not attributed to the firm.   The decision of Executive Engineer shall be final and binding on the contractor for closure of contract and for which BSNL shall not entertain any claim.

- DETERMINATION OF CONTRACT

The Engineer – in – charge may determine the contract in respect of any delay, inferior workmanship as per clause 3 of CPWD-8 contract conditions.

- COMPENSATION FOR DEFICIENCY IN SERVICE/ DEFAULTS:

- Any damage to the installation(s)/building due to the carelessness on the part of firm’s staff shall be the responsibility of firm and shall be replaced/rectified without any extra cost.

- Any accident or damage will be the responsibility of agency and the Department will not entertain any claim, compensation, penalty etc on this account or on account of non-observance of any other requirement of law relevant to his work.

- All breakdown calls/ complaints have to be attended by the firm with utmost promptness. If the agency fails to rectify any fault within reasonable time, the department reserves the right to carry out the work at the risk and cost of the agency. In case the fault is of emergency nature, which may affect the normal functioning of the services, and the firm fails to take immediate necessary action, the work shall be carried out at the risk and cost of the firm without giving any notice. The decision of the E.E (E) shall be final.

- The defects of any nature shall be rectified by the agency promptly. With every running bill, certificate regarding “No defects pending” or the “list of the defects, if any” during the bill period shall be submitted by the agency which shall be duly verified by the JTO (E) & SDE (E).

- The FD & FA system shall be maintained in healthy working condition. Any loss occurred due to non-maintenance of the system shall be recovered from the firm (if applicable).

- Monthly Penalty of suitable amount shall be imposed on contractor in case of not maintaining neatness & cleanliness of EMS installations & areas in which EM installations are housed till the period of lapse. Decision of Engineer-In-Charge shall be final & binding.

- Compensation for delay in removal of defects:

| Sr. No. | Grounds of compensation | Quantum |
| --- | --- | --- |
| 1 | Non-functioning of equipments but overall performance parameters i.e. temp, availability of mains/ generator supply, fire protection and so on are | 0.5% (half percent) per week subject to maximum of 10% of tendered value (one year). |
|  | a) Within Limits |  |
|  | b) Beyond Limits |  |
| Note: 1. This is without prejudice to BSNL’s right to take action under clause 3 above. 2. The period after which compensation shall be applicable will be governed as follows. i) 1(a) shall be applicable after period of two weeks or immediately if the ground changes from 1(a) to 1(b). ii) 1 (b) shall be applicable immediately. 3. The period of two weeks shall be suitably extended, if required, in case of major defects (replacement/ repair) by the Superintending Engineer (E). 4. If the defects are unattended for more than two months, the same shall be got done at the risk and cost of the agency. No claim whatsoever from agency shall be entertained on this account. |

- (i) The firm should ensure that the equipment reported faulty is set right within 48 hours of reporting the complaint and in no case, later than three working days.

(ii) Appropriate penalties will be imposed if the firm is not able to achieve required service levels as mentioned below:

  - In case of not providing manpower as per contract, actual wages for the period of absence based on the rate schedule of that time will be deducted and with addition of 50% of the deducted amount will be levied as penalty.

- TERMINATION OF CONTRACT ON DEATH OF CONTRACTOR:

Without prejudice of any of the rights or remedies under this contract, if the contractor dies, the Engineer in charge on behalf of the BSNL shall have the option of terminating the contract without compensation to the contractor. INCLUDING OF CONTRACTOR IN CRIMINAL / ANTISOCIAL ACTIVITIES AND CASES UNDER INVESTIGATION / CHARGE SHEETED BY CBI OR ANY OTHER GOVERNMENT AGENCIES ETC:

If the CBI / Independent External Monitor (IEM) / Income tax / Sales Tax / Central Excise / Custom Departments recommend such a course – Action will be taken as per the directions of CBI or concerned Department.

- GENERAL CONDITIONS

  - The agreement shall be signed by both the parties on Non judicial stamp paper of appropriate   value which shall be purchased by the agency.

  - The contractor has to keep all the Electro-mechanical equipments and site, neat and clean to avoid any accident and or fire hazards.

  - Firm should have round the clock Mobile telephone number. In case of Emergency and during visit of higher officers. contractor and his authorized engineer supervisor shall be available at site on short notice from Engineer-In-Charge and make all efforts to make the situation normal at the earliest in case of emergent situation.

  - Maintenance operator on duty shall have mobile telephone connection. The mobile no. shall be intimated to JTO / SDE / Engineer In charge.

  - The agency will display on a board in sub-station room important telephone numbers.

  - The contractor shall not sublet the work or part thereof.  However, services of specialized agencies for specific work can be obtained.

  - The firm should provide round the clock Mobile Telephone number (s) within15days from  date of award.

- COMPLIANCE OF LABOUR LAWS :-

All the provisions of the letter no. BSNL / Admn.I / 29-5/2007 (Pt.) Dated the 5th November 2008, Ltr No. BSNL / Admn.I/20-2/2010 Dated 6th May 2010 & up-to-date labour laws should be followed by the agency. The agency should provide documentary proof /receipt of labour payment showing amount paid, EPF Contribution, ESI documents etc. to the labour on monthly basis to concerned JTO, who should get it verified through concerned labour

The excerpts of the letter Dtd 5th Nov 2008 are reproduced as below.

“The field units must also ensure themselves that the provisions of such statutes are complied with by way of -

          - maintenance of prescribed records and registers;

          - preparation and filling of required returns;

          - Contractor/Agency possess registration/license from the from the appropriate labour authority; and are furnishing particulars of their employees/workers engaged by them to execute the outsourced activities;

          - such Contractor/Agency is making payment to its workers at the rates not less than the rates prescribed under the Minimum Wages Act, 1948, for such employment wherever applicable and where the rates have been fixed by an agreement, not less than the rates so fixed;

          - the Contractor/Agency has obtained registration with PF & ESI authorities:

          - monitoring that the contractors ensure timely deposit of PF and ESI dues of the employees with the appropriate authorities and contractor be asked to submit the documents in this regard to BSNL;

          - The payment to workers may be made in the presence of authorized representative of BSNL who must certify at the end of entries of Wage Register;/submit proof of payment made to the workers.

- Such Contractor is making payment to workers by cheque or by crediting the wages in their bank account after obtaining written authorization of the workmen and the employees of the Agency/Contractor deployed for the outsourced activity must be carrying their identity Cards duly certified/issued by the Agency/Contractor as their employer and so on.”

- OTHER CONDITIONS:

  - Guarantee cards / maintenance manuals and other documents of all the new material, provided in replacement of faulty material, are to be handed over to Engineer-in-Charge.

  - Safe custody of all logbook & registers will be responsibility of the firm.

  - Mode of communication for the purpose of notice / intimation of occurrence of fault shall be any or all of the following. ( To be conveyed by agency to SDE(E) & Engineer –in- Charge within 7 days of award of work.)

- E-mail.

- By SMS.

- Entry in the log book / fault register.

- By letter.

- Telephonic (in case of major breakdown / emergency & by Engineer-in-Charge).

- Whattsapp

SECTION -5 (Part B)

General (Commercial ) Conditions of the contract (GCC)

The firm shall read carefully the following conditions and shall quote accordingly confirming all the points in their offer.

- Department reserves the right to accept the quantities in full or in parts.

- SPECIAL CONDITIONS:

- The rates for all items of work, shall, unless clearly specified otherwise, include cost of all labour, materials and other inputs involved in the execution of the item.

- The work will be done as per current CPWD/ BSNL Specification.

- Any damage done to the building during the execution of operation & maintenance will have to be made good to the entire satisfaction of Engineer-in-charge.

Only BSNL approved material shall be used. In case BSNL approval is not there then ISI marked material shall be used. In case ISI marked is not available in particular item, material conforming to BS, shall be provided.

- TAXES AND DUTIES:

              - The bidder shall give the total composite price inclusive of all Levies & Taxes i.e. Custom Duty, Goods & Services Tax on packing, forwarding, freight and insurance etc. the basic unit price and all other components of the price need to be individually indicated up to two decimal points only against the goods it proposes to supply under the contract as per the price schedule given in at Page no.:- 53-55 Prices of incidental services should also be quoted. The offer shall be firm in Indian Rupees. No Foreign exchange will be made available by the purchaser.

              - The Basic Unit price (Ex-Factory Price) of the goods, CIF, Accessible Value, BCD, Cesses, IGST, Freight, Forwarding, Packing, Insurance, GST (CGST, SGST, IGST) on Freight already paid or payable by the supplier shall be quoted separately item wise.

              - Documentary proof of GST registration

              - The evaluation and comparison of responsive bids shall be done on the basis of Net cost to BSNL on the prices of the goods offered along with all applicable Taxes, packing Forwarding Freight & Insurance charges etc, as arrived in Col. 19 of price schedule in Page no.:- 53-54 of the Bid-document after arithmetical correction in the manner laid down in clause above but excluding taxes which are creditable to BSNL. Further, the bidder is also required to mention the taxes (if any) applicable on the movement of Goods.

              - Duties, taxes & Cesses for which the firm has to furnish GST Challans / Tax invoices will be indicated separately in the PO.

              - Suppliers should furnish the correct HSN / SAC classification / Customs tariff Head in the price schedule. If the credit for the Duties, Taxes and Cesses under provision / rules under GST law is found to be not admissible at any stage subsequently owing to wrong furnishing of Tariff Head, then the supplier will be liable to refund such non-admissible amount, if already paid, along with penalty and interest if charged by the concerned authority.

              - In case the Duties, Taxes and Cesses which are not eligible for the input tax credit as per the quotes indicated in the price schedule by the suppliers and subsequently at any stage it is found that credit for such Duties, Taxes and Cesses is admissible as per provision of GST law, than the suppliers will be liable to refund the amount equivalent of such Duties, Taxes and Cesses if already paid to them provided the credit can be claimed within the time prescribed under the applicable legislation and BSNL has all documents to claim such credit. The refund is also subject to the bidder performing necessary act for enabling BSNL to claim the credit viz. upload the information on GSTN. However, the purchaser may allow the supplier to submit necessary documents in this regard which may enable the purchaser to avail the input tax credit provided such credit is still available for the amount so paid as per provision of GST law.

              - The purchaser reserves the right to ask the bidders to submit documentary proof confirming the correct HSN or SAC classification/ Customs Tariff Head from the CGST/SGST/IGST officer or Customs authority where the HSN or SAC classification/ Customs Tariff Head furnished against the particular tendered item by different bidders, differs from each other or the same is found apparently not furnished in accordance with GST Act/Customs Tariff notifications.

              - If the supplier fails to furnish necessary supporting documents i.e. Tax invoices / Customs invoices etc. in respect of the Duties ,Taxes and Cesses which are eligible for input tax credit, the amount pertaining to such Duties ,Taxes and Cesses will be deducted from the payment due to the firm

              - If the supplier fails to perform necessary compliances which would any manner restrict BSNL to claim input tax credit, then the amount pertaining to such Duties, Taxes and Cesses will be deducted from the payment due to the supplier.

              - If the supplier does not disclose the correct details on the invoice or on the GSTN viz. GSTIN, Place of Supply, etc. which restricts BSNL to claim input tax credit, then the amount pertaining to such Duties, Taxes and Cesses will be deducted from the payment due to the supplier. Rs. 2,500/- (plus GST as applicable). This amount is charged from bidders directly.

              - Necessary declaration, statutory forms (if any) shall be provided by BSNL to avail concessional rate of tax wherever applicable on the request of the bidder as and when asked for.

              - Tendered rates are inclusive of taxes and levies payable under the respective statutes. However, pursuant to the Constitution (forty six Amendment Act, 1982, if any further tax or levy is imposed by statute after the date of receipt of tenders and the firm(s) thereupon necessarily and properly pays taxes or levies, the firm shall be reimbursed the amount paid provided such payment if any is not in the opinion of SE (whose decision shall be final and binding) attributable to delay in execution of work within the control of the firm.

              - (a) The firm shall keep necessary books of accounts and other documents for the purpose of this condition as may be necessary and shall allow inspection of the same by a duly authorized representative of Government and shall furnish such other information/documents as the Engineer-in-Charge may require.

(b) The firm(s) shall within a period of 30 days of imposition of any further tax or levy pursuant to the Constitution (Forty Six Amendment) Act 1982 give a written notice thereof to the Engineer-in-Chief that the same is given pursuant to this condition together with all necessary information relating thereto.

Note: -No additional condition whatsoever will be acceptable for turnover tax/sales tax on works contract. In case of additional conditions for the payment of such claims by the firm, the tender will not be considered.

- TERMS OF PAYMENT

  - The following terms of payment shall be adopted:-

- Quarterly payment shall be made, on receipt of all Preventive Maintenance Reports from the contractor duly signed by JTO (E), SDE (E) and SDET on monthly basis. If agency fails to submit within a week of the completion of the maintenance month, Preventive Maintenance Reports duly signed and monthly statements mentioned in section 5 Part A, it shall be the responsibility of the JTO (E) (if JTO (E) is not available then SDE (E)) to issue notice to the firm for its immediate submission.

- These reports will be scrutinized from maintenance and Energy conservation angle. The Executive Engineer shall ensure that the scrutinized statement from the SDE (E) is received within two weeks of the maintenance month.

  - For claiming this payment the following documents are to be submitted to the paying authority:-

    - Invoice clearly indicating break up details of composite price i.e. Basic, Goods and Services Tax (GST), any other Duties and Taxes, Freight/Packing Charges, etc.

    - Acknowledged Delivery Challan in original, if any

    - Inspection Certificate of QA(Payable copy in original) ,if any

    - E-way bill as prescribed in the GST law in case of movement of goods, if any.

    - Proof of payment of GST, if applicable.

Note:-

- If the supplier fails to furnish necessary supporting documents i.e. GST invoice / Customs invoices etc. and also fails to upload the information on GSTN in respect of the Duties/taxes for which input tax credit is available, the amount pertaining to such Duties/Taxes will be deducted from the payment due to the supplier.

- Payment against GST credit will be made only when GST compliant invoice is submitted by the supplier.

- Tax amount will be paid to the supplier only after supplier declares the details of the invoices in its return in GSTR 1 and GSTR-3 uploaded by the supplier and the same is reflected in GSTR-2A of BSNL on GSTN portal.

- TDS/ TCS shall be deducted at the prescribed rate, if any (as the case may be).

- BSNL can adjust/ forfeit Bank Guarantee obtained from the supplier against any loss of input tax credit to BSNL on account of supplier's default.

- In case BSNL has to pay GST on reverse charge basis, the supplier would not charge GST on its invoices. Further, the supplier undertakes to comply with the provisions of GST law as may be applicable.

- Further, in case of any dispute on the payment to be made to the supplier, the same shall be settled on or before the month of September following the end of financial year to which the invoice pertains.

Additionally, in case the dispute is not settled due to any act of the supplier and input credit on the said invoice is lost by BSNL, the same shall be recovered from the supplier.

Necessary declaration, statutory forms (if any) shall be provided by BSNL to avail concessional rate of tax wherever applicable on the request of the bidder as and when asked for.

3. Period of completion of work: 		24 months.

4. Engineer-in- charge: 			Executive Engineer (E)-II, Jammu.

SECTION 6

UNDERTAKING & DECLARATION

PROFORMAS FOR UNDERTAKING TO BE FURNISHED BY TENDERERS ALONGWITH TENDER

- UNDERTAKING - A

"I ……… …………… ………… ………… …… ………… ……. Son of …… ……… ……… ……… ……… ……… ……… …… ……… ……… ….... Resident of……… …… ………… ……… ……… ……… …… …… …… ………… …….  hereby give an undertaking that none of my relative(s) as defined in the tender document  is/are employed in BSNL unit as per details given in tender document.  In case at any stage, it is found that the information given by me is false /incorrect, BSNL shall have the absolute right to take any action as deemed fit/without any prior intimation to me".

(Seal of the firm)					              (Dated Signature of Contractor)

- UNDERTAKING ‘B’

(Declaration by Contractor) (To be furnished by the firm in Physical form offline)

I / We do hereby undertake to have gone through the terms & conditions / clauses of all the tender documents including Form EW-6, EW-8 being adopted by the BHARAT SANCHAR NIGAM LIMITED (Electrical Wing) & agree to abide by the same.

- I/We hereby agree that BSNL-6 and BSNL-8 forms shall form part of the agreement in case the work is awarded to us.

- I/we hereby declare that no addition /deletion/correction have been made in the tender document submitted (offline) and is identical to the tender document appearing on website. If during the opening of tender or during the process of tender finalization, it is detected that I/We have submitted tender documents after making any changes/additions/deletions in the tender documents from the web site, knowingly/by me/us my EMD shall be forfeited in addition I/We shall be liable for any other action as per prevalent rules.

- I/We state to comply in full manner with all the General, Commercial, Technical, Operating, financial conditions of the Tender Document for the work “……………………………………………………………….” without any reservation and deviation.

- In case of failure to comply as above, our offer will stand withdrawn and our tender documents may be returned in original at the time of opening of tender by the tender opening officer. The decision of tender opening officer in this regard shall be final & binding on me.

Signature of contractor/authorized representative

With seal of the Firm

- UNDERTAKING ‘C’

(PROFORMA UNDERTAKING TO BE FURNISHED BY TENDERERS SUBMITTING TENDER DOCUMENT DOWNLOADED FROM WEB)

This is to certify that:-

I / We have submitted the tender in the Proforma as downloaded directly from the website which is same as in the website and there is no change in the format number of pages etc.

I / We have not made any modification / corrections / additions etc in the tender documents downloaded from web by me / us.

I / W e have checked that no page is missing and all pages as per the index are available & that all pages of tender document submitted by us are clear & legible.

I / We have signed (with stamp) all the pages of the tender documents before submitting the same.

I / We have stitched and sealed the tender documents properly before submitting the same.

I / We have submitted the cost of tender along with tender in the first cover as prescribed.

I / We have read carefully & understood the instructions to Tenderers downloading the tender document from web.

In case at a later stage, it is noticed that there is any difference in my/our tender documents with the original documents, BSNL shall have the right to cancel the tender/work, forfeit the Earnest Money / Security Deposit / Performance Guarantee, take appropriate action as per the prevailing rules in force and BSNL shall not be bound to pay any damages to me/us on this account.

(Dated Signature of Contractor)

(Seal of the firm)

- UNDERTAKING ‘D’

(PROFORMA FOR UNDERTAKING REGARDING EPF / ESI PROVISIONS )

I ………………… son of ………………… Resident of ………………………… hereby give an undertaking that:

(I)	* I / We have registered as per the EPF and Miscellanies provisions Act, 1952 and our Registration no is …………………………. We undertake to keep it valid during the currency of contract.

(II)	* I / We have registered as per the ESIC Act, 1948 (amended upto date) and our Registration no is …………………………. We undertake to keep it valid during the currency of contract.

In case at my stage, it is found that the information given by me is false / incorrect, BSNL shall have the absolute right to take any action as deemed fit, without any prior intimation to me”

* (Strike out whichever is not applicable)

(Dated Signature of Contractor)

(Seal of the firm)

SECTION 7

PROFORMAS

1. MODEL FORM BANK GUARANTEE

Whereas ……………………………….………………. (hereinafter called “the contractor(s)” has submitted its Tender dated ……………….. for the work ……………………................................................................

KNOW ALL MEN by these presents that WE ………..… ………………………………………………………...

of ……………………………….. having our registered office at ………………………………………………….

(Hereinafter called “the bank”) are bound unto ……………………………………………………………………..

(hereinafter called “the BSNL”) in the sum of ………………………….… for which payment will

And truly to be made of the said BSNL, the Bank binds itself, its successors and assigns by these presents.

THE CONDITIONS of the obligation are:

1. If the Contractor(s) withdraws its Tender during the period of Tender validity specified on the Tender Form: or

2. If the contractor(s) having been notified of the acceptance of its Tender by the BSNL during the period of Tender validity.

a) Fails or refuses to execute the contract.

b) Fails or refuses to furnish security Deposit in accordance with the conditions of Tender document.

We undertake to pay to the BSNL up to the above amount upon receipt of its first written demand, without the BSNL having to substantiate its demand, provided that in its demand, the BSNL will note that the amount claimed by its is due to it owing to the occurrence of one or both of the two conditions, specifying the occurred condition or conditions.

This guarantee will remain in force as specified in the Tender Document up to and including Thirty (30) days after the period of the Tender validity and any demand in respect thereof should reach the Bank not later than the specified date / dates.

Signature of the Bank

Signature of the Witness

Name of Witness

Address of Witness CONDITION OF BANK GUARANTEE FOR EMD IF IT IS MORE THAN Rs.20,000/- The BG shall be from a schedule bank or a Nationalized Bank guaranteed by Reserve Bank of India, in enclosed Performa for the prescribed value mentioned in NIT. The Bank guarantee shall remain in force for 30 days after the period, for which the tenders are valid. The B.G shall be furnished duly stamped at the rate of Rs.5/- for every 1000/- or part there of as per Indian Stamps Act 1899. The BG may be got extended if required. If the firm belongs to other state and stamp duty is lower in that state then it will require to be stamped with the excess amount so that total stamp duty is not less in accordance with the requirement of J&K. state. If the BG is not in prescribed Proforma duly stamped with the requirement of J&K state, tender shall not be opened. Note: All the required details such as Name of work etc. for which BG is produced must to be filled in the BG itself.

Annexure – II

2. PERFORMANCE GUARANTEE BOND

1. In consideration of the CMD, BSNL (hereinafter called ‘BSNL’) having agreed to exempt …………………………………………… (hereinafter called’ the said Contractor(s) from the demand under the terms & conditions of an agreement / Advance ……………………...Purchase…………………………………………………order No. ………………..…………………………..…….. Dated ……………………… made between ……………………………………………………… and …………………………………………………………. for the Supply / ITC of …………….………………………………………. hereinafter called ‘the said Agreement’), of security deposit for the due fulfillment by the said Contractor(s) of the terms & conditions contained in the said Agreement, on production of the bank Guarantee for …………………………………………………………………………….We, (name of that bank) ……………………………………………………. (hereinafter refer to as “the bank” ), at the request of ……………………………………………… (contractor(s) do hereby undertake to pay to the BSNL, an amount not exceeding ………………………………....Against any loss or damage caused to or suffered or would be caused to or suffered by BSNL, by reason of any breach by the said contractor(s) of any of the terms or conditions contained in the said Agreement. 2. We (name of the bank) ……………………………….do hereby undertake to pay the amounts due & payable under this guarantee without any demure, merely on a demand from the BSNL by reason of breach by the said contractor(s)’ of any of the terms or conditions contained in the said Agreement or by said contractor(s)’ of any of the terms or conditions contained in the said Agreement or by reasons of the contractor(s)’ Failure to perform the said Agreement. Any such demand made on the bank shall be conclusive as regards the amount due & payable by the Bank under this guarantee where the decision of BSNL in these counts shall be final & binding on the bank. However, our liability under this guarantee shall be restricted to an amount not exceeding …………………………………………………………………………………………... 3. We undertake to pay to the BSNL any money so demanded not withstanding any dispute or disputes raised by the contractor(s) / Supplier(s) in any suit or proceeding pending before any court or tribunals relating thereto our liability under this present being absolute & unequivocal. The payment so made by us under this bond shall be valid discharger of our liability for payment there under & the contractor(s). / Supplier shall have no claim against us for making such payment. 4. We (name of the bank …………………………………………. Further agree that the guarantee herein contained shall remain in full force & effect during the period that would be taken for the performance of the said agreement & that it shall continue to be enforceable till all the dues of the BSNL under or by virtue of the said Agreement have been fully paid & its claims satisfied or discharged or till ……………………………………… (office / Department) BSNL certified that the terms & conditions of the said Agreement have been fully or properly carried out by the said contractor(s) & accordingly discharges this guarantee. Unless a demand or claim under this guarantee is made on us in writing on or before the expiry of TWO/TWO AND HALF /THREE YEARS/FIVE YEARS (as specified in the agreement) from the date hereof. We shall be discharged from all liabilities under this guarantee thereafter. 5. We (name of the bank) _______________________________ further agree with the BSNL that the BSNL shall have the fullest liberty without our consent & without affecting in any manner our obligation hereunder to vary any of the terms &conditions of the said Agreement or to extend time of performance by the said contractor(s) from time to time or to postpone for any time or from time to time any of the powers exercisable by the BSNL against the said Contractor(s) & to forbear or enforce any of the terms & conditions relating to the said agreement & we shall not be relieved from our liability by reason of any such variation, or extension being granted to the said Contractor(s) or for any forbearance, act or omission on the part of the BSNL or any indulgence by the BSNL to the said Contractor(s) or by any such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us. Dated the ___________ day of _______________________________ for __________________ (indicate the name of the bank)

  - PROFORMA OF SCHEDULES

(Operative Schedules to be supplied separately to each intending tenderer)

SCHEDULE ‘A’

Abstract of Cost and Schedule of quantities: As appended

SCHEDULE ‘B’

Schedule of materials to be issued to the contractor,

| SL.No. | Description of item | Quantity | Rates in figures and words at which the material will be charged to the contractor | Place of Issue |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| NIL |

SCHEDULE ’C’

Tools and Plants to be hired to the contractor

| SL.No. | Description of item | Hire Charges per day | Place of Issue |
| --- | --- | --- | --- |
| 1 | 2 | 3 | 4 |
| NIL |

SCHEDULE ‘E’

Schedule of component of materials, Labour etc for escalation - Not Applicable

SCHEDULE “F”

Reference to General Conditions of contract.

Name of work: 		   As per page no: 3

Estimated cost of work: 				As per page no: 3

- Earnest money : 				As per page no: 3.

- Performance Guarantee: 			As per para 8(a) of the NIT (BSNL EW-6).

- Security Deposit:			As per para 8(b) of the NIT (BSNL EW-6).General rules & directions:

- Officer inviting tender: 			Executive Engineer (E) BSNL Electrical Division-II Jammu

- Definitions:

- Engineer-in-charge :			Executive Engineer (E) BSNL Electrical Division-II, Jammu.

- Accepting Authority:			Executive Engineer(E) BSNL Electrical Circle Jammu

- Percentage on cost of materials and labour to cover all overheads and profits. 10%

Clause 5

(i)Period of contract: 			02 months

(ii)Authority to give fair and reasonable extension of time for completion of work:

SE (E), BSNL Electrical Circle; Jammu

Clause 7

Gross work to be done together with

net payment/	adjustment of advance

for materials collected, If any, since

the last such payment for being

eligible to interim payment.		              		As per payment terms

Clause 10C, 10CC         -----     		THIS CLAUSE IS NOT APPLICABLE FOR THIS CONTRACT

Clause 11

Specifications to be followed 				           AS PER SPECIFICATION ATTACHED

for execution of work.			           			& CPWD

Clause 12

12.1(i)

Schedule of rates for determining

rates for additional, altered or

substituted items that cannot					                DSR-2018 for Internal

be determined under 12.1(i) & (ii)				                DSR-2018 for External

12.1 (ii)

Plus/minus the % over the rate

entered in the schedule of rates.		          			    -----------do---------

12.1(iii) A

Deviation Limit beyond which

sub-clauses (i) to (v) shall not

apply and clauses 12.2 & 12.3                           	 		            50%

shall apply

12.1(iii) B

Limit for value of any item of any

individual trade beyond which

sub-clauses (i) to (v) shall not apply

and clauses 12.2 & 12.3 shall apply	     		  	                ------------do--------

Clause 16

Competent Authority for

deciding reduced rates.			        	                           S.E. (E), B.S.N.L. Jammu.

Clause 36(i)

Minimum Qualification &

experience required for Principal

Technical Representative.

        - For works with estimated cost

put to tender more than

(i) Rs. 10 Lacs for Civil work					Graduate or retired AE possessing

(ii) Rs. 5 Lacs for Elect./Mech. Works	           			 at least recognized diploma.

        - For works with estimated cost

put to tender

(i) More than Rs. 5 Lacs but less

than Rs. 10 Lacs for Civil Works.				Recognized Diploma holder.

(ii) More than Rs. 1 Lacs but less             			Elect / Mech

than Rs. 5 Lacs for Elect./Mech. Works.

        - Discipline to which the					Elect. / Mech

Principal  Technical

Representative should belong.

        - Minimum experience of works.			                3 years.

        - Recovery to be effected from the		  	 	Rs. 4,000/- p.m. for Graduate

contractor in the event of not			   		Rs. 2,000/- for diploma holder

fulfilling provision of clause 36(i)

Clause 25:-

Competent authority for conciliation 				SE (E) not in charge of work.

  - PROFORMA FOR AGREEMENT

(ON NON-JUDICIAL STAMP PAPER OF APPROPRIATE VALUE)

CONTRACT AGREEMENT FOR THE WORK OF _____________________________________________________________________________________

___________________________________________________________________________________

Vide Agreement No:______________________________________________________________Between

M/s _______________________________ _____________________________(refer note) in the town of

_____________ hereinafter called the contractor (which term shall unless excluded by or repugnant to be subject or context include its successors and permitted assigns) of the one part and the Bharat Sanchar Nigam Limited hereinafter called the BSNL (which term shall unless excluded by or repugnant to the subject or context include its successes and assigns) of the other part.

WHEREAS

a. 	The BSNL is desirous that the work mention above should be executed as mentioned, enumerated or referred to in the tender including Press Notice Inviting Tender, General Conditions of the Contract, Special Conditions of the Contract, Specifications, Drawings, Plans, Time Schedule of completion of jobs, Schedule of Quantities and Rates, Agreed Variations, other documents, has called for Tender.

b. 	The contractor has inspected the site and surroundings of the work specified in the tender documents and has satisfied himself by carefully examination before submitting his tender as to the nature of the surface, strata, soil, sub-soil and grounds, the form and nature of the site and local conditions the quantities, nature and magnitude of the work the availability of labour and materials necessary for the execution of work, the means of access to site, the supply of power and water thereto and the accommodation he may require and has made local and independent enquiries and obtained complete information as to the matters and things referred to or implied in the tender documents or having any connection therewith, and has considered the nature and extent of all the probable and possible situations, delays, hindrances or interferences to or with the execution and completion of the work to be carried out under the contract, and has examined and considered all other matters, conditions and things and probable and possible contingencies, and generally all matters incidental thereto and ancillary thereof affecting the execution and completion of the work and which might have influenced him in making his tender.

c. 	The tender documents including the BSNL’s Press Notice Inviting Tender, General conditions of contract, Special Conditions of Contract, Schedule of Quantities and rates, General obligations, Specifications, Drawings, plan, time schedule for completi0n of work. Letter of Acceptance of tender and any statement of agreed variations with its enclosures copies of which are hereto annexed form part of this contract though separately set out herein and are included in the expression Contract wherever herein used.

AND WHEREAS

The BSNL accepted the tender of M/s __________________________________________ (Contractor)

for the work of_________________________________________________________________________

_____________________________________________________________________________________

and conveyed vide letter No___________________________________________Dated_____________

at the rates stated in the Schedule of quantities for the work and accepted by the BSNL (hereinafter called the Schedule of Rates) upon the terms and subject to the conditions of the contract.

NOW THIS AGREEMENT WITNESSTH & IT IS HEREBY AGREED AND DECLARED AS FOLLOWS.

1. 	In consideration of the payment to be made to the contract for the work to be executed by him, the contractor hereby convenient with the BSNL that the contractor shall and will duly provide, execute, complete and maintain the said work and shall do and perform all other acts and things in the contract mentioned or described or which are to be implied and there-from or may be reasonably necessary for the completion of the said works and at the said times and in the manner and subject to the terms and conditions or stipulations mentioned in the contract, AND

2. 	In consideration of the due provisions execution, completion and maintenance of the said work, the BSNL does hereby agree with the contractor that the BSNL will pay to contractor the respective amounts for the work actually done by him and approved by the BSNL at the Schedule or Rates and such other sum payable to the contractor under provision of the contract, such payment to be made at such time in such manner as prescribed for in the contract.

3. 	The contract is subject to the jurisdiction of court at …………….. only. (Where the NIT/Tender has been issued)

It is specifically and distinctly understood and agreed between the BSNL and the contractor that the contractor shall have no right, title or interest in the site made available by the BSNL for execution of the works or in the building, structures or works executed on the said site by the contractor or in the goods, articles, materials, etc. brought on the said site (unless the same specifically belongs to the contractor) and the contractor shall not have or deemed to have any lien whatsoever charge for unpaid bills will not be entitled to assume or retain possession or control of the site or structures and the BSNL shall have an absolute and unfettered right to take full possession of site and to remove the contractor, their servants, agents and materials belonging to the contractor and lying on the site.

In Witness whereof the parties hereto have here-into set their respective hands and seals in the day and the year first above written.

Signed and delivered for and on behalf of                          Signature and delivered for and on behalf of the

BSNL		contractor

(BHARAT SANCHAR NIGAM LIMITED) 	(Contractor)

OFFICIAL ADDRESS

Date 		Date

Place 		Place

IN PRESENCE OF TWO WITNESSES

SIGNATURE 	SIGNATURE

NAME 	NAME

SIGNATURE 	SIGNATURE

NAME 	NAME

INDEMNITY BOND(PART OF ABOVE AGREEMENT)

This deed of indemnity Bond executed on this		day of	Two thousand

and	by (Name of sole proprietor/ partner/ Director /  authorized representative, the

Firm, Company, Trust, Society etc.)	S/O

Residing at	on behalf of said M/s

-------------------------------------------- (Name of the Firm, Company, Trust, Society, etc.) having its office at		and duly authorized to sign, this bond by the said	(Name of the Firm, Company, Trust, Society, etc.)

in favour of Bharat Sanchar Nigam Limited, a Government of India Undertaking having its Registered Office at Bharat Sanchar Bhawan, H.C. Mathur Lane, Janpath, New Delhi-110001 and local office at ---------------------------------------- hereinafter called BSNL)(which terms  shall  mean and include its successors, administrators, heirs and assigns.

Whereas M/S BSNL invited bids for ---------------------------. I/We participated in the biddingprocessandemergedassuccessfulbidderwithrespecttoTenderNo.------------------------

. I/ We	acknowledge  that

I/We -------------------------------------------------------have fully understood and are aware of the terms & conditions of the Tender/ Contract and do hereby unequivocally and unconditionally abide by the terms and conditions of the Tender and Contract in the eventuality of imposition of any penalty or monetary loss /penalty by instrumentalities of State ie Government of India or for that matter State Governments within its jurisdiction, the bidder remains liable to keep BSNL indemnified and fully protect, indemnify and hold harmless BSNL and its employees, officers, Directors, agents or representatives from and against any and all liabilities, losses, actions, judgments, damages, fines, penalties and costs (including legal costs and disbursements ) arising from or relating to:

  - Any breach/ violation of any direction, order from any governmental authority any provisions of the labour laws or any other laws, statute or regulation that are ‘or’ will be aimed to protect the interest of the workers/ laborers engaged by the Service Provider in past and during the course of this contact

OR

  - Any other payments, claims‘or’liability that may arise for ensuring compliance of the provisions of any of the labour laws or any other laws, etc.

OR

  - Any other claim made by any third party in connection with any violation of any of the laws, guidelines, instruction, etc.

In witness whereof this undertaking has caused on the ------------------------- Day, 	Month of	Year.

Date:

Place:

(Signature:	) Name:		                          Designation:

WITNESS :1. ………………………………..

2. ………………………………….

Tender Inviting Authority: Executive Engineer (E)-II, Jammu. Name of Work: OPERATION AND COMPREHENSIVE MAINTENANCE OF ELECTROMECHANICAL SERVICES IN T.E. BUILDING KACHI CHAWNI JAMMU. (STOP GAP TOP ARRANGEMENT) Contract No:-………………………………………… Name of the Bidder/ Bidding Firm / Company :-……………………………………………………….. Sl. No. Description of Item Total Quantity Unit Basic unit price excluding all Taxes and charges per month FF PACKING RATE in % CGST RATE in % SGST RATE in % IGST RATE in % HSN for goods and SAC for services FF PACKING AMOUNT CGST AMOUNT SGST AMOUNT IGST AMOUNT All inclusive unit cost col(15) = col(5)+col(11)+[(col(12)+col(13)) or col(14)] Amount of Input tax Credit (ITC) per month to be availed by BSNL col(16) = (col(12)+col(13)) or col(14) Total Amount of Input tax Credit (ITC) to be availed by BSNL col(17) = col(3) x col(16) Unit Price excluding ITC Amount (Net unit cost to BSNL) col(18) = col(15) - col(16) TOTAL PRICE INCLUSIVE of all levies and charges but excluding ITC (Net Total Cost) col (19) = (3) x (18) TOTAL PRICE INCLUSIVE OF ALL CHARGES col(20) = col(3) x col(15) x 2.5 TOTAL AMOUNT In Words 1 2 3 4 5 6 7 8 9 10 11 12 13 14 15 16 17 18 19 20 21 Sub Head-I: - (Operation &/ Comp. Mtc.) 1 i) Operation and Comprehensive maintenance of Electromechanical services on round the clock basis as per inventory and specifications attached, comprising of following services mentioned in the details, at : Telephone Exchange at Kachi Chawni a) E.I.& Fans & Compound Lighting. b) DEA sets c) Substation with Metering units d) Pumps e) HPAC / Package AC units (Operation Only) f) AVRs g) Split Air Conditioner units & Water Coolers etc. h) Automatic Fire detection and Fire Alarm system i/c fire Extinguishers etc. and i) 2 X 630 KVA , Indoor type, Oil cooled, Transformer Sub Station AT TE KACHI CHAWNI 1 Job for 2 months TOTAL FOR SUB HEAD-I GRAND TOTAL IN FIGURES QUOTED RATE IN WORDS Signature of the Contractor/ Authorized Representative Notes for bidder: Bidder must mandatorily quote for all GST components (CGST, SGST, IGST) as required If Annual maintenance Contract charges are required to be quoted as per SOR, basic charges should be shown in column-4 & the Goods and Services Tax (GST) in column 7 to 12 The bidder who submits the offer with concessional Goods and Services Tax (GST) shall submit the proof of applicable concessional GST. In case the concessional GST is not creditable to BSNL it should be included in the price of the goods/services. In case , dealer is registered under compounding scheme or any rule/notification where the BSNL is not eligible for input tax credit then the bidder should not disclose any amount in column 7 to 9 & 12 to 14 * %age Rate of FF & packing should be shown of Basic Unit Price excluding all taxes & charges ( i.e as %age of Col. 5) The FF & packing amount quoted shall not be subject to change after bid evaluation/ ordering on account of change of Copper, Lead base price, changes in duties & taxes of item etc. Bidder must mandatorily mention HSN & SAC numbers Declaration by bidder We hereby declare that in quoting the above prices, we have taken into account the entire credit on inputs available under the GST Act introduced w.e.f. 01 July 2017 and further extended on more items till date”. “We hereby certify that HSN/ SAC shown in column 10 are correct & credits of GST for the amount shown in column 17 above are admissible as per GST Note: - Invoices/warranty cards and other documents of new battery to be provided. Battery should be warranted for 24 months (Minimum). Dismantled battery shall belong to agency after dismantling. The rates should be quoted accordingly taking credits for the same. Lubricating oil & filters etc. required for servicing shall be purchased from authorized service centre recommended by the respective manufacturer & documentary proof for purchase shall be submitted to the Engineer-in-charge. Further the lubricating oil shall be purchased in available sealed module (e.g. 20 litres, 10 litres, 5 litres) container of nearby consumed quantity of lubricating oil, for a particular E/A set. (e.g. 40 KVA E/A set on its servicing requires 15 litre accordingly modules of 10 litres and 5 liters shall be required). Unsealed/loose mobile oil shall not be accepted. The consumables used for servicing of EA sets, Replacement of battery / filters of Package AC units etc as per SH-II shall be paid on measurable basis. The replaced/dismantled items shall be property of the firm. Servicing of EA Set to be done as per manufacturer’s recommendations. Dated Signature of tenderer

SECTION -9

SCHEDULE OF REQUIREMENT (SOR)

## NAME OF WORK: - OPERATION AND COMPREHENSIVE MAINTENANCE OF ELECTROMECHANICAL SERVICES IN T.E. BUILDING KACHI CHAWNI & COMPREHENSIVE MAINTENANCE OF ELECTROMECHANICAL SERVICES AT T.E. BUILDING SHAKTI NAGAR IN SSA JAMMU.

Details of services to be maintained (Inventory)

              - SITE NO. :- 1

| Name of the site | TE Kachi Chawni (SSA JMU) |
| --- | --- |
| SCOPE OF MTCE | OPER. & COMP.MTCE |
| PART-1 SERVICES TO BE TAKE OVER FOR MAINTANCE |
| S.N | DETAILS OF ITEM |
| 1 | E.I & FANS - |
|  | (A) | Name of the building | No. of floors | AV. Area per floor | Floor Height | YOI |
|  | 1 | TEL, EXCH. BLDG. [Tech.] | Ground + 3 Floor | 647 Sq.mtr | 5.50 Mtr. | 1975 |
|  |  |  | Fourth Floor & Lift room | 586 Sq.mtr | 4.20 Mtr. |  |
|  | 2 | CTO, CSC, S/STN & other bldgs. | Ground Floor | 1387 Sq.mtr | 3.60Mtr. |  |
|  | (B) | Appropriate No. Of | Light Points | Fan Points | Plug Points |  |
|  |  |  | 760 | 300 | 290 |  |
|  |  |  | SDB's | Main Boards | Earth Stations |  |
|  |  |  | 55 | 7 | 2 |  |
| 2 | SUB - STATION: | Capacity (KVA) | HT Voltage | INDOOR / OUTDOOR | 1992 |
|  | (A) | Transformer Substation with metering unit | 630 KVA | 11 KV | INDOOR | 1992 |
|  |  |  | Nos. | Capacity | Make |  |
|  |  |  | 2 |  | Crompton |  |
|  | (B) | HT Panel | Nos. | Type | INDOOR |  |
|  |  |  | 1 No | OCB | Crompton |  |
|  |  | No. of earth stations | 6 |  |  |  |
| 3 | ENGINE ALTERNATOR SET |  |  |  |  |
|  |  | Type | Make | Engine Type & S/No. | Capacity |  |
|  | EA SET-I | AT SITE CAPACITY :- |  |  |  | 2017 |
|  |  | ENGINE with Canopy | KIRLOSKER | DV8TA G2 & DV8.8206/ 1620001 | 470BHP |  |
|  |  | Alternator | KIRLOSKER | M/C No. LES3S216L 210025 | 380 KVA |  |
|  | EA SET-II | AT SITE CAPACITY:- |  |  |  | 2013 |
|  |  | ENGINE With Canopy | KIRLOSKER | DV8 SR2 & DV8.1501/ 1300013 | 470 BHP |  |
|  |  | Alternator | KIRLOSKER | M.C No. IS3S113C 166317 | 380 KVA |  |
| 4 | PUMPS | No. of pumps | Capacity of pumps |  |  |
|  | Water supply pumps (Monoblock) | 2 | 5 | CROMPTON | 1995 |
|  | Diesel Filling pump ( Monoblock) | 1 | 0.5 | CROMPTON | 2005 |
| 5 | FIRE DETCTION SYSTEM |
|  | (A) | Size of building | Area covered |
|  |  |  | 2937 Sq. mtr. |
|  | (B) | Panels | No. of MCP & Zones | No. OF LCP'S | No. of Zones in LCP's | 01 No 10 Zone LCP- 2015, Rest of the LCP and MCP- 2018 |
|  |  |  | 02 Nos (24, 6 Zone) | 5 Nos | 10 Zone-03 Nos, 24 Zone -01 No & 06 Zone-01 No. |  |
|  | ( C) | Detectors | Smoke No. | Optical No. | Heat No. |  |
|  |  | (Approximate) | 150 | 154 | 84 |  |
| 6 | FIRE FIGHTING SYSTEM |
|  | (A) | Fire Extinguishers | CO2 | ABC | AB |
|  |  | Type | 4.5 KG | 22.5 KG | 25 KG | 50 Ltr |
|  |  | Capacity | 56 NOS | 05 NOS | 01 NO | 01 NO |
|  | ( B) | Fire Bucket |  |  |  |  |
|  |  | Type | SAND FILLED |  |  |  |
|  |  | Capacity | 9 LTR |  |  |  |
|  |  | Number | 15 |  |  |  |
| 7 | Lighting Conductor | Down Conductor | Earthing |  |  |
|  |  | 4 | 2 sets |  |  |
| 8 | Compound Lighting |  |  |  |  |
|  | No. of fittings | 25 WATTS LED TYPE | Crompton | 10 | 2018 |
| 9 | HEATING AND COOLING APPLIANCES |
|  |  | LOCATION | CAPACITY | QTY. |  |
|  | Split type A/C units ( Purison, Sidwal, LG etc) | T.E | 2.0 TR | 5 | More than 06 year old |
|  |  | T.E | 1.5 TR | 9 |  |
|  | Split type A/C units ( LG) | T.E | 1.5 TR | 20 | 2016 |
|  | Split type A/C units ( Voltas) | T.E | 1.5 TR | 7 | 2017 |
|  |  |  | Total | 41 |  |
|  | Split AC inverter type (Carrier) | T.E | 1.5TR | 9 | 2018 |
|  | Split AC inverter type ( Hitachi) | T.E | 1.5TR | 6 | 2018 |
|  |  |  | Total Split | 56 |  |
|  | Water coolers | LOCATION | CAPACITY | QTY. |  |
|  | Voltas | Ground Floor | 60 ltr. | 01 No | 2009 |
|  | Sidwal | 2nd Floor | 120ltr. | 01 No | 2017 |
| 10 | AC PACKAGE UNITS |
|  |  | NAME OF LOCATION | No. of units & Make | Capacity | Type | YOI |
|  | (i) | OCB XGE IST FLOOR | 04 Nos. ( Sidwal) | 7.0 TR | HPAC | Only Operation required ( In AMC with Supplier/ installer ) |
|  | (ii) | HLR ROOM 3RD FLOOR | 03 Nos. ( Sidwal) | 7.0 TR | HPAC |  |
|  | (iii) | ZTE MSC RNC ROOM 3RD FLOOR | 02 Nos. ( 01 No Sidwal & 01 No Stulz) | 7.0 TR | HPAC |  |
| 11 | AVRs |  |  |  |  |
|  |  | Name of Location | Capacity | Single/Three Phase | Input Voltage range |  |
|  |  | AVR (I) | 200 KVA | 3-Ø | 300-460 | 1989 |
|  |  | AVR (II) | 600KVA | 3-Ø | 160-260 (1-Ø) | 2005 |

- SITE NO. :- 2

| Name of the Site:- | TE Shakti Nagar (SSA JMU) |
| --- | --- |
| SCOPE OF MTCE:- | COMP. MTCE |
| PART -1 SERVICES TO BE TAKEN OVER FOR MAINTANCE |  |  |  |
| S.NO | DETAILS OF ITEM |  |  |  |  |
| 1 | E.I. & FANS |
|  | (A) | Name of the building | No. of floors | AV. Area per floor | Floor Height | YOI |
|  | 1 | TEL, EXCH. BLDG. [TECH] | Ground floor | 175 SQ.MTR | 3.50 Mtr. | 1999 |
|  | (B) | Appropriate No. of | Light points | Fan Points | Plug Points |  |
|  |  |  | 48 | 21 | 19 |  |
|  |  |  | SDB's | Main Boards | Earth stations |  |
|  |  |  | 4 | 4 | 2 |  |
| 2 | SUB - STATION: | Capacity (KVA) |  | INDOOR / OUTDOOR | 1999 |
|  | (A) | Transformer Substation with metering unit | 63 KVA | 11 KV/440V | Outdoor type complete with pole structure and Metering unit. |  |
|  |  |  | Nos. | 1 |  |  |
| 3 | ENGINE ALTERNATOR SET |  |  |  |  |
|  |  | Type | Make | Engine Type & S/No. | Capacity |  |
|  | EA SET-I | AT SITE CAPACITY :- |  |
|  |  | ENGINE with Canopy | Ashok Leyland | ALGP411TC.E4, VPEM073286. | 93.0 BHP | 2008 |
|  |  | Alternator | Crompton Greaves | M/c No. G1S75/43.23 | 75 KVA |  |
|  | EA SET-II | AT SITE CAPACITY :- |  |
|  |  | ENGINE without Canopy | Ashok Leyland | ALGP411/91, DBHM148132. | 93.0 BHP | 2005 |
|  |  | Alternator | AVKC | DSG36M1, 36.0075.S. | 75 KVA |  |
| 4 | PUMPS | No. of pumps | Capacity of pumps | Make | YOI |
|  | Water Supply Pumps (Monoblock) | 1 | 0.5HP | Crompton | 2018 |
|  | DIESEL Supply Pumps (Monoblock) | 1 | 0.5 HP | Crompton | 2000 |
| 5 | FIRE DETECTION SYSTEM |
|  | (A) | — Size of Building | Area Covered | 140 Sq. Mtr |  | YOI |
|  | (B) | —Panels | Main control Panel | 01 No | 04 Zone | 1999 |
|  | ( C) | Detectors | Smoke No. | Optical No. | Heat No. |  |
|  |  | (Approximate) | 10 | 8 | 5 |  |
|  | (D) | Fire Fighting System |  |  |  |  |
|  |  | Type | CO2 |  |  |  |
|  |  | Capacity | 4.5 |  |  |  |
|  |  | Number | 5 |  |  |  |
|  | (E) | Fire Bucket |  |  |  |  |
|  |  | Type | Sand FILLED |  |  |  |
|  |  | Capacity | 9 Ltr. |  |  |  |
|  |  | Number | 4 |  |  |  |
| 6 | COMPOUND LIGHTING |
|  |  | HPSV WITHOUT POLE | YOI |
|  | No. of fittings | 4 | 1999 |
| 7 | HEATING AND COOLING APPLIANCES |
|  |  | LOCATION | CAPACITY | QTY. |  |
|  | Split type A/C units ( LG) | T.E | 1.5 TR | 5 | 2014 |
|  |  |  | Total | 5 |  |
|  | Split AC inverter type (Carrier) |  | 1.5TR | 4 | 2018 |
|  |  |  | Total Split | 9 |  |
|  | Water coolers | LOCATION | CAPACITY | QTY. |  |
|  | Sidwal | Ground Floor | 120 Ltr. | 01 No | 2018 |
| 8 | AVR's |
|  | Name of Location | Capacity | Single/ Three phase | Input Voltage range | YOI |
|  | AVR (I) | 120 KVA | 3-Ø | 120-460 | 2009 |
| Details of EI & Fans in Staff quarters Bakshi Nagar |
| S.No | Type of qrts | Qty of qtrs | YOI |
| 1 | Type - I | 9 | 1980 |
| 2 | Type – II | 13 |  |
| 3 | Type - III | 6 |  |
| Pumps |  |  |
| Type | No of pumps | Capacity of pump | YOI |
| Mono block pump | 1 No | 5 HP | 1992 |

SECTION – 10

LIST OF APPROVED MAKES- BSNL ELECTRICAL WING (AS ON 29.02.2016)

| S. No | ITEMS | MAKES |
| --- | --- | --- |
| 1. | Engine | Ashok Leyland /Cummins/ Cater pillar / KOEL/ Volvo Penta /Mahindra & Mahindra (up to 200 KVA) /Escorts (up to 30 KVA)/ Eicher (up to 35 KVA) |
| 2. | Alternator(Brushless) | Crompton Greaves (AL.series)/KEC/Leroy Somer / Stamford/Jyoti Ltd |
| 3. | Battery (Lead Acid / Mntc. Free) | Amara Raja / AMCO / Farukawa / Hitachi / Exide/ Prestolite / Standard |
| 4. | HV Switchgear(Vacuum Circuit Breaker/SF6 ) | Biecco Lawrie/Crompton / Kirloskar / MEI / Jyoti Ltd |
| 5. | Transformer (Oil filled/ Dry type) | ABB / Schneider Electric /Andrew Yule / Bharat Bijlee / Crompton / EMCO / Kirloskar / Siemens In addition to above makes,Uttam/Patson/Rajasthan Transformer and Switchgear |
|  | a) Above 400 KVA |  |
|  | b) Up to 400 KVA |  |
| 6. | Air Circuit Breaker | L&T/ Schneider Electric / Siemens |
| 7. | MCCB(Ics=Icu) | L&T/ Schneider Electric / Siemens |
| 8. | SDF units | L&T/ Schneider Electric / Siemens/ HPL/Havells |
| 9. | Power Contactors | L&T/ Schneider Electric / Siemens/ Lakshmi(LECS) |
| 10. | Change Over Switch | HPL / Havells / H-H Elcon |
| 11. | Intelligent APFC Relay | L&T/EPCOS(Siemens)/ Schneider Electric / Neptune Ducati/Syntron/ABB |
| 12. | Bus Bar Trunking/ Sandwiched Bus Duct | Moeller/L&T/Schneider Electric/ABB/Legrand/Zeta |
| 13. | Power Capacitors(MPP/APP) | L&T/EPCOS(Siemens)/ABB/Crompton/Schneider Electric/Neptune Ducati |
| 14. | Digital/ KWHr meter | Schneider Electric/ AE/ Digitron / IMP/ Meco / Rishabh / Universal/HPL/L&T/ABB/Yokins |
| 15. | Cold shrink HT/LT Cable Joint | Denson / 3M(M-Seal )/ Raychem |
| 16. | Rubber Matting | ISI mark |
| 17. | MCB/lsolator/ELCB/RCCB/Distribution Board | Crompton / Havells / lndokopp / MDS Legrand/ L&T / Schneider Electric/ Siemens / Standard/ C&S/ABB/HPL |
| 18. | MS/ PVC Conduit | ISI mark |
| 19. | Cable Tray | MEM/Bharti/Ratan/Slotco/Profab |
| 20. | HT/LT Cables | ISI mark |
| 21. | PVC insulated copper conductor wire | ISI mark |
| 22. | Centrifugal Pump | Amrut / BE / Beacon / Batliboi /Crompton / Jyoti / Kirloskar / KSB / Mather & platt / WASP/Grundfos |
| 23. | Submersible Pump | Crompton/Amrut / BE / Calama /Kirloskar / KSB |
| 24. | Motors | ABB/ Bharat Bijlee / Crompton Greaves / Schneider Electric / HBB / KEC /Siemens/Jyoti Ltd |
| 25. | Fresh Air Fans | GE / Khaitan/Almonard/Crompton |
| 26. | Starter | ABB / BCH / Schneider Electric / L&T / Siemens / |
| 27. | Single Phase Preventer | L&T / Minilec / Siemens / Zerotrip |
| 28. | GI/MS Pipe | ATC / ATL / BST / GSI / ITC / ITS / IIA / JST / Jindal /TTA / Tata/Zenith |
| 29. | Foot Valve | ISI mark |
| 30. | Gate Valve | Advance/Audco/Johnson Controls/Zoloto/Annapurna / Fountain / Kirloskar / Leader / Sant / Trishul |
| 31. | Compressors | Carrier/Emerson copeland/York/Danfoss (for chillers only) |
| 32. | Resin Bonded Glass wool | Fibre Glass / Pilkingston / UP Twiga |
| 33. | Expanded Polystyrene | BASF(India) Ltd. |
| 34. | Gauge | Feibig / H.Guru / Pricol |
| 35. | Controls | FLICA / Honeywell / Indfoss / Penn-Danfoss / Ranco / Ranutrol / Sporland |
| 36. | Fine Filters | Anfiltra Effluent / ARW / Athlete/ Airtake/ Dyna / Kirsloskar/ Puromatic/ Purafill/ Purolator / Tenacity |
| 37. | GI Sheet | HSU Jindal / National / Nippon Denro / Sail / Tata |
| 38. | Heat Detector | Appollo / Chemtron/ Edward / Fenwal/ Hochiki / Nitton /System Sensor/ Wormald/Honeywell Essar/Notifier |
| 39. | Ionization Detector | Appollo / Cerebrus / Edward/ /Fenwal / Hochiki / Nitton / System Sensor / Wormald |
| 40. | Photo Electric Smoke Detector | Appollo / Cerebrus / Edward/ /Fenwal / Hochiki / Nitton / System Sensor / Wormald |
| 41. | Fire Panel (Microprocessor based) | Agni Instruments / Agni Devices/ Aruna Agencies/ Carmel Sensor / Ravel Elect./Honeywell Essar/Notifier/Navin Systems |
| 42. | Sprinkler/ Hose Reel & Hose Pipe | ISI mark |
| 43. | Fire Extinguisher | ISI mark |
| 44. | Lift | OTIS, Kone, Mitsubishi , Schindler, Johnson, ThyssenKrupp Elevator(India) |

NOTE:

In case of External / PMC works, the list of approved makes may be modified as per client’s requirement.

The accessories such as CT/PT/measuring instrument/relays provided by approved make in respect of Transformer/HT Panel/DG /AC Package Units as supplied by approved manufacturer along with the equipments are also acceptable in addition.

Any additional makes may be approved by concerned PCEs/Sr CEs/CEs(Elect) for the work under his jurisdiction as already accorded vide letter no. 3-2-5/EW/VEP-1/2007 dated 05-07-2007