BHARAT  SANCHAR  NIGAM  LIMITED

(A GOVT OF INDIA  ENTERPRISE)

O/O GENERAL MANAGER TELECOM

DISTRICT JAMMU

TENDER FOR U/G

CABLE LAYING

IN

JAMMU SSA

BID DOCUMENT

TENDER NO: JP/AP/UGCABLE-1/ DAYALCHAK/07-08

JP/AP/UGCABLE-2/SIDHRA&

KOTBALWAL/07-08

OFFICE OF THE GENERAL

MANAGER

TELECOM DISTRICT

KACHI CHAWNI

JAMMU

# Bharat Sanchar Nigam Limited

Office of the General Manager (Telecom District) Jammu

Notice Inviting Tender

Tender for UG Cable Construction Works

NIT No.: -JP/AP/UG Cable -1 & 2/07-08/                  Date of Issue      - 05 -2008

Properly sealed tenders  (Packing PVC tape/Sealing wax) are invited for and on behalf of Bharat Sanchar Nigam Limited by the GMTD JAMMU from the eligible enlisted contractors for the following works in Jammu SSA:

UG Cable Construction Works

- Name of Work: UG Cable Construction Works in Jammu SSA.

| S. No. | Name of the Division/JAMMU SDCA | Tender number | Estimated cost of work (In Rs.) | Cost of bid Document (Non-refundable) | Bid security (In Rs.) |
| --- | --- | --- | --- | --- | --- |
|  | ROUTE NAME |  |  |  |  |
| I. II. | LAYING OF U/G CABLE FROM DAYALCHAK ANRAX FOR LINKING UP EXISTING CABLE PILLAR NO. 21 OF CHADWAL XGE Diversion of 100/0.5 Cable on Sidhra Highway road due to road widening between Bajalata Chowk towards ASCOM. Laying of U/G Cable for extending of existing DP’s in Kot Bhawal Xge. Area for provsion of NTC. | JP/AP/UG CABLE-1/ DAYALCHAK/ 07-08 JP/AP/UG CABLE-1/ SIDHRA & KOTBALWAL/ 07-08 | 55614.00 43248.00 +65975.00 109223.00 | 500.00 500.00 | 1400.00 2730.00 |

2.	Period of contract	  - One year from the date of agreement.

3.	Mode of payment - Tender document could be purchased by paying cost of bid document in cash or D/D drawn in favour of Accounts Officer (Cash) O/O GMTD Jammu) , payable at Jammu. Bid Security could be paid in the form of Crossed Demand Draft issued by a  scheduled bank drawn in favour of  Accounts Officer (Cash) O/OGMTD Jammu payable at Jammu.

4.	Tender document containing detailed                                 SDE (MM) , O/O GMTD Jammu.

Description of  work & Terms & conditions

can be had  from

5.	Sale of tender documents - Between 11.00 Hrs. to 16.00 Hrs. from (date)…08-05-2008….to  (date) 29-05-2008 (on all working days)

6          Time and last date of submission of Bid up to 14.30 Hrs on (Date) 30-05-2008

7	Time of Bid opening	at 1530 Hrs  on (Date)  30-05-2008

8 	Tender should be submitted in THREE Envelops placed in side a main cover. Namely, Bid Security, Qualifying Bid and  Financial Bid. On each Envelope name of the firm and whether “Bid Security” or “Qualifying Bid” or “Financial Bid” must be clearly mentioned.

9.	The Tenders which are not submitted in above mentioned manner shall be summarily rejected.

10	The Tenderers will be bound by all terms, condition and specification as detailed in the tender documents.

The  tender, which is not accompanied by the requisite Bid Security, shall  be summarily rejected.  Tender will not be accepted / received after expiry of date and time The GMTD Jammu  reserves the right to reject any or all  tenders  without assigning any reasons what-so-ever.

AGM (Plg)

O/O GMTD BSNL

Jammu

SECTION - II

BID FORM

Tender No._______________________________________                                         Date: ________

To,

The GMTD, Jammu.

Dear Sir,

Having examined the conditions of contract and specifications including addenda No……… the receipt of which is hereby duly acknowledged, we, undersigned, offer to execute the work of UG Cable Construction Work____________ in conformity with said drawings, conditions of contract and specifications as may be ascertained in accordance with the schedule of prices attached herewith and made part of this Bid.

We undertake, if our Bid is accepted, we will execute the work in accordance with specifications, time limits & terms and conditions stipulated in the tender document.

If our Bid is accepted, we shall submit the securities as per the conditions mentioned in the contract.

We agree to abide by this Bid for a period of 240 days from the date fixed for Bid opening  (Qualifying Bid) and it shall remain binding upon us and may be accepted at any time before the expiry of that period.

Until a formal Agreement is prepared and executed, this Bid together with your written acceptance there of   in your notification of award shall constitute a binding contract between us.

Bid submitted by us is properly sealed and prepared so as to prevent any subsequent alteration and replacement.

Dated this          day of         (the year)

Signature of Authorized Signatory …….……

In Capacity of ………………...……………….

Duly authorized to sign the bid for and on behalf of …………………

Witness…………..…

Address…………..…

Signature……………

SECTION - III

TENDERER’S PROFILE

General:

- Name of the Tenderer / firm _____________________________________

- Name of the person submitting the tender whose Photograph is affixed

Shri/Smt. ……………………………………………………………………

(In case of Proprietary/Partnership forms, the tender has to be signed by

Proprietor/Partner only, as the case may be)

- Address of the firm ……………………………………………………………………………….

- Telegraphic Address ……………………………………………………………………………...

- Tel. No. (with STD code) (O)…………………. (Fax)……….…………. (R)………….………….

- Registration & incorporation particulars of the firm

- Proprietorship

- Partnership

- Private Limited

- Public Limited

(Please attach attested copies of documents of registration/incorporation of your firm with the competent authority as required by business law)

- Name of Proprietor/Partners/Directors ……………………………………………………………..

- Tenderer’s Enlistment Certificate details ……………………………...……………………………

- Category

- Number

- Issuing Telecom Circle

- Issued on

- Valid up to

(An attested copy of the Enlistment Certificate may please be enclosed)

- Tenderer’s Bank, its address and his current account number………………………………………

- Permanent Income Tax number, Income Tax circle……………………….………………………..

(Please attach a copy of last income tax return)

- Infrastructure capabilities:

- Capacity of trenching per day (in meters)

- Capacity of pipe laying per day (in meters)

- Capacity of pulling cable through duct/pipe per day (in meters)

- Capacity of engaging mazdoors per day.

- Particulars of vehicles available with the tenderer :

Type of Vehicle (s)			Registration number

- Particulars of other machines possessed by the contractor which can help in trenching pipe laying and cable pulling;

………………………………………………………………………………………………………………………………………………………………………………………………

- Details of Technical and supervisory Staff:

I/We hereby declare that the information furnished above is true and correct.

Place:

Date:

Signature of tenderer/Authorised Signatory

Name of the Tenderer

Seal of the tenderer

SECTION - IV

INSTRUCTION TO BIDDERS

- INTRODUCTION:

1.	DEFINITIONS

- President of India: The President of India means the President of India and his successors.

- Government of India: The Government or Government of India shall mean the President of India.

- Department: The department means the Department of Telecommunications/BSNL or any other Department under the Ministry of Communications, which invites the tenders on behalf of Bharat Sanchar Nigam Limited. All references of:

Department

Chief General Manager

Principal General Manager

General Manager

Deputy General Manager / Area Manager / Director / Telecom Distt. Manager / Director (Projects)

Divisional Engineer/ Divisional Engineer (Projects)

Sub Divisional Engineer

Junior Telecom Officer

DGM (Finance)

Chief Accounts Officer

Accounts Officer

Assistant Accounts Officer

Junior Accounts Officer

Including other officers in the Department, whatever designations assigned to them from time to time, who may be the in-charge of direction, supervision, testing, acceptance and maintenance including their successor(s) in the office appearing in various clauses shall be taken to mean the Department of Telecommunications under the Ministry of Communications, Government of India.

- I) The GMTD Jammu means the Head of Telecom District Jammu and his successors.

- I) The jurisdiction of the GMTD Jammu means Jammu District which coincides geographically with Revenue District (Jammu)

f.	Representative of the GMTD Jammu: Representative of the GMTD Jammu    means Officer and staff for the time being in Jammu SSA deputed by the GMTD Jammu for inspecting or supervising the work or testing etc.

- Engineer – in-charge:  The Engineer –in-charge means the Engineering Officer nominated

by the BSNL to supervise the work, under the contract (Minimum Divisional Engineer level Officer.

- Site Engineer: Site Engineer shall mean an SDE of the Department who may be placed by

the GMTD Jammu as in- Charge of the work at site at any particular period of time.

i.           A/T Unit: A/T Unit shall be mean Acceptance and Testing unit of the Department.

- A/T Officer: An officer authorized by (the GMTD Jammu) / T&D Circle to conduct A/T.

- Contract:

The term contract means, the documents forming the tender and acceptance there of and the format agreement executed between the competent authority on behalf of the President of India and the contractor, together with the documents referred to therein including these conditions, the specifications, designs, drawings and instructions issued from time to time, by the engineer in-charge and all these documents taken together shall be deemed to form one contract and shall be complementary to one another.  In the contract, the following expressions shall, unless the context otherwise requires, have the meanings, hereby respectively assigned to them.  The expression works or work shall unless there be something either in the subject or context repugnant to such constructions, be construed and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary  or permanent, and whether original, altered, substituted or additional.

l. Contractor:	The contractor shall mean the individual, firm or company, enlisted with

Bharat Sanchar Nigam Limited in accordance with procedure for enlistment of contractor, whether incorporated or not, undertaking the works and shall include the legal personal representative of such individual or the persons composing such firm or company , or the successors of such firm or company and the permitted assignees of such individual, firm or company.

m. Works:	The expression “works” shall unless there be something either in the subject or context repugnant to such construction be construct and taken to mean the works by or by virtue of the contract contracted to be executed whether temporary or permanent and whether original altered, substituted or additional.

n. Schedule(s): Schedule (s) referred to in these conditions shall mean the relevant Schedule(s) or the

standard schedule of rates mentioned in the document.

o. Site:	The site shall mean the land/ or other places on, into or through which work is to be executed under the contract or any adjacent land, path or street through which, the work is to be executed under the contract or any adjacent land, or street which may be allotted or used for the purpose of carrying out the contract.

p. Normal time or Stipulated time: Normal time or Stipulated time means time specified in the

work order to complete the work.

q. Extension of Time: Extension of Time means the time granted by the BSNL to complete the work

beyond the normal time or stipulated time.

r. Date of commencement of Work: Date of Commencement of Work means the date of actual

commencement of work or 7th day from the date of issue of work order, whichever is earlier.

s. Due date of completion: Due date of completion shall be the date by which the work shall be

completed at site including clearance of site.

t. Duration of completion of work: The duration of completion of work or completion time shall be

time specified in the work order plus extension of time granted, if any.

u. Excepted risk:  Excepted  risk are risks due to war (whether declared or not), invasion, act of

Foreign enemies, hostilities, civil war, rebellion, revolution, insurrection, military or usurped power, any acts of Government damages from aircraft, acts of God , such as earthquake, lightening and unprecedented floods and other causes over which, the contractor has no control and the same having been accepted as such, by the Accepting Authority or causes solely due to use or occupation by the government of the part of the work, in respect of which a certificate of completion has been issued.

2. 	ELIGIBILITY OF BIDDERS:

The invitation of bids is open to all Enlisted contractors as per their eligibility mentioned in NIT of this tender document.

#### B. THE BID DOCUMENTS

3. 	BID DOCUMENTS:

  - The construction work to be carried out, goods required, bidding procedures and

contract terms are prescribed in the Bid Documents .  The Bid Documents include:

3.1.1. Qualifying Bid:

      - Notice Inviting Tender.

      - Bid Form

      - Tenderer’s Profile.

      - Instruction to Bidders.

      - General (Commercial) Conditions of the Contract.

      - Special Conditions of Contract.

      - Scope of Work and jurisdiction of the contract.

      - UG Cable Construction Specifications

      - Material Security Bond Form.

      - Agreement (Sample)

      - Letter of Authorization for Attending Bid Opening.

      - List of Documents to be submitted along with the Qualifying Bid

      - Ratesof Empty CableDrums.

    - Financial Bid

      - Schedule of rates – for construction

  - The Bidder is expected to examine all instructions, forms, terms and specifications in the Bid documents.  Failure to furnish all information required as per the Bid Documents or submission of bids not substantially responsive to the Bid Documents in every respect will be at the bidder’s risk and shall result in rejection of the Bid.

4.	QUERIES ON BID DOCUMENTS:

A prospective bidder, requiring any clarification of the Bid Documents shall notify  any clarification of Bid Documents shall notify the Department in writing or by fax or cable at the department’s mailing address indicated in the invitation for Bids.  The department shall respond in writing to any request for clarification of the Bid Documents, which it receives not later than 7 days prior to the date for the opening of the bids.  Copies of the query (without identifying the source) and the clarifications by the department shall be sent to all the prospective bidders who have purchased the bid documents and all such clarifications issued by the Department will form part of the bid document.

5.	AMENDMENT OF BID DOCUMENTS:

  - At any time, prior to the date for submission of bids, the department may, for any reason whether suo motto or in response to a clarification requested by a prospective Bidder, modify the bid documents by amendments.

  - The amendments shall be notified in writing or by telex or FAX to all prospective bidders on the address intimated at the time of purchase of bid document from the department and these amendments will be binding on them.

  - In order to afford prospective bidders reasonable time to take the amendments into account in preparing their bids, the department may, at its discretion, extend the deadline for the submission/opening of bids suitably.

##### C.	PREPARATION OF BIDS

- COST OF BIDDING:

The bidder shall bear all costs associated with the preparation and submission of the bid.  The department, will in no case, be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process.

- DOCUMENTS ESTABLISHING BIDDER’S ELIGIBILITY AND QUALIFICATIONS :

The bidder shall furnish ,as part of his bid documents establishing the bidder’s eligibility , the following documents :

- Bid Security in accordance to clause no.8

- Tender document(s) ,in original, duly filled in and signed by tenderer or his authorized representative along with seal on each page.  All corrections and overwriting must be initialed with date by the tenderer or his authorized representative.

- The copy of Enlistment certificate issued by the competent authority  duly attested by a gazetted officer.

- The registration of the firm, authenticated copy of partnership deed in cases of partnership firm.

- Bid Form, duly filled in, as per section II.

- Tenderer’s profile duly filled in, as per section III of the tender document.

- Original “Power of Attorney “ in case person other than the tenderer has signed the tender document.

- List of qualified experienced personnel, who are working for the tenderer, who will be deployed for the work.

- BID SECURITY:

8.1.	The bidder shall furnish, as part of his bid, a bid security  (EMD) for an amount of Rs………….(Rupees………………………(in words) ,  No interest shall be paid by the department on the bid security for any period  what so ever.

  - The bid security is required to protect the Department against the risk of bidders conduct, which would warrant the security’s forfeiture, pursuant to para 8.7.

  - Bid Security shall be paid in the form of Crossed Demand Draft issued by a  scheduled bank, drawn in favour of Accounts Officer (Cash), O/O GMTD Jammu  , payable at Jammu  .

  - A bid not secured in accordance with para 8.1. & 8.3 shall be rejected by the Department as non responsive.

  - The bid security of the unsuccessful bidder will be refunded as promptly as  possible but not later than 30 days after the expiry of the period of bid validity prescribed by the Department.

  - The successful bidder’s bid will compulsorily be converted to part Performance security deposit in accordance with clause 2.8.

  - The bid security shall be forfeited;

    - If a bidder withdraws his bid during the period of bid validity specified in the bid document or

    - If the bidder makes any modifications in the terms and conditions of the tender before acceptance of the tender, which are not acceptable to the department or

    - In case of a successful bidder, if the bidder fails:

- To sign the agreement in accordance with clause 28 or

- To furnish Material Security in accordance with clause 27.

9.	BID PRICES :

  - The bidder shall give the total composite price inclusive of all levies and taxes, packing, forwarding, freight and insurance in case of materials to be supplied and inclusive of all taxes and levies in case of works to be  executed.  The contractor shall be responsible for transporting the materials, to be supplied by the department (At the district Telecom Store) or otherwise to execute the work under the contract, to site at his/their own cost.  The costs of transportation are subsumed in the standard Schedule Rates and therefore no separate charges are payable on this account.  The offer shall be firm in Indian Rupees.

9.2	Prices shall be quoted by the bidder as percentage below/above /at par the schedule of rates given in schedule of rates (Financial Bid).  Prices quoted at any   other place shall not be considered.

  - The price quoted by the bidder shall remain fixed during the entire period

of contract and shall not be subject to variation on any account.  A bid submitted with an adjustable price quotation will be treated as non-responsive and rejected.

  - Discount, if any, offered by the bidders shall not be considered unless they are                                    specifically indicated in the schedule of rates (financial Bid).  Bidders desiring to offer discount shall therefore modify their offers suitably while quoting and shall quote clearly net price raking all such factors like Discount, free supply, etc.  in to account.

10.	PERIOD OF VALIDITY OF BIDS:

10.1	Bid shall remain valid for 240 days from date of opening of the bid (Qualifying Bid).  A BID VALID FOR ASHORTER PERIOD SHALL BE REJECTED BY THE DEPARTMENT AS NON- RESPONSIVE.

  - The department reserves the right to request the lowest 3 bidders as per read out list on the opening day to extend the bid validity for a period of further 120 days and the bidder has to necessarily extend the bid validity. Refusal to extend the bid validity will result in forfeiture of the bid security.  A bidder accepting the request and extending the bid validity will not be permitted to modify his bid.

11.	SIGNING OF BID.

  - The bidder shall submit ,as a part of his bid, the bid documents (in original ) duly signed on each and every page, establishing the conformity of his bid to the bid documents of all the works to be executed by the bidder under the contract.

(Note: The tenderer is advised to keep a photocopy (at his own cost ) of the bid documents for  his own reference.)

  - The bid shall contain no inter-lineation, erasures or overwriting except as necessary to correct errors made by the bidder in which case such corrections shall be signed with date by the person or persons signing the bid.

- SUBMISSION OF BIDS

12.	Method of preparation of bid:

12.1	Bid for each tender should be submitted in three envelops placed inside a main cover.  These envelopes should contain the following :

| Envelops | Marked on the Cover | Contents of Envelops |
| --- | --- | --- |
| First | Bid Security | Containing Bid Security as per clause 8 |
| Second | Qualifying Bid | Containing documents as per clause 7 except bid security. |
| Third | Financial Bid | Rates duly quoted by the tenderer in the prescribed format. |

On all these envelopes the names of the firm and whether “ Bid Security” OR “Qualifying “ OR “Financial” bid must be clearly mentioned and should be properly sealed (with sealing wax/ Packing PVC tape) .  These envelopes are to be placed inside an outer envelope and properly sealed (with sealing wax/Packing PVC tape).  The tenders, which are not submitted in above, mentioned manner should be summarily rejected.

  - All  envelopes ( 3 inner & one outer ) must bear the following :

Tender for UG Cable Construction Works

Under GMTD Jammu

“NOT TO OPEN BEFORE  (DUE DATE OF TENDER)

(Tender no._____________________________________)

The tenderers will be bound by all terms, conditions & specifications as detailed in the tender documents.

  - Any tender with conditions other than those specified in the tender document is liable to be summarily rejected.  No modification by the contractor in any of the conditions will be permitted after the tender is opened.

  - Any tender with conditions other than those specified in the tender document is liable to

Be summarily rejected. No modification by the contractor in any of the conditions will be permitted after the tender is opened.

13.	SUBMISSION OF BIDS :

  - Tender should be dropped in person in the tender box placed in the office of DE(plg),O/O GMTD Jammu before the closing  (date & time) of tender, as mentioned in NIT.  The tenderer is to ensure the delivery of  the bids at the correct address.  The department shall not be held responsible for delivery of bid to the wrong address.  The slit of the tender box will be sealed immediately after the specified time for receipt of tender.  Any  tender presented in person after the sealing of box will not

be received by (the tendering authority ) or by any of the subordinates or will not be

allowed to be deposited in the tender box.

  - Postponement of Tender opening: Whenever it is considered necessary to postpone the opening date of tender, quick decision must be taken and communicated to the tenderers who have purchased the tender documents and shall be at least one day before the original date of opening.  The reasons for postponing the tender shall be recorded in writing.  Such notice of extension of date of opening shall also be put up on the notice board and also published in the newspapers in which original NITs  have been published.  If the date of opening of bids is declared as holiday, the bids will be opened on the next working date at the same time and venue.

  - The Government of India if subsequently, declares date fixed for opening of bids as holiday, the revised schedule will be notified.  However, in absence of such notification the bids will be opened on next working day, time and venue remaining unaltered.

- LATE BIDS :

  - Tenders will not be received after the specified time of closing of the tender and the same shall be rejected and returned unopened to the bidder.  It is the sole responsibility of the tenderer that he should ensure timely submission of tender.

15.	MODIFICATIONS AND WITHDRAWL OF BIDS :

  - The bidder may modify or withdraw his bid after submission and before opening, provided that the intimation is deposited by the bidder in a properly sealed envelope  (with Wax/Packing PVC tape ) in the tender box, before the scheduled time & date for closing of tender.

  - No bid shall be modified subsequent to the deadline for submission of bids.

- BID OPENING AND EVALUATION:

16.	OPENING OF BIDS BY THE DEPARTMENT :

  - The Department shall open the bids in the presence of bidders or his authorized representatives who choose to attend, at 1500 Hrs on due date.  The bidder’s representative who are present, shall sign an attendance register.  The bidder shall submit authority letter to this effect before they are allowed to participate in the bid opening (A format is given in section-XI)

16.2 	A maximum of two (2) representatives for any bidder shall be authorized and permitted to attend the bid opening.

  - The Bids shall be opened in the following manner:

16.3.1 	The bid opening committee shall count the number of bids and assign serial numbers to the bids. For example, if 10 tenders have been received the bids shall be numbered as 1 of 10, 2 of 10 etc. All the members shall initial on the outer envelopes of all the bids with date.

16.3.2  The envelopes containing the tender offer and not properly sealed, as required vide Para

16.3.3  	Shall not be opened and shall be rejected outright.  Closing the cover with gum will not be treated as sealed cover.  The reasons for not opening such bidder offers shall be recorded on the face of the envelope and all the members of the opening committee shall initial with date.

    - First the outer envelope containing the three envelopes be opened.  The bid opening committee shall initial on all three envelopes with date.

16.3.5	Among these three envelopes, the envelope marked “ BID SECURITY ” shall be deemed first and examined.

16.3.6	The bidders who have submitted proper bid security as per tender document, their “QUALIFYING BID” shall be opened and papers/documents submitted by the bidder shall be examined and recorded by the TOC.  After opening the qualifying bid, all the documents contained therein shall be serially numbered and signed by the bid opening committee members.

16.3.7 	After recording of the “Qualifying Bid” the TOC will place all the Financials bids submitted by the bidder in an envelope and will properly seal it with wax or packaging PVC tape for keeping in safe custody.

16.4 	Financial Bid shall be opened in the following manner:

16.4.1 The envelope marked “Financial Bid “ will be opened only for qualified tenders in “Qualifying bid”.

16.4.2 	The date and time of opening of “Financial bid “ shall be conveyed to all the bidder members who have qualified in Qualifying Bid and their representative shall be allowed to attend the financial bid opening.

16.4.3 	After opening the “Financial Bid “ the bidder’s name, bid prices, modifications, bid withdrawals and such other details as the Department, at its discretion, may consider appropriate, will be announced at the opening.

16.4.4 	In case there is discrepancy in figures and words in the quote, the same shall be announced in the bid opening, but the quote in words shall prevail.

17.	VERIFICATION OF BIDS BY THE DEPARTMENT :

Assist in examination, evaluation and comparison of bids, the Department may at discretion ask the bidder for clarification of its bid.  The request for its clarification and response shall be in writing.  However, no post bid clarification at the initiative of the shall be entertained.

18	PRELIMINARY EVALUATION :

  - Department shall evaluate the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed and whether the bids are generally in order.

  - If there is discrepancy between words and figures, the amount in words shall prevail , if the Contractor does not accept the correction of the errors, his bid shall be rejected.

  - Prior to the detailed evaluation, pursuant to clause 19, the Department will determine the substantial responsiveness of each bid to the bid document.  For purpose of these clauses a substantially responsive bid is one, which conforms to all the terms and conditions of the bid documents without deviations.  The Department ’s determination of bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

  - A bid, determined as substantially non responsive will be rejected by the Department and shall not  subsequent to the bid opening be made responsive by the bidder by correction of the non-conformity.

  - The department may waive any minor infirmity or non-conformity or irregularity in a bid which does not constitute a material deviation, provided   such waiver does not prejudice or affect the relative ranking of the bidder.

19.	EVALUATION AND COMPARISON OF SUBSTANTIALLY RESPONSIVE BIDS:

  - The department shall evaluate in detail and compare the bids previously determined to be substantially responsive pursuant to clause 18.

  - The evaluation and comparison of responsive bids shall be on the percentage deviation (above/below/at par ) offered and indicated in schedule of rates of the bid documents.

20.	CONTACTING THE DEPARTMENT:

  - Subject to clause 17 no bidder shall try to influence the department on any matter relating to its bid, from the time of bid opening till the time the contract is awarded.

  - Any effort by the bidder to modify his bid or influence the department in the department’s bid evaluation, bid comparison or the contract award decisions shall result in the rejection of the bid.

21	AWARD OF CONTRACT :

  - The department shall consider award of contract only to those eligible bidders whose offers have been found technically, commercially and financially acceptable.

22.	DEPARTMENT’RIGHT TO VARY QUANTUM OF WORK:

The Department at the time of award of work under the contract, reserves the right to decrease or increase the work by up to 25% of the total quantum of work specified in the schedule of requirements without any change in the rates or other terms and conditions.

- DEPARTMENT RIGHT TO ACCEPT ANY BID AND TO REJECT    ANY OR ALL BIDS:

The department reserves the right to accept or reject any bid and to annual the bidding process and reject all bids, at any time prior to award of contract without assigning any reasons what-so-ever and without thereby incurring any liability to the affected bidder or bidders on the grounds  for the department’s action.

24.	ISSUE OF LETTER OF INTENT:

  - The issue of letter of intent shall constitute the intention of the department to enter in to the contract with the bidder.  Letter of intent will be the issued as offer to the successful bidder.

  - The bidder shall with in 21 days of issue of letter of intent, give his acceptance along with material security in conformity with clause 5(I) of section-V,  provided with the bid documents.

- SIGNING OF AGREEMENT:

  - The signing of agreement shall constitute the award of contract on the bidder.  The agreement with the successful bidder shall be signed by the department  with in a week of submission of material security as per clause 24.2 above.

25.2.	As soon as the tender is approved by the competent authority, the Bid Security  deposited by the successful bidder shall be compulsorily converted in to the Performance security deposit, which will be held by the department till the completion of warranty period.

- ANNULMENT OF AWARD:

Failure of the successful bidder to comply with the requirement of clause 24 Section-IV shall constitute sufficient ground for the annulment of the award and forfeiture of the bid security, in which event, the department may make the award to any other bidder at the discretion of the department or call for new bids.

SECTION - V

GENERAL (COMMERCIAL) CONDITIONS OF THE CONTRACT

.1.	APPLICATION:

The General conditions shall apply in contracts made by the department for the execution of UG Cable construction works.

- STANDARDS:

The  works to be executed under the contract shall conform to the standards prescribed in the OF Cable construction practice.

- PRICES:

  - Prices charged by the Contractor for the works performed under the Contract shall  not be higher from the prices quoted by the Contractor in his Bid.

  - Price once fixed will remain valid for the period of contract. Increase and decrease of taxes/duties will not affect  the price during this period.

- SUBCONTRACTS:

The contractor shall not assign, sub contract or subject the whole or any part of the works covered by the contract, under any circumstances.

5.	 SECURITY:

- Material Security :

- The successful tenderer will have to deposit material security as mentioned in the Scope of Work, subject to a minimum of Rs.1 Lakh or 10% of the estimated cost of work whichever is less  in the form of bank guarantee (valid up to and including six months after, the period of the contract) from a scheduled bank and in the material security bond form provided in the bid documents, section – IX. Material Security can also be submitted in the form of Crossed Demand Draft drawn in favour of Accounts Officer (Cash) O/O The GMTD Jammu,  issued by a schedule bank and payable at Jammu .  The Material Security will be a non interest bearing deposit, for any period what so ever.

b.  The contractor at any point of time will not be issued stores costing

- more than material security.  If due to any reason more store has to be issued to the contractor, then the material security will be suitably enhanced .  In this regard the decision of the GMTD Jammu  shall be final and binding.

- The proceeds of the material security shall be payable to the department as a compensation for any loss resulting from the contractor’s failure to handle properly the material issued to him under the contract.

- The Material security shall be released/ refunded within a fortnight from the date of the payment of the last final bill of the work under the contract or final settlement of material account whichever is later on production of  “no dues certificate “ from Engineer-in-charge.”

(ii)	PERFORMANCE SECURITY:

- The contractor shall permit the Department, at the time of making any payment to him for work done under the contract, to deduct such sum in addition to the sum already deposited as security deposit (due to conversion of bid security), an amount to the tune of 7.5% of running bills/final bill.

- The proceeds of the performance security shall be payable to the department as compensation for any loss resulting from the contractor’s failure to complete its obligations under the contract.

- The performance security deposit shall be refunded after expiry of warranty period of last work executed provided there are no recoveries to be made arising out of poor quality of work, incomplete work and /or violation of any terms and conditions of the contract as stipulated in the bid document.

- No interest will be paid to the contractor on the security deposit.

6.	ISSUE OF WORK ORDERS AND TIME LIMIT:

  - The work order shall be issued so as to include all items of works for the section allotted to the contractor as put in the NIT.

  - The work order shall be issued by the Divisional Engineer in-charge of OF cable construction works after examining the technical and planning details of the works to be executed.

  - If due to any reason partial work order is to be issued then the same shall be issued with the approval of an officer not below the rank of Deputy General Manager.

  - The Divisional Engineer shall mention the time limit to execute the work order after seeing the quantum of work and store availability position.

  - The department reserves the right to cancel or modify the scope of work stipulated to be carried out against the work order in the event of change of plan necessitated on account of technical reasons or in the opinion of work order issuing authority or the GMTD Jammu , the contractor is not executing the work at the required place.

- EXTENSION OF THE TIME LIMIT :

7.1 	General:

    - In each work order, the work order issuing authority shall specify the time allowed for completion of work consistent with the magnitude and urgency of work.  The time allowed for carrying out the work is to be strictly observed by the contractor and shall be reckoned from seventh day from the date of issue of work order.

    - In as much as “ the time being deemed to be the essence of contract ”, through out the stipulated period of contract, the work is to be proceeded with all due diligence on the part of contractor.

  - Application for Extension of the Time & Sanction of Extension of Time (EOT):

    - There may be some hindrances, other than covered under force/majeure, while execution of work and in such cases the contractor shall apply in writing in the prescribed Form (Part-A) to the engineer-in-charge for extension of time (EOT), on account of which he desires such extension within three days of occurrence of hindrance.  The Engineer-in-charge shall forward the request to the competent authority (an officer of the rank of JAG level in-charge of UG Cable construction work) with his  detailed report and photocopy of the hindrance register, in the prescribed Form (Part-B) within three days of receipt of request from the contractor.  The competent authority is empowered to grant extension of time for completion of work on certain conditions.  He shall exercise such powers, if the following conditions are satisfied :-

      - The application contain the ground(s) , which hindered the contractor in execution of work.

      - The Engineer-in-charge is of the opinion that the grounds shown for extension of time are reasonable.

    - The competent authority shall consider the request keeping all the facts and circumstances in view and shall grant extension of time, if in his opinion, there are reasonable and sufficient grounds for granting such extension and the reasons for delay are not ascribable to the contractor.

    - The competent authority may also grant extension of time for completion of work in cases where reasons for delay are ascribable to the contractor, but such extension of time shall be with LD charges as per clause dealing with penalty for delays in execution of works.  The extension of time with LD charges shall be issued under the signature of JAG level Telecom/BSNL Officer competent to grant the extension of time.

    - The competent authority shall grant EOT  with time period for completion of work expressly mentioned.  The sanction of the competent Authority of EOT shall be issued under the signature of the Engineer-in -charge.

    - If the competent authority is of the opinion that the grounds shown by the contractors are not reasonable and sufficient and declines to grant the extension of time, the contractor cannot challenge the soundness of the opinion by reference to arbitration.  The decision of the competent authority on period of extension of time or refusal for extension of time shall be final and binding on the contractor.

  - Grant of Extension of Time without Applications:

    - There are, at times, practical difficulties like non-availability of materials, delay in providing permissions/right of way etc. reasons of which are ascribable to the department.  In such cases, the Engineer-in-Charge with the approval of competent authority to sanction EOT, may issue extension of time suo moto without waiting for contractor to make an application for EOT. Entry of hindrances shall be made in the Hindrance Register.  The Government will, however, not be liable to the contractor for any losses or damages, costs, charges, or expenses that the contractor may in any way sustain/ suffer due to delay in making the above available.

8.	MEASUREMENT, INSPECTION, TESTING AND ACCEPTANCE TESTING:

8.1	Measurement:

    - The measurement books are to be maintained by the officer in-charge of the work or his immediate engineering subordinate not below the rank of Junior Telecom Officer. The entry shall be made in ink.  No entry shall be erased.  If a mistake is made, it should be corrected by crossing out the incorrect words or figures and inserting the corrections, the corrections thus made shall be initialed & dated by the officer concerned.

8.1.2.	Responsibility of taking and recording measurements: The measurement of various items of work shall be taken and recorded in the measurement book   issued with each work order.  The measurement shall be taken and recorded by an officer not below the rank of Junior Telecom Officer, supervising the work.  The Junior Telecom Officer /Sub Divisional Engineer, directly responsible for supervision of work, shall be responsible for accuracy of 100% of measurement.  The Sub Divisional Engineer where Junior Telecom Officer is supervising officer shall be responsible for conducting test check of 50% of measurements.  The Divisional Engineer shall be responsible for conducting test check of 10% of measurement.

    - Method of recording of nomenclature of items: Complete nomenclature of items, as given in the agreement need not be reproduced in the measurement book for recording the measurements but corresponding Item Code as provided, shall be used.

    - Method of measurements: The  measurements of the work shall be done for activity-wise as and when  the item of work is ready for measurement . The methods of measurement of various items are enumerated as under:

- Measurement of depth of tenders.

The cable routes of one work order shall be divided into a number of segments each of maximum 100 meters length bounded by identifiable at both the ends of these aments.  If landmarks are not available, length of segment may be maintained at 100 meters.  The measurement of depth shall be recorded at each point of measurement (POM) in the measurement book in meters in the multiple of 5cms.  For example 97 cms will recorded as 95 cms.  And 103 cms as 105 cms. The point of measurements shall beat a distance of 10 meter starting from 0 (zero) Meter.  For example, if the length of segment is 75 meters, the POMs shall be at 0 M ,10 M, 20 M, 30 M, 40 M, 50 M, 60 M, 70 M,  The last POM shall be at 75” M to be recorded against Residual POM for each segment the average depth shall be worked out by dividing the total depth by number of POMS.

The efforts required to excavate trenches is not proportionate especially with reference to depth.  Therefore, normally the workers tend to dig shallow trenches .  As standard depth of the trench is important for future life and protection of cables, this tendency has to be discouraged in order to encourage the contractor to achieve best possible depth in the face of site constraints, the following scale of payment shall be applied for digging trenches of lesser depth, subject to condition that relaxation has been granted by the competent authority for lesser depth.

| Above | 5 pair Cable | For 5 pair | Cable |
| --- | --- | --- | --- |
| Depth between | Reduction in rate | Depth between | Reduction in rate |
| 90 Cms. to 99 Cms. | Proportionate of approved rates | 50 Cms. To 59 Cms. | Proportionate of approved rate. |
| 80 Cms. to 89 Cms. | 75% of approved rates | 40 Cms. To 49 Cms. | 75% of approved rates |
| 70 Cms. to 79 Cms. | 65% of approved rates | 30 Cms. To 39 Cms. | 65% of approved rates |
| 60 Cms to 69 Cms. | 50% of approved rates | 20 Cms. To 29 Cms | 50% of approved rates |
| 50 Cms. to 59 Cms. | 40% of approved rates |  |  |
| 40 Cms to 49 Cms. | 30% of approved rates |  |  |
| 30 Cms. to 39 Cms | 20% of approved rates |  |  |
| 20 Cms to 29 Cms. | Nil |  |  |
| 10 Cms. to 19 Cms | Nil |  |  |
| Below 10 Cms | Nil |  |  |

- Measurement of lengths and profiles of strata and protection :

The measurements of length of trenches are on running meter basis, inspective of type of soil encountered while digging.

The type of protection provided (item code-wise ) in a segment shall be recorded in the measurement book in the sheet provided for this purpose.

- Measurement of length of cable.  The length of cables laid in trenches, through pipes and through ducts shall be measured by use of RODO Meter/ Measuring Tape.  The length should be cross-verified with the marking of lengths on the cables.  The lengths shall be recorded in sheet provided in the measurement book.

- Measurement of other items:  The measurement/numerical details of other items shall be recorded in the sheets provided for respective items viz:

- Digging of joint pit and preparation of joint chamber along with its type i.e. Brick chamber or Pre Cast RCC type.

- Fixing, Painting and sign writing of route/joint indicators

    - The contractor shall sign all the measurement recorded in the measurement book.  The contractor, of measurements recorded in the MB, will consider this as an acceptance.  In case contractor fails to attend at the measurements or fails to countersign or to record the difference with in a week, then in any such events the measurements taken by Engineer-in-charge or by the subordinate as the case may be shall be final and binding on the contractor and the contractor shall have no right to dispute the same.

    - The Divisional Engineer before passing the bill for sections covered by each set of measurement may carry out test check by re-opening  trench at as many locations as necessary as specified in document ‘ procedures for underground cable construction’ bills will be passed when he is personally satisfied of the correctness of  entries of the  “measurement Book”  and also when he is satisfied of other aspects of the work as per  the terms of the contract .  The contractor shall provide the necessary assistance of labour for re-opening of trench for test check by the Divisional Engineer.  Separate payment shall not be made to the contractor for excavation of such test checks, however such test pits shall not be more than 10% of the cable laying work.

    - Measurement of the work of cable pulling through pipe/duct will be taken equal to the length of the pipe / duct through which the cable has been pulled and not the total length of the cable pulled through pipe / duct.

8.2	Inspection and Quality Control :

8.2.1.	The Quality of Works:	The importance of quality of UG Cable Construction works cannot be over-emphasized.  The quality and availability of long distance media and efficiency of the reliable media connectivity to exchanges depends up on quality of laying of UG Cable.  Further, the UG cables are vulnerable to damages due to work of other agencies.

    - The quality of UG cable Plant depends upon the quality of individual items of work involved viz Depth of Cables laid, care while paying & laying, Protection, Jointing of Cables and Terminations in equipment room and at last but not the least on documentation of cable network.  In order to ensure quality in Cable Construction  Work, each component of work needs attention.  The works shall be carried out strictly in accordance with specifications laid down to achieve the requisite quality aim.

    - It is importance that the contractor(s) is/are fully conversant with the construction practices and shall be fully equipped to carry out the work in accordance with the specifications.  The contractors are expected and bound to ensure quality in construction works in accordance with specifications laid down.  The contractor shall engage adequate and experienced supervisors to ensure that works are carried out as per specifications and with due diligence and in a professional manner.  The contractors shall satisfy himself/themselves that the work conforms to the quality specifications before offering the same to A.T. Wing for Acceptance testing.

    - An assessment of extent of interest shown by the contractors in executing the works with requisite quality shall be recorded and used in evaluating the Contractors’ Performance Rating (CPR).

    - In addition to Acceptance Testing being carried out by A.T. Wing and supervision by Construction Officers, all works at all times shall be open to inspection of the department.  The contractors shall be bound, if called upon to do so, to offer the works for inspection without any extra payment.

    - Site Order Book :  The site order book is one of the primary records to be maintained by the JTO supervising the work during the course of execution of works.  The noting made by officers as well as contractors, will form as basis for operation of many contractual clauses.  The contractor shall remove all the defects pointed out by the department  in the Site order book.  The site order book is to be maintained in the prescribed format.  The contractor or their authorized representatives shall also be at liberty to note their difficulties etc. in these books.  The site order books shall invariably be consulted at the time of making final payments to the contract.

8.3	Testing and Acceptance Testing:

    - The work shall be deemed to have been completed only after the same has been accepted by the A/T  Officer.  The contractor shall make test pits at the locations desired  by A.T. Officer for conducting test checks without any extra payment.  The contractor shall restore the pits after test measurements to its original shape.  The contractor shall be responsible to provide test/measurement tools and testers  for conducting various tests.

8.3.2.	Scope of Acceptance and Testing:    The purpose of acceptance and testing is to verify integrity of  measurement and quality of work done.  The A.T. Officer /shall not be responsible for recording of measurements for the purpose of billing and contractual obligations.  However, if the measurements taking by A.T. Officer are found to be lesser than the measurements recorded by the officer responsible for recording the measurements, the measurement taken by A.T. Officer shall prevail without prejudice to any punitive action against the contractors as per provisions of the contract and the officer recording the measurements.  The contractor shall be obligated to remove defects/ deficiencies pointed out by the A.T. Officer without any additional cost to the department.

    - Offering the work for acceptance and testing:  The Sub Divisional Engineer  responsible for construction, after having satisfied himself of completion of work ready for A.T., shall offer the work to A/T. Officer for conducting

    - Acceptance and Testing .  The work shall be offered for A/T. as soon as part of work is complete in all respects.  The work against any work order can be offered for A/T. in a number of stages.

    - The contractor shall provide labour, if demanded by the A/T Officer for digging of test pits and other necessary infrastructure for carrying out the A/T work.  No extra payment will be made for the digging of test pit.

- WARRANTY:

  - The contractor shall warrant that the material supplied for the work shall be new and free from all defects and faults in material, workmanship and manufacture and shall be of the highest grade and consistent with the established and generally accepted standards for materials of the type ordered and shall perform in full conformity with the specifications and drawings.  The contractor shall be responsible for any defects that may develop under the conditions provided by the contract and under proper use, arising from faulty materials, design or workmanship such as corrosion of the equipment, inadequate quantity of materials etc. and shall remedy such defects at his own cost when called upon to do so by the Department who shall state in writing in what respect the stores are faulty.  This warranty shall survive inspection or payment for, and acceptance of goods, but shall expire except in respect of complaints notified prior to such date, twelve months after the acceptance testing.

  - If it becomes necessary for the contractor to replace or renew any defective portion/portions of the material under this clause, the provisions of the clause shall apply to the portion / portions material so replaced or renewed or until the end of the above period of twelve months, whichever may be later.  If any defect is not remanded within a reasonable time, as prescribed by the department, the Department may proceed to do the work at the contractor’s risk and costs, but without prejudice to any other rights which the Department may have against the contractor in respect of such defects.

9.3	The Cable joint shall be guaranteed for a period of ONE year from the date of closing of joint.  In case of failure of the joint due to poor workmanship i.e. failure of joint without external damage, with in the stipulated period of guarantee the contractor shall repair the joint(s) at his own cost within 24 hours of informing him, failing which the department may carry out the repairs and penalty equivalent to five times of the approved rate of the jointing work plus the cost of materials used shall be recovered from the contractor from his pending bill/SD or any amount due to him without prejudice to any other action as per terms and conditions of the tender.  The cost of jointing kit, supplied by the department, so used to revive the joint shall be deducted from the running bills of the contractor pending for payment or from security if all bills have been settled.

9.4	Replacement under warranty clause shall be made by the contractor free of all charge sat site including freight, insurance, cost of works and other incidental charges.

- AUDIT AND TECHNICAL EXAMINATION :

  - Government shall have the right to cause an audit and technical examination of the work and the final bills of the contractor including all supporting vouchers, abstract etc. to be made after payment of the final bill and if as a result of such audit and technical examination any sum is found to have been overpaid in respect of any work done by the contractor under the contract or any work claimed by him to have been done by him under the contract and found not to have been executed, the contractor shall be liable the refund the amount of over payment and it shall be lawful for Government to recover the same from him in the manner prescribed in clause with the heading payment of bills  (same chapter), or any other manner legally permissible and if it is found that the contractor was paid less than what was due to him under the contract in respect of any work executed by him under it, the amount of such under payment , shall be duly paid by Government to the Contractor.

  - Provided that Government shall be entitled to recover any sum overpaid, for the contractor shall be entitled to payment of any sum paid short where such payment have been agreed upon between the Divisional Engineer or his subordinate officer on one hand and the contractor on the other under any term of the contract permitting payment for work after assessment by the GMTD, Jammu or his subordinate officer.

  - Any sum of money due and payable to the contractor (including security deposit returnable to him ) under his contract may be appropriate by the government for the payment of a sum of money arising out or under any other contract made by the contractor with the Government.

- PAYMENT TERMS:

  - Procedure for Preparation and settlement of bills:

    - All items of work involved in the work order shall be completed in all respects before preferring the bills for the work.  The provision of running bills has been made to make it easy for the contractor to manage his cash flow and to complete the work systematically and meaningfully in a shortest possible time.  The procedure for preparation of running and final bills is enumerated as under: -

11.1.1.1 Procedure for preparation, processing & payment of running bills:

The contractor shall prepare the running bills in triplicate ensuring execution of part work in its completeness as envisaged above, correctness of rates and quantum of work and submit the bills to S.D.E. in-charge  of work.  The bills shall be prepared accurately and as per measurements recorded in the measurement book.  The S.D.E. in-charge shall record the certificate on the running bill that the site order books have been consulted before signing the running bills.  This would enable the S.D.E. to ensure whether the defects pointed during execution have been rectified or not.  The S.D.E. in-charge of work shall scrutinize the bills and accord necessary certificates and submit the running bills with the documents as mentioned below to the Divisional Engineer in-charge of work.

*	First copy of bill with first copies of measurement sheets of measurement book.  (Payable Copy)

*	Second copy of bill with second copies of measurement sheets of measurement book. (Not for Payment).

*	Third copy of the bill with photocopies of measurement sheets (Not for Payment).

      - The Divisional Engineer shall exercise the prescribed checks on the bills and accord necessary certificates on the bills.  The Divisional Engineer shall retain the third copy in record and record it in the estimate file maintained in his office and send first and second copies with all documents to relevant higher office for processing of bills and release of payment.

      - The office cell dealing with UGC bills shall process the bills in the estimate file of the concerned work and scrutinize the bills vis-à-vis work order issued, sanctioned provisions in the estimate etc.  The bill shall be passed, after necessary scrutiny by Works Section, by the officer competent to pass the bill.  Against any running bill, payment to the extent of only 90% shall be made which shall be treated as an advance to the contractor.  7.5% of the bill amount towards Performance Security Deposit and Statutory taxes (Income Tax etc.) applicable to contract shall be deducted at the time of payment from each running bill.  Account payee cheque for the amount  passed in the bill will be issued only after the contractor gives a stamped receipt for the amount, if the bills are not pre-receipted.  Details of payment of all the bills shall be entered into contract’s ledger by Work Section of the Planning Cell.

      - In exceptional cases where work required for preferring a Running Bill can not be completed within reasonable time due to non-availability of stores or any other reason and where the department is responsible for delay, the concerned D.G.M. may permit payment of running bill (prepared without completing the work end –to-end for that unit of work) to the extent of 70 % so that the contractor does not face resource crunch. Such payment shall be treated as an advance payment to the contractor like any other Running Bills.

    - Procedure for preparation, processing and payment of final bill :  The contractor shall prepare the final bill in triplicate & acceptance and testing of all the works and submit the same to S.D.E. in-charge of work within 30 days of acceptance and testing and payment shall be made within three months if the amount of the contract is up to Rs. Two lac and in six months if the same exceed Rs. Two lacs, of the submission of such bill.  The final bill shall be prepared for all the measurements of all items involved in execution of complete work order.  The contractor shall prepare the final bill containing the following details: -

The bill for all the quantities as per Measurements at the approved rates

- Adjustment of amount received against running bills.

- Adjustment of performance security deposit and statutory taxes already recovered.

- Store reconciliation statement furnishing account of stores received against the work order and returned to the designated Store godown as surplus with requisite verification from store in-charge /S.D.E. in-charge of work.

- Letters of grant of E.O.T. (s), if work could not be completed within stipulated time.

- Six sets of bound documentation.

11.1.2.1.The S.D.E. in-charge of work shall scrutinize the final bill against the works entrusted and accord necessary certificates stating that the work has been executed satisfactorily in accordance with specifications and terms and conditions of the contract.  The S.D.E. shall verify the quantities of items of work with reference to measurements recorded in the measurement book (and also A/T reports in case of any deviations noted by A/T officer).  The S.D.E. in-charge of work shall submit the final bills, along with other documents mentioned above, with the documents as mentioned hereunder to the Divisional Engineer, in-charge of work.

*	Bill prepared by the contractor.

*	Material reconciliation statement.

*	Measurement Book.

*	A/T Certificate

*	The site order Book.

*	The hindrance register.

*	Details of recoveries/penalties for delays, damages to Department/

Third party properties as per provisions of the contract.  In case no recovery is to be made, NIL report needs to be submitted .

*	Details of empty cable drums cost which needs to be recovered from the bill.

      - The Divisional Engineer shall exercise the prescribed checks on the bills and accord necessary certificates on the bills.  The Divisional Engineer shall retain the third copy of the bill along with photocopies of other documents not available in his estimate file and send first and second copies of the bill, measurement book and other documents submitted by S.D.E. alongwith the bills as above to the higher office for processing and final payment.

      - The office cell dealing with UGC bills shall process the bills in the estimate file of the concerned work and scrutinize the bills vis-à-vis work order issued, sanctioned provisions in the estimate etc.  The office cell shall also scrutinize the bill to recover all the liabilities of the contractor and statutory taxes besides 7.5 % payments against security deposit.  The bill shall be passed, after necessary scrutiny by Works Section , by the officer competent to pass the final bill.

  - Procedure for Payment for sub standard works:

    - The contractors are required to execute all works satisfactorily and in accordance with the specifications.  If certain items of work are executed with unsound, imperfect or unskilled workmanship or with materials of any inferior description or that any materials or articles provided by him for execution of work are unsound or of a quality inferior to that contracted for a otherwise not in accordance with the contract (referred to as substandard work hereinafter), the Divisional Engineer in-charge shall make a demand in writing specifying the work, materials or articles about which there is a complaint.

    - Timely action by Construction Officers: Timely reporting and action, to a great extent, can prevent occurrence of sub standard work, which will be difficult or impossible to rectify later on.  It is incumbent on the part of Construction Officers to point out the defects in work in time during progress of the work.  The Junior Telecom Officer/Sub Divisional Engineer responsible for execution and supervision of work shall without any loss of time submit are port of occurrence of any sub standard work to the Divisional Engineer in-charge besides making an entry in the site order book.  A notice in respect of defective work shall be given to the contractor by Divisional Engineer in-charge in writing during the progress of work asking the contractor to rectify’ replace /remove the sub standard item of work and also definite time period within which such rectification/removal/replacement has to be done.  After expiry of the notice period, if the contractor fails to rectify/replace/remove the sub standard items, the defects shall be got rectified/replaced/removed departmentally or through some other agency at the risk  and cost of the contractor.

    - Non-reporting of the sub standard work in time on the part of Construction Officer (s) shall not in any way entitle the contractor to claim that the defects were not pointed out during execution and as such the contractor cannot be absolved of the responsibility for sub standard work and associated liabilities.

    - Authority and Procedure to accept sub standard work and payment thereof:  There may be certain items of work pointed out as sub standard which may be difficult to rectify and in the opinion of the Head of S.S.A. , the items in question will not materially deteriorate the quality of  service provided by the construction, the head of S.S.A. shall appoint committee to work out the reduced rates payable to the contractor for such sub standard work.  The Committee shall constitute one Divisional Engineer other than the one who is directly in-charge of Cable Construction involving sub standard items of work, as Chairman and one S.D.E. and an Accounts Officer as members.  The committee shall take into account the approximate cost of material /work pointed out as sub standard and recommend the rates payable for sub standard work which shall not exceed 60 % of the approved rates of the items  in question.

    - Record of sub standard work:  The items adjudged, as sub standard shall be entered into the measurement book with red ink.

12.	DISPOSAL OF EMPTY CABLE DRUMS :

  - The contractor shall be responsible to dispose off the empty cable drums after laying of the cable.  The competent authority taking in to account the prevailing market rates has fixed the cost of UG cable drums.  The cost of empty cable drums shall be deducted from the bill for the work on which the cable along with the drum has been issued or any other amount due to the contractor or from security deposit.

  - Rates fixed for UG cable drums are given in Tender Document (Qualifying Bid).  The rates are fixed and there is no percentage above or below applicable on these rates.

  - The contractor shall be responsible for the accounting of the cable drums issued and shall mention the number of cable drums in the bill so that the amount is deducted from the bills due.

  - The contractor shall not be allowed to dump the empty cable drums in Govt/public place, which may cause inconvenience to Govt./Public .  If the contractor does not dispose off  the empty cable drums with in 3 days of becoming empty, the department is at liberty to dispose off the drum in any manner deemed fit and also recover the amount fixed in this contract for empty cable drums along with the transportation charges (to be decided by (the GMTD Jammu))  from the bill/ security deposit/ any other amount due to the contractor.

13.	PENALTY CLAUSE:

13.1.	Delays in the contractor’s performance:

    - The time allowed for completion of the work as entered in the tender shall be strictly adhered by the contractor and shall be deemed to be the most important aspect of the contract on the part of the contractor and shall be reckoned from Seventh day from issue of work order by the Department. The work shall, throughout the stipulated period of contract, be proceeded with all due diligence to achieve the desired progress uniformly, and the contractor shall pay as penalty an amount equal to1.0 (One) percent of the   amount (minimum one thousand per week) of the incomplete work for every one week of delay, subject to a maximum of 10 (ten) percent of the cost of work awarded.

    - On any date the penalty payable as above, reaches 10(ten) percent of the estimated cost of the work, the contractor should proceed with the work further only on getting a written instructions from the Divisional Engineer that, he is allowed to proceed further with the work.  It will be in the discretion of the Divisional Engineer to allow the contractor to continue with the work on the basis of any written agreement reached between the contractor and the Divisional Engineer one of the conditions of such agreement may be a stipulation for the contractor to agree for realization of penalty for delay at a higher rate as may be agreed between the Divisional Engineer and contractor.

    - Penalty for delay in completion of the work shall be recoverable from the bills of the contractor and/ or by adjustment from the security deposit or from the bills of any other contract.  However, adjustment from security deposit will be made only when the contract has been terminated or at the time of final settlement of bills on completion of work.

    - In case of slow progress of the work in a section which have been awarded to a particular contractor, and the public interest does not permit extension of time limit for completion of the work, the GMTD Jammu   will have the full right to order that the scope of the contractor may be restricted to such fraction of the whole of the work and get the balance executed at the risk and cost of the contractor.  The details are given in Recession of the contract clause of the bid document.  All such payments shall be recovered from the contractor’s pending bills or security deposit.

    - The GMTD Jammu reserves the right of cancel the contract and forfeit the security deposit if the contractor fails to commence the work within 7 days after issue of the work order.

13.2.	Penalty for causing inconvenience to the Public :

13.2.1. To ensure progress during the execution of work and to cause minimum in convenience to the public, the contractor shall not dig a trench of more than 200 meters at a stretch in a route at a time.  He shall cause to lay cable and close such trenches expeditiously.  Under any circumstances stretch of trench of maximum 200 meters shall not be kept open for more than 4 days in case of cable laying by digging paved surfaces.  In the event of contractor failing to comply with , these conditions, a penalty of recovery up to Rs. 300/- per day the trench is kept open beyond the time limit allowed may be imposed by the department.  This penalty will be in addition to that payable for delay or slow work.

    - The contractor shall not be allowed to dump the empty cable drums /waste materials in Govt./Public place, which may cause inconvenience to Govt./Public.  If the contractor does not dispose off the empty cable drums/waste materials within 3 days of becoming empty, the department is at liberty to dispose off the drum in any manner deemed fit and also recover the amount fixed in this contract for empty cable drums/waste materials from the bill /security deposit along with the costs incurred by the department in disposing off such materials.  The Department may also levy a penalty up to Rs. One thousand for each such default.

    - If any such penalty is levied on a contractor for more than 2 occasions, then his/her contract could be terminated.  In this regard the decision of The GMTD Jammu shall be final and binding.

13.3.	Penalty for cutting/damaging the old cable:

    - During excavation of trench care is to be taken by the contractor, so that the existing underground cables are not damaged or cut.  In case any damage/cut is done to, the existing cables, a penalty as per the schedule given below will be charged from the contractor or the amount will be deducted from his running bills;

| Size of existing UG/ OF cables cut/damages | Amount of penalty per cut/damage |
| --- | --- |
| Upto 100 pairs cable | Rs. 500.00 (Five Hundred) |
| Above 100 pairs & up to 400 pairs | Rs, 1,000.00 (One thousand) |
| Above 400 pairs | Rs. 2,000.00 (Two thousand) |

Besides the above penalty, the contractor shall carry out such repairs for restoration of the damaged cable free of charge.  The cost of jointing kit shall also be borne by the contractor.  If contractor fails to repair the damage, the cost of repair (including cost of labour + jointing kit) shall be recovered from the contractor.

13.4	Penalty to damage stores/materials supplied by the department while laying

    - The contractor while taking delivery of materials supplied by the Department at the designated place shall thoroughly inspect all items before taking them over.  In case of execution of the work, if any material is found damaged/working unsatisfactorily, then a penalty equivalent to the cost of material + 10% as penalty shall be recovered from the contractor’s payments/ securities.

    - However, contractor will not be penalized for any defect in workmanship of the materials, which shall be taken up separately with the supplier of the stores.

14.	Rescission/ Termination of contract

14.1	Circumstances for rescission of contract:  Under the following  conditions the competent authority may rescind the contract :

- If the contractor commits breach of any items of terms and conditions of the contract.

- If the contractor suspends or abandons the execution of work and the engineer in-charge of the work comes to conclusion that work could not be completed by due date for completion or the contractor had already failed to complete the work by that date.

- If the contractor had been given by the officer-in-charge of work a notice in writing to rectify /replace any defective work and he/she fails to comply with the requirement within the specified period.

  - Upon rescission of the contract, the security deposit of the contractor shall be liable to be forfeited and shall be absolutely at the disposal of the Government as under: -

    - Measurement of Works executed since the date of last measurement and up to the date of rescission of contract shall be taken in the presence of the contractor or his authorized representative who shall sign the same in the MB.  If the contractor or his authorized representative do not turn up for joint measurement, the measurement shall be taken by the officer authorized for this purpose after expiry of due date given for joint measurement.  The measurement taken by the officer so authorized shall be final and no further request for joint measurement shall be entertained.

14.2.2	The unused material (Supplied by the Department) available at site, shall be transported back by the department to the Telecom Store at the risk and cost of the contractor.  If any such material is found damaged/lost then the penalty shall also be recovered from the contractor as per conditions in tender documents, ibid.

14.2.3  The un-executed work shall be got executed through the qualified bidder from the bidders, who participated in the bidding process, by giving them offers in their order of ranking (12,13--) at their quoted  rates.  If the work was awarded on single tender basis then the department shall get the unexecuted work completed through any other contractor approved in Jammu District at the approved rates of that particular section or to execute the work departmentally, as is convenient or expedient to the Department at the risk and cost of the contractor.  In such a event no compensation shall be payable by the Government to the contractor towards any inconvenience/loss that he may be subjected to as a result or such an action by the Government.  In this regard the decision of (the GMTD Jammu) shall be final and binding.  In all these cases, expenses which may be incurred in excess of the sum which would have been paid to the original contractor if the whole work had been executed by him shall be borne and paid by the original contractor and shall be deducted from any money due to him by the Government under the contract or any other account whatsoever any where in the department or from a security deposit.

14.2.4	The certificate of the Divisional Engineer in-charge of work as to the value of work done shall be final and conclusive against the contractor, provided always that action shall only be taken after giving notice in writing to the contractor.

  - Termination for Insolvency:

    - The Department may at any time terminate the Contract by giving written notice to the Contractor , without compensation to Contractor, if the Contractor becomes  bankrupt or otherwise insolvent as declared by the competent court provided that such termination will not prejudice or affect any right or action or remedy which has accrued or will accrue thereafter to the Department.

  - Optional Termination by Government (Other than due default of the Contractor):

    - The Government may, at any time, at its option cancel and terminate this contract by written notice to the contractor, in which event the contractor shall be entitled to payment for the work done up to the time of such cancellation and a reasonable compensation in accordance with the contract prices for any additional expenses already incurred for balance work exclusive of purchases and/or whole of material, machinery and other equipment for use in or in respect of the work.

    - In the event of the termination of the contract, the contractor shall forthwith clear the site of all the contractor’s materials, machinery and equipment’s and hand over possession of the work/operations concerned to the Government or as the Government may direct.

    - The Government may, at its option, cancel or omit the execution of one or more items of work under this contract and may part of such items without any compensation whatsoever to the contractor.

  - Issuance of Notice:

14.5.1. The Divisional Engineer in-charge of work shall issue show cause notice giving details of lapses, violation of terms and conditions of the contract, wrongful delays or suspension of work or slow progress to the contractor directing the contractor to take corrective action.  A definite time schedule for corrective action shall be mentioned in the show cause notice.  If the contractor fails to take corrective action within the stipulated time frame, the Divisional Engineer in –charge shall submit a draft of final notice alongwith a detailed report to the competent authority who had accepted the contract.

14.5.2. The final notice for rescission of contract to the contractor shall expressly state the precise date and time from which the rescission would become effective.  The following safe guards shall be taken while issuing the final notice.

- During the period of service of notice and its effectiveness, the contractor should not be allowed to remove from the site any material/equipment belonging to the department.

- The contractor shall give in writing the tools and plants he would like to take away/remove from the site.  Such of the materials as belong to him and which may not be required for future execution of balance work may be allowed by the Divisional Engineer in-charge of work to be removed with proper records.

- No new construction beneficial to the contractor shall be allowed.

- Adequate departmental security arrangement in replacement of the contractor watch and ward shall be made forthwith.  Expenses on this account are recoverable from the security deposit or any amount due to the contractor.

15.	INDEMENITIES :

  - The contractor shall at all times hold the government harmless and indemnify from against all action, suits, proceedings, works, cost, damages, charges claims and demands of every nature and descriptions, brought or procured against the Government , its officers and employees and forthwith upon demand and without protect or demur to pay to the Government any and all losses and damages and cost (inclusive between attorney and client) and all costs incurred in endorsing this or any other indemnity or security which the Government may now or at any time have relative to the work or the contractors obligation or in protecting or endorsing its right in any suit on other legal proceeding, charges and expense and liabilities resulting from or incidental or in connection with injury, damages of the contractor or damage to property  resulting from or arising out of or in any way connected with or incidental to the operations caused by the contract documents.  In addition the contractor shall reimburse the Government or pay to the Government forthwith on demand without protect or demur all cost, charges and expenses and losses and damages otherwise incurred by it in consequence of any claim, damages and actions which may be brought against the Government arising out of or incidental to or in connection with the operation covered by the contractor.

  - The contractor shall at his own cost at the Government’s request defend any suit or other  proceeding asserting a claim covered by this indemnity, but shall not settle, compound or compromise any suit or other finding without first consulting the Government.

16.	FORCE MAJEURE:

  - If any time, during the continuance of this contract , the performance in whole or in part by either party or any obligation under this contract shall be prevented or delayed  by reason of any war, or hostility , acts of the public enemy, civil commotion sabotage, fires, floods, explosions, epidemics, quarantine restrictions, strikes , lockouts or act of God (Herein after referred to as events) provided notice of happenings, of any such eventuality is given by either party to the other within 21 days from the date of occurrence thereof,  neither party shall by reason of such event be entitled to terminate this contract nor shall either party have any such claim for damages against the other in respect of such non-performance and work under the contract shall be resumed as soon as practicable after such event may come to an end or cease to exist, and the decision of the Department as to whether the work have been so resumed or not shall be final and conclusive ,provided further that if the performance ,in whole or part of any obligation under this contract is prevented or delayed by reason of any such event for a period exceeding 60 days either party may , at his option terminate the contract.

  - Provided also that if the contract is terminated under this clause, the Department shall be at liberty to take over from the contractor at a price to be fixed by the Department, which shall be final, all unused, undamaged and acceptable materials bought out components and stores in the course of execution of the contract, in  possession of the contractor at the time of such termination of such portions thereof as the Department  may deem fit excepting such materials bought out components and stores as the contracts may with the concurrence of the Department elect to retain.

17.	ARBITRATION :

  - In the event of any question, dispute or difference arising under this agreement or in connection there-with except as to matter the decision of which is specifically provided under this agreement, the same shall be referred to sole arbitration of the Chief General Manager, Rajasthan Circle or in case his designation is changed or his office is abolished then in such case to the sole arbitration of the officer for the time being entrusted whether in addition to the functions of the Chief General Manager Chief General Manager ,Rajasthan Circle or by whatever designation such officers may be called  (hereinafter referred to as the said officer ) and if the Chief General Manager, ( Name of the Circle) or the said officer is unable to act as such to the sole arbitration or some other person appointed by the Chief General Manager, or the said officer.  The agreement to appoint an arbitrator will be in accordance with the Arbitration and Conciliation Act 1996. There will be no objection to any such appointment that the arbitrator is Government Servant or that he has to deal with matter to which the agreement relates or that in the course of his duties as Government Servant has expressed view on all or nay of the matter under dispute. The award of the arbitrator shall be final and binding on the parties. In the event of such arbitrator to whom the matter is originally referred, being unable to act for any reasons whatsoever such Chief General Manager or the said officer shall appoint another person to act as arbitrator in accordance with terms of the agreement and the person so appointed shall be entitled to proceed from the stag at which it was left out by his predecessors.

  - The arbitrator may from time to time with the consent of parties enlarge the time for making and publishing the award, subject to aforesaid Indian Arbitration and Conciliation Act 1996 and the rules made there under, any modification thereof for the time being in force shall be deemed to apply to the arbitration proceeding under this clause.

  - The venue of the arbitration proceeding shall be the office of the Chief General Manager, (Name of the circle) or such places as the arbitrator may decide. The following procedure shall be followed:

    - In case parties are unable to reach a settlement by themselves, the dispute should be submitted or arbitration in accordance with contract agreement.

    - There should not be a joint submission with the contractor to the sole arbitrator.

    - Each party should submit its own claim severally and may oppose the claim put forward by the other party.

    - The onus of establishing his claims will be left to the contractor.

    - Once a claim has been included in the submission by the contractor, a reiteration or modification there of will be opposed.

    - The “points of defense” will be based on actual conditions of the contract.

    - Claims in the nature of ex-gratia payment shall not be entertained by the Arbitrator as these are not contractual.

    - The question whether these conditions are equitable shall not receive any consideration in the preparation of “points of defense”.

    - If the contractor includes such claims in his submission, the fact that they are not contractual will be prominently placed before the Arbitrator.

The award of the sole Arbitrator hall be final and binding on all the parties to the dispute.

- SET OFF:

  - Any sum of money due and payable to the contractor (including security deposit refundable to him) under this contract may be appropriated by the department or the Govt. or any other person contracting through the Govt. of India and set off the same against any claim of the Department or Govt. such other person or persons for payment of a sum of money arising out of this contract made by the Contractor with Department of Govt. or such other person contracting through Govt. of India.

SECTION VI

SPECIAL CONDITIONS OF CONTRACT

- GENERAL

  - The work shall be accepted only after Acceptance Testing carried out by DOT / BSNL team, designated by the Department, as per prescribed schedule and work / material passing the test successfully.

  - The department reserves the right to disqualify such bidders who have a record of not meeting contractual obligations against earlier contracts entered into with the department.

  - The department reserves the right to black list a bidder for a suitable period in case he fails to honour his bid without sufficient grounds.

  - The department reserves the right to counter offer price(s) against price(s) quoted by any bidder.

  - Any clarification issued by department in response to query raised by prospective bidders shall form an integral part of bid documents and it may amount to amendment of relevant clause of the bid documents.

  - Tender will be evaluated as a single package of all the items given in the price schedule.

  - All work to be executed under the contract shall be executed under the direction and subject to the approval in all respects of by the Divisional Engineer or Site Engineer in-charge or work site who shall be entitled to direct at what point or points and what manner they are to be commenced, and from the time to time carried on.

  - The work in each section may be spilt up between two or more contractors or accept any tender in part and not entirely if considered expedient by The GMTD Jammu .

  - If the contractor shall desire an extension of time for completion of the work on the grounds of unavoidable hindrance in execution of work or on any other ground he shall apply in writing to the Divisional Engineer within 3 days of the date of hindrance on account of which he desired such extension as aforesaid. In this regard decision of The GMTD Jammu shall be final.

  - If at any time after the commencement of the work, the Department may feel that execution of whole or part of work, as specified in the tender is not required to be carried out, then the Department shall give notice in writing of the fact to the contractor who shall have no claim to any payment of compensation whatsoever on account of any profit or advantage which he might have derived in consequence of the full amount of the work not having been carried out neither shall be have any claim for compensation by reason of any alterations having been made in the original specifications, drawings, designs and instructions which shall involve any curtailment of the work as originally contemplated.

  - Whenever any claims against contractor for the payment of a sum of money arises out of or under the contract, the department shall be entitled to recover such sum by appropriating in part or whole the security deposit of the contractor, and to sell any Government promissory notes etc, forming the whole or part of such security or running / Final bill pending against any contract with the Department. In the event of the security being insufficient or if no security has been taken from the contractor, then the balance or the total sum recoverable as the case may be, shall be deducted from any sum then due or which at any time there after may become due to the contractor under this or any other contract with Government, should this sum be not sufficient to cover the full amount recoverable the contract or shall pay to department on demand the balance remaining due.

  - No official of Gazetted rank or other Gazetted officer employed in Engineering or administrative duties in an Engineering Department or any other Department of the Government of India is allowed to work as a contractor for a period of two years after his retirement from Government service without the previous permission of Government of India. This contract is liable to the cancelled if either the contractor or any of his employee is found at any time to be such a person who hadn’t obtained the permission of Government of India as aforesaid before submission of the engagement in the contractor’s service as the case may be.

  - In the event of the contractor being, adjusted insolvent or going voluntarily into liquidation of having received order or other order under insolvency act made against him or in the case of company, of the passing of any resolution or making of any order for winding up whether voluntarily or otherwise, or in the event of the contractor failing to comply with any of the conditions herein specified, the GMTD Jammu, shall have the power to terminate the contract without any notice.

  - Without prejudice to any of the rights or remedies under this contract, if the contractor dies, the  GMTD Jammu on behalf of the president can terminate the contract without compensation to the contractor. However The GMTD Jammu, at his discretion may permit contractor’s heirs to perform the duties or engagement of the contractor under the contract, in case of his death. In this regard the decision of The GMTD Jammu  shall be the final.

  - In the event of the contractor, winding up his company on account of transfer or merger of his company with any other, the contractor shall make it one of the terms and stipulations of the contract for the transfer of his properties and business, that such other person or company, shall continue to perform the duties or engagement of the contractor under this contract and be subject to his liabilities there under.

  - Interpretation of the contract document:

    - The representative of The GMTD Jammu and the contractor shall in so far as possible by mutual consultation, try to decide upon the meaning and intent of the contract document. In- case of disagreement the matter shall be referred to The GMTD Jammu whose decision shall be final. Any change in the contract documents shall be set forth in writing by the representative of the parties hereto. It shall be the contractor’s responsibility to thoroughly familiarize all of his supervisory personnel with the contents of all the contract documents.

  - Notification

    - The contractor shall give in writing to the proper person or authority with a copy to the Divisional Engineer such notification as may be mandatory or necessary in connection with the commencement, suspension, resumption, performance and / or completion of the contract work. All notice shall be given sufficiently in advance of the proposed operation to permit proper co-relation of activities and the contractor shall keep all proper or authorities involved and advised of the progress of operations through out the performance of the work and / or with such other information and / or supporting figure and data as may from time to time as directed or required.

  - Shut down on account of weather conditions:

    - The contractor shall not be entitled to any compensation whatsoever by reason of suspension of the whole or any part of the work made necessary by the Government or demand advisable on account of bad weather conditions or other force majeure conditions.

- STORES SUPPLIED BY THE DEPARTMENT:

  - At no point of time the contractor shall be issued stores of value more than the contractor’s material security as per clause number 5 (i) of section III. If at all the work requires more amount of material to issued to the contractor, then the security shall suitably be revised before the issue of eh store and the contractor will not have any objection to it.

  - The contractor shall transport (including loading and unloading) all stores issued to him from District Telecom Store, to the site of work at his own cost. The Department shall not pay any transportation charges to the contractor.

  - All material supplied to the contractor by the Department shall remain the absolute property of Department and shall not be removed from site of the work except for use in the work and shall be at all times open to inspection by the Representative of The GMTD Jammu  In case the materials like cable and accessories are taken delivery of the contractor and stored at the site office / store of the contractor such site office / store will also be treated “as site” for this purpose. Any such materials remaining unused at the time of the abandonment, completion or determination of the contract shall be returned to the Departmental a place informed to him by the Department, failing which the cost of the unused materials shall be deducted from the contractor’s martial security or any of his pending bills or from any other security.

  - The contractor shall be responsible for the transportation of store, storage and safe custody of all material supplied to him by the Department, which in the contractor’s custody whether, or not installed in the work. The contractor shall satisfy himself regularly the quality of the materials supplied to him and he will be responsible for any subsequent deterioration and discrepancy (inclusive of theft) in the quantity / quality of the materials.

  - The contractor shall submit a purport account every month of all the materials supplied to him by the Department and those consumed for items of work any discrepancy of difference between the materials issued to the contractor and those consumed in the work as per the “Department’s Calculation” (which shall be final) will be charged to the contractor or deducted from his bills at 1.5 times of prevailing standard price including freight, handling charges, storage charges etc.

  - The contractor shall ensure that only the required materials are issued to him. Upon completion of work, the contractor shall return to the Govt. at the later designated store in good condition, free of charges, any unused materials that were supplied by the department.

- EASEMENTS, PERMITS, LICENCES AND OTHER FACILITIES:

  - The contractor shall obtain / provide at his own cost all easements, permits and license necessary to do its work except for the following which shall be provided by the representative of the (The GMTD Jammu / Director (Projects)):

- “Right of User” easements and permits

- Railway and Highway crossing permits including bridge

- Canal / Stream crossing permits.

  - The contractor shall be fully responsible for angling and obtaining all necessary easements, permits and license, for moving all construction equipment, tools supplied materials and men across Railway and highways, across public or private road as well as premises of any public utility with in the right of user and for bearing all costs that may be incurred in respect of the same.

  - The contractor is to confine his operation to the provided construction “Right of user” unless it has made other arrangements shall be entirely at the responsibility of the contractor as to cost and arrangements as also breach and claim and shall be entitled with a copy to the Divisional Engineer.

  - The contractor will not be entitled to extra compensation for hardship and increase in cost by the cable trench being routed adjacent to or across other pipeline, highway, Railway, telephones or poser poles and wires or guy wires, embankments, clefts, streams or other obstacles with may physically or otherwise in any manner, restrict or limit the use of the construction “Right of User”. Some construction and such contingency shall be deemed to have been providing for in the rates.

  - At location where the OF Cable trench is routed across or along railway or roads the contractor shall without extra cost provide and maintain such detours and road controls as are required by the railways or government or local agencies having jurisdiction.

  - If the department is not able to provide above mentioned permits etc, in time then the extension of time limit shall be provided as per EOT clause given in tender document.

- QUALITY OF WORK

  - The department shall be the final judge of the quality of the work and the satisfaction of the department in respect of set forth in the contract documents. Laxity or failure to enforce compliance with the contract documents by the department and / or its representative shall not manifest a change or intent of waiver, the intention being that, not withstanding the same, the contractor shall be and remain responsible for complete and proper compliance with the contract documents and the specification there in. The representative of The GMTD Jammu has the right to prohibit the use of men and any tools, materials and equipments which in his opinion do not products work or performance meet the requirement of the contract documents.

5.	TAXES AND DUTIES:

  - Contractor shall pay all rates, levies, fees royalties, taxes and duties payable or arising from out of, by virtue of or in connection with and/or incidental to the contract or any of the obligation of the parties in terms of the contractor documents and / or in respect of the works or operations or any part thereof to be performed by the contractor and the contractor shall indemnify and keep indemnified the Department from and against the same or any default by the contractor in the payment thereof.

6.	PROTECTION OF LIFE AND PROPERTY AND EXISTING FACILITIES:

  - The contractor is fully responsible for taking all possible safety precaution during preparation for and actual performance of the works and for keeping the construction site in a reasonable safe condition.  The contractor shall protect all life and property from damage or losses resulting from his construction operation and shall minimize the disturbance and inconvenience to the public.

  - If the excavation of trench alters the contours of the ground around road and highway crossing in such locations dangerous to traffic, the contractor shall at his own cost, take all necessary precautions to protect public and shall comply with all the Department regulations as to placing of warning boards  (Minimum size 3’ x 2’ ) ,traffic signals, barricades, flags etc. at such location.   If the contractor does not put the warning signals as per above directions, then a penalty of Rs. 500/- per day shall be levied on the contractor, till the directions are complied by the contractor.  The constructor shall take due precautions to avoid damages to other pipe lines, water mains, sewers, telephones, telegraphs ad power conduits, lapidaries poles and guy wires, railways, highways, bridges or other underground or above ground structure and/ or property crossing or adjacent to the cable trench being excavated.

  - Attention of the contractor is drawn to the rules regarding laying of cables abroad crossing, along Railways Bridges, Highways safety precautions while working in Public Street.  The contractor in writing shall obtain the detailed engineering instructions from the Divisional Engineer of the area.

  - The contractor shall be solely responsible for location through approved non-destructive means and ensuring the safety of all existing underground pipelines, electrical cables, and or other structures.

  - The contractor shall be solely liable for all expense for an in respect of repairs and / or damage occasional by injury of or damage to such underground and above structures or other properties and under take to indemnify the Department from and against all actions, cause of actions, damages, claims and demands what-so-ever, either in law or in equity and all losses and damages and costs  (inclusive between attorney and client), charges and expenses in connection therewith and / or incidental thereto.  The contractor shall take all responsibilities,  and risk in crossing other pipelines and cables and shall be responsible for protecting all such existing pipelines, poles, electric lines, sewers, cables or other facilities from damage by the contractor’s operation in connection with the work.  The contractor without cost of  the Department shall promptly repair any damage incurred.

  - The current market value of any commodities lost as a result of any damage to the aforesaid existing facilities shall be paid by

  - The contractor together with such additional sums necessary to liquidate the personal of property damages, resulting there from.

7.	LABOUR WELFARE MEASURES AND WORKMAN COMPENSATION

7.1 	Obtaining License before commencement of work:

The contractor shall obtain availed labour license under the Contract labour (R&A  Act 1970 and the  Contract  Labour (Regulation and Abolition ) Central Rules 1971 , before commencement of the work, and continue to have a valid license until the completion of work.  The contractor shall also abide by the provisions of the Child Labour (Prohibition and Regulation ) Act 1986 .  Any failure to fulfill the requirement shall attract the penal provisions of this contract arising out of the resultant non execution of work.

7.2  	Contractors Labour Regulations:

7.2.1.1	Normally working hours of an employee should not exceed 9 hours a day.  The working day shall be so arranged that inclusive of interval for rest, if any, it shall not spread over more than 12 hours on any day.

      - When a worker is made to work for more than 9 hours on any day or for more than 48 hours in any week he shall be paid over time for the extra hours put in by him.

      - Every worker shall be given a weekly holiday normally on a Sunday, in accordance with the provision of Minimum Wages (Central) Rules 1960 as amended from time to time, irrespective of whether such worker is governed by the Minimum Wages Act or not.

      - Where the minimum wages prescribed by the Government, under the Minimum Wages Act, are not inclusive of the wages for the weekly day of rest, the worker shall be entitled to rest day wages, at the rate applicable to the next preceding day, provided he has worked under the same contractor for a continuous period of not less than 6 days.

      - Where a contractor is permitted by the Engineer–in-charge to allow a worker to work on a normal weekly holiday, he shall grant a substituted holiday to him for the whole day, on one of the five days, immediately before or after the normal weekly holiday, and pay wages to such worker for the work performed on the normal weekly holiday at the overtime rate.

- The bidders are abide by the provision of EPF & misc provision Act 1952 and Employees Provident Fund scheme 1952 in respect of labourers/employees engaged by them for performing the work of BSNL.

- The claim bills submitted by the contractors must accompany the

  - List showing the details of labourers/employees engaged.

  - Duration of their engagement

  - The amount of wages paid to such labourers/employees for the duration in question.

  - Amount of EPF contribution (Both employers and employees contribution) for the duration of engagement in question, paid to EPF authorities.

  - Copies of authenticated documents of payment of such contribution to EPF authorities.

  - A declaration from the contractors regarding compliance of the condition of EPF Act 1952.

  - The contractor should be registered with EPF authorities, same should be produced before signing the agreement.

7.2.2. 	Display of Notice Regarding Wages etc.

The contractor shall, before he commences his work on contract, display  and correctly maintain and continue to display and correctly maintain, in a clear and legible condition in conspicuous places on the work, notices in English and in local Indian languages spoken by the majority of the workers, giving the minimum rates of the wages fixed under Minimum Wages Act, the actual  wages being paid, the hours of work for which such wage are earned, wages period, dates of payments of wages and other relevant information.

7.2.3. 	Payment of Wages.

      - The contractor shall fix wage periods in respect of which wages shall be payable.

      - No wage period shall exceed one month.

      - The wages of every person employed as contract labour in an establishment or by a contractor, where less than one thousand such persons as employed, shall be paid before the expiry of seventh day and in other cases before the expiry of tenth day after the last day of the wage period in respect of which the wages are payable.

      - Where the employment of any worker is terminated by or on behalf of the contractor, the wages earned by him shall be paid before the expiry of the second working day from the date on which his employment is terminated.

      - All payment of wages shall be made on a working day at the work premises and during the working time and on a date notified in advance and in case the work is completed before the expiry of the wage period, final payment shall be madewithin48 hours of the last working day,

      - Wages due to every worker shall be paid to him direct or to other person authorized by him in this behalf.

      - All wages shall be paid in current coin or currency or in both.

      - Wages shall be paid without any deductions of any kind except those specified by the Central government by general or special order in this behalf or permissible under the Payment of Wages Act 1956.

      - A notice showing the wages period and the place and time of disbursement of wages shall be displayed at the place of work and a copy sent by the contractor to the Engineer –in-charge under acknowledgement.

      - It shall be duty of the contractor to ensure the disbursement of wages in presence of the site.  Engineer or any other authorized representative of the Engineer-in-charge who will be required to be present at the place and time of the disbursement of wages by the contractor to workmen.

      - The contractor shall obtain from the site Engineer or any other authorized representative of the Engineer –in-charge,  as  the case may be, a certificate under his signature at the end of the entries in the “ Register of Wages” or the “Wages-cum- Muster Roll “ , as the case may be, in the following form:-

“ Certified that the amount shown in the column No…….has been paid to the workman concerned in my presence on……..at……….”

7.2.4	Fines and deductions which may be made from wages .

      - The wages of a worker shall be paid to him without any deduction of any  kind except the following :-

- Fitness

(b)  Deductions for absence from duty i.e. from the place or the places where the terms of his employment he is required to work. The amount of   deduction shall be in proportion to the period for which he was absent.

- Deductions for damage to or loss of goods expressly entrusted to the

Employed person for custody, or for loss of money or any other deductions which  he is required to account ,where such damage or loss is directly attributable to his  neglect or default.

- Deductions for recovery of advances or for adjustment of overpayment of wages , advances granted shall be entered in a register.

- Any other deduction, which the Central Government may from Time to time, allow.

      - No fines should be imposed on any worker save in respect of such acts and omissions on his part as have been approved of by the Labour Commissioner.

      - No fine shall be imposed on a worker and no deduction for damage or loss shall be made from his wages until the worker has been given an opportunity of showing cause against such fines or deductions.

      - Every fine shall be deemed to have been imposed on the day of the act or omission in respect of which it was imposed.

7.2.5.	Labour records.

      - The contractor shall maintain a Register of Persons employed on work on contract in  form XIII of the Contract Labour (R&A) Central Rules 1971.

      - The contractor shall maintain a Muster Roll in respect of all workmen employed by him on the work under Contract in Form XVI of the CL (R&A) Rules 1971.

      - The contractor shall maintain a Wage Register in respect of all workmen employed by him on the work under contract in form XVII of the CL (R&A) Rules 1971.

      - Register of accidents - The contractor shall maintain a register of accidents in such form as may be convenient at the work place but the same shall include the following particulars:-

- Full Particulars of the laborers who met with accident.

- Rate of wages.

- Sex.

- Age.

- Nature of accident and cause of accident.

- Time and date of accident.

- Date and time when admitted in hospital.

- Date of discharge from the hospital.

- Period of treatment and result of treatment.

- Percentage of loss of earning capacity and disability as assessed by Medical Officer.

- Claim required to be paid under workmen’s Compensation Act.

- Date of payment of compensation.

- Amount paid with details of the person to whom the same was paid.

- Authority by whom the compensation was assessed

- Remarks.

      - The contractor shall maintain a Register of Fines in the form XII of the Cl (R&A) Rules 1971.  The Contractor shall display in a good condition and in a conspicuous place of work the approved list of acts and omission for which fines can be imposed.

      - The contractor shall maintain a Register of deductions for damages or loss in Form XX of the Cl (R&A) Rules, 1971.

      - The contractor shall maintain a Register of Advances in Form XXIII of the CL (R&A) Rules 1971.

      - The contractor shall maintain a Register of Overtime in Form XXIII of the CL (R&A) Rules 1971.

      - The contractor has to submit proof regarding No of employee’s engaged payment of wages/salary to these employees, EPF contribution (employees share, employers share and administrative charges etc) to GMTD, Jammu.

7.2.6.	Attendance card-cum wage slip

      - The contractor shall issue an Attendance card cum wage slip to each workman employed by him.

      - The card shall be valid for each wage period.

      - The contractor shall mark the attendance of each workman on the card twice each day, once at the commencement of the day and again after the rest interval, before he actually starts work.

      - The contractor shall remain in possession of the worker during the wage period under reference.

      - The contractor shall complete the wage slip portion on the reverse of the card at least a day prior to the disbursement of wages in respect of the wage period under reference.

      - The contractor shall obtain the signature or thumb impression of the worker on the wage slip at the time of disbursement of wages and retain the card with him.

    - Employment card

The contractor shall issue an Employment Card in the Form XIV of CL (R&A) Central Rules  1971 to each worker within three days of the employment of the worker.

    - Service certificate

    - Preservation of labour records

The labour records and records of fines and deductions shall be preserved  in original for a period of three years from the date of last entries made in them and shall be made available  for inspection  by the Engineer –in-charge  or Labour Officer or any other officers authorized by the Ministry of Communications in this behalf.

7.3.	Power of labour officer to make investigation or enquiry.

The labour officer or any person authorized by the Central Government on their behalf shall have power to make enquiries with a view to ascertaining and enforcing due and proper observance of Fair Wage Clauses and provisions of these Regulations .  He shall investigate into any complaint  regarding the default made  by the contractor in regard to such provision.

7.4	Report of Investigating Officer and action thereon

The Labour Officer or other persons authorized as aforesaid shall submit a report of result of his investigation or enquiry to the Engineer –in-charge indicating the extent, if any, to which the default has been committed with a note that necessary deductions from the contractor’s bill be made and the wages and other dues be paid to the laborers

concerned.  The Engineer –in-charge shall arrange payments to the labour concerned within 45days from the receipt of the report from the Labour Officer or the authorized officer as the case may be.

7.5	Inspection of Books and Slips

The contractor shall allow inspection of all the prescribed labour records to any of his workers or to his agent at a convenient time and place after due notice is received or to the Labour Officer or any other person, authorized by the Central Government on his behalf.

  - Submission of Returns

The  contractor shall submit periodical returns as may be specified from time to time .

  - Amendments

The Central Government may from time to time add to or amend the regulations and on any question as to the application/ interpretation or effect of those regulations.

8.0	INSURANCE :

8.1 	Without limiting any of his  other obligations or liabilities, the contractor shall, at his own expense, take and keep comprehensive  insurance including third party risk for the plant, machinery, men, materials, etc. brought to the site and for all the work during the execution.  The contractor shall also take out workmen’s compensation insurance as required by law and under take to indemnity and keep indemnified the Government from and against all manner of claims and demands and losses and damages and cost ( including between attorney and client ) charges and expenses that may arise in regard the same or that the Government may suffer or incur with respect to end/ or  incidental to the same.  The contractor  shall have to furnish original and / or attested copies as required by the department of the policies of insurance taken within 15 (fifteen) days of being called upon to do so together with all premium receipts and other papers related thereto which the department may require.

9.	COMPLIANCE WITH LAWS AND REGULATION :

  - During the performance of the works the contractor shall at his own cost and initiative fully comply with all applicable laws of the land and with any and all applicable by -laws rules, regulations and  orders and any other provisions having the force of law made or promulgated or deemed to be made or promulgated by the Government, Government agency or department, municipal board, Government of other regulatory or Authorized body or persons and shall provide all certificates of compliance therewith as may be required by such applicable law.  By-laws ,Rules, Regulations, orders and  / or provisions.  The contractor shall assume full responsibility for the payment of all contributions and pay roll taxes, as to its employees, servants or agents engaged in the performance of the work specified in the contractor documents.  If the contractor shall require any assignee or sub-contractor to sham any portion of the work to be performed hereunder may be assigned, sub leased or sub-contracted to comply with the provisions of the clause and in this connection the contractor agrees as to undertake to save and hold the Government harmless and indemnified from and against any / all penalties, actions, suits, losses and damages, claims and demands and costs (inclusive between attorney and client ) charges and expenses whatsoever arising out or occasioned, indirectly or directly, by failure of the contractor or any assignee or sub-contractor to make full and proper compliance with the said by-laws Rules, Regulations, Laws and other and provisions as aforesaid.

10.	TOOLS and PLANTS

The contractor shall provide at his own cost all tools, plants appliances implements, measures instruments etc. required for proper execution of works.  The contractor shall also supply without charge the requisite number  of persons with the means and materials necessary for the purpose of setting out works, counting, weighing and  assisting the measurements for examination  at any time and from time to time.  The contractor shall be responsible to make all arrangements, at his own cost for dewatering of trenches/ducts and de-gasification of the ducts before carrying out the work.  The contractor shall also be responsible to make arrangements, at his own cost, for water required for carrying of works at sites including curing of CC/RCC works.  Failing his so doing the same may be provided by the Engineer –in-charge at the expense of the contractor and the expenses shall be deducted from any money due to the contractor under this contract or otherwise.

## SECTION - VII

## SCOPE OF WORKS AND JURISDICTION OF CONTRACT

1.	SCOPE OF WORKS

  - The UG Cables is laid through HDPE Pipes buried at a nominal depth of 165 cms.  The steps involved in UG cable construction are as under:

- Excavation of trench up to a nominal depth of 165 cms, according to Construction specifications along National/State Highways/ other roads and also in city limits as mentioned in the notice inviting tender:

- No. of pipes to be laid in single trench to shall be more than 1. Quantity of No. of pipes to be laid may be changed before pipe laying. Precast RCC Chamber will be placed almost at every 200 M. Wherever required, permission from PWD, UIT, Municipal Corporation and other local authorities will be obtained by contractor.

- Providing of mechanical protection by R.C.C. Pipes/G.I. pipes and / or concreting/chambering according to construction specifications, wherever  required.

- Fixing of GI pipes with clamps at culverts/bridges and /or chambering or concreting of G.I. Pipes/troughs, wherever necessary.

- Back filling and dressing of the excavated trenches according to construction specifications.

- Opening of manholes ( of size 3 meters x 1 meter x 1.65 meters depth), replacing existing 6 mm P.P. ropes by 8 mm  P.O. rope (from manhole to manhole ) for ensuring smooth passage for pulling the cable.  Pulling of Optical Fiber Cable with proper tools and accessories as per construction specifications.  Sealing of both ends of the manholes by hard rubber bush of suitable size to avoid entry of rodents into the HDPE pipes ,putting split HDPE pipes, and split RCC pipes with proper fixtures  over cable in the manhole to protect the bare cable in the pulling manhole.  Back filling and dressing of manholes.

- Digging of pit of size  2 meter x 2 meter  x 1.8 meter (depth) for construction of jointing chamber at approximately every two kilometers of internal size of 1.5 meter  x 1.5 meter  x 1.2 meter using bricks and mortar or fixing pre-caste jointing chamber of internal diameter of 1.2 meter filling of jointing chamber with clean sand, placing either pre-cast RCC cover or stone of suitable size on jointing chamber to protect the joint and back filling of jointing chamber with excavated soil.

- Digging of pits 1 meter towards jungle side at every manhole and jointing chamber to a depth of 60 cms, fixing of route indicator/joint indicator, concreting and back filling of pits.  Painting of route indicators with yellow colour and joint indicator by red colour and sign writing denoting route/joint indicator number, as per construction specifications.

- Documentations.

1.2.	ALLIED ACTIVITIES:

1.2.1.	Transportation of Materials:  The materials required for executing the work entrusted to the contractors against a work order shall be made available at District Store Depot at West Patel Nagar exchange.  In some cases the materials may be available at sub-divisional store godown.  The contractor shall be responsible for transporting the materials, to be supplied by the department or otherwise to execute the work under the contract, to site at his/their own cost.  The cost of transportation are subsumed in the standard Schedule Rates and therefore no separate charges are payable on this account.

    - Disposal of Empty Cable Drums: The contractor shall be responsible to dispose of the empty cable drums after laying of the cables.  The cost of various stores of empty cable drums recoverable from the contractor has been fixed taking into account the prevailing market rates as mentioned in this document.

1.2.2.1.	It shall be obligatory on part of the contractor to dispose

of the empty cable drums at his/their level and the amount fixed for various empty cable drums shall be recovered from the bill for the work for which the drum(s) was /were issued or from any other amount due to the contractor or the Security Deposit.

1.2.2.2.	The contractor shall not be allowed to dump the empty cable drums in Govt. /Public place which may cause inconvenience to the department/public.  If the contractor does not dispose of the empty cable drums within 3 days of becoming empty, the Department shall be at liberty to dispose of the drums in any manner deemed fit and also recover the amount fixed in this contract from the bill/security deposit/ any other amount due to the contractor.

    - Supply of Materials:  There are some materials required to be supplied by the contractor for execution of works under this contract like Bricks, Cement, Wire Mesh and Steel for protection, etc, besides using other consumables which do/do not become the part of the asset.  The contractor shall ensure that the materials supplied are of best quality and workmanship and shall be strictly in accordance with the specifications.

- COST OF WORKS:

The estimated cost of work is as mentioned in the Notice Inviting Tenders which has been worked out based on standard scheduled rates mentioned in this tender document.  The actual value of work may vary based on the actual requirement but generally being limited to  +/-  of  the indicated value.

###### Section – VIII

###### UNDERGROUND CABLE CONSTRUCTUION PRACTICES MANUAL

The guidelines in the form of Engineering Instruction ( E.I’s.) on construction practices of underground Cables are issued by T & D wing of the department, from time to time. The present practices are summarized here under, from the point of view of describing scope of work under various items of work.

1.	General:

The underground Copper Cables are extensively used in outdoor network of an exchange system. The Cables are laid from Telephone Exchange up to distribution Points (D.Ps.) for the purpose of flexibility, pillars are introduced in the network. The primary cables, which are of higher size, are laid from telephone exchange of pillars. The distribution Cables are laid from pillar to D.P. The capacity of pillars and D.Ps. are decided in accordance with the demand and size4 of the network. The Planning if U.G. cables network is guided by the Planning guidelines of the department for external plant issued from time to time. The major portion of investment in telecom network goes in to construction of U.G. cables network. Further, the quality of construction of U.G. cables network decides the quality and reliability of Telecom Service delivered to the customers to a large extant. Therefore, the construction practices of U.G. cables should be of very high quality, strictly in accordance with construction specification.

1.1 	The works involved: the underground cables are buried to a depth such the top of the

Cables is one meter (100 Cms.) below the normal ground level. The items of works involved in U.G. cables laying are as under:

  - Excavation of trench upto a depth such that the top of the cables is one meter below the normal grounds level according to the construction specification.

  - Laying and pulling of Cables in trenches or through pipes/Ducts.

  - Placing of half round RCC Pipes/stone slabs/pre cast RCC slabs/Layer of Bricks as per specification.

  - Back filling and compacting of the excavated trenches according to construction specification and removal of excess earth from the site.

  - Construction of pillar foundation, erection painting and sign writing of pillars.

  - Erection, termination painting and sign writing of D.Ps.

  - Termination of cables MDF and pillars.

  - Jointing and end-to-end Testing of cables- correspondence and electrical test.

  - Supply, Fixing, painting  & sign writing of Route and joint Indication.

  - Documentation.

- Construction Specifications:

  - Classification of soil strata: For the purpose of trenching, the soil strata shall be categorized as under:

    - NON SURFACED STRATA:

- Non Rocky : This will include all type of soils _ soft soil/hard soil/morrum i.e. any strata, such as send as send gravel loam, day, mud, black, cotton morrum shingle, river or nallah bed boulders, soiling of roads, paths, densely, pebbles/ stones etc., lime concrete mud concrete and their mixtures which for excavation yields to the application of picks, shovels, scarifies, ripper and other manual digging implements inducing chiseling. Resorting to light blasting /Electro mechanical breakers for loosening the material dose not in any way entitle the strata to be disulfide as rocky.

- Rocky : Strata means generally any rock or boulder, for the excavation of which hand tools can not be used and blasting/electro mechanical breakers is required, such as quartzite granite, basalt reinforced cement concrete (reinforcement to be cut through but not separated from concrete ) and the like.

2.1.2 SURFACED STRATA: The surfaced strata shall cover the following irrespective of strata encountered below the surface.

      - Footpaths

- Tarmac (Asphalt) foot path: means foot path with tarmac surface with or without compacted strata below the tarmac surface, irrespective of thickness of Tarmac/ Metal/

- Kharanja: Means footpaths covered with bricks with or without compacted strata below the surface, irrespective of thickness of bricks.

- Tiled Foot path: means Footpath covered with various types of tiles stone slabs with or without compacted strata below the tiled surface irrespective of thickness of tiles/ stone slabs.

- Cement concrete Footpath: means the surface on footpaths covered with CC (cement concert) with or without compacted strata below the surface, irrespective of thickness of Cement Concert.

2.1.2.2 Along Road side: Trenching along road on carpeted surface may be necessary in certain stretches where road have been metal led edge to edge and there is no un-metal led corridor or footpath available for trenching and laying the cables.

- Tarmac (asphalt) Road: means roadside with tarmac /asphalt surface with or without compacted strata below the tarmac surface, irrespective of thickness of Tarmac /metal.

- Kharanja Road: means road covered with various type of bricks with of without compacted strata below the tiled road surface irrespective of thickness of bricks.

- Tiled Roads: means road covered with various type of tiles/bricks/stone slabs with or without compacted strata below the tiled road surface irrespective of thickness of tiles/bricks/stone slabs.

- Cement concrete road: means CC (cement concrete) road with compacted strata below the surface on road irrespective of thickness of cement concrete.

2.1.2.3 Road Crossings:

- “Tarmac of asphalt Road“ means the road surface, which is metalled by asphalt/tarmac normally having compacted strata below the metalled surface irrespective of thickness of asphalt/tarmac.

- Kharanja road: means road covered with various type of bricks with or without compacted strata below the tiled road surface irrespective of thickness of bricks.

- Tiled roads: means road covered with various type of tiles/bricks/stone slabs with or without compacted strata the tile road surface, irrespective of thickness of tiles/ bricks/ stone slabs.

- Cement concrete road: means CC (cement concrete) road with compacted strata below the surface on road irrespective of thickness of cement concrete.

At road crossing, the trenches shall be so dug that top of RCC pipe shall be at one depth from ground level.

2.2 	Excavation of trenches

Before excavation of trenches the route should be marked for trenching. Care should be taken to see that the route of the trench to excavate is reasonably straight avoiding the existing underground services. The contractor should take trial to locate the underground services before commencement of actual trenching. These trial pits shall be 30 cms. Wide 120cms. Deep and 120 cms. Long at right angles to the proposed trench at an interval of 20 to 50 Mtrs along the proposed cable route. If a slab is encountered the same may be removed and trial pits may be made.

In city areas, the trench will normally follow the footpath of the road except where it may have to come to the edge of carriage way of cutting of road with the specific permission from the concerned authorities maintaining the road ( such permission shall be obtained by the department ) Outside the city limits, the trench will normally follow the boundary of the road side land. However, where the roadside land is full of burrow pit or a forestation or when the cables have to cross culverts/ bridges or streams, the trench may come closer to the road edge or in some cases, over the embankment of shoulder of the road (permission for such deviations for cutting the embankment as well as shoulder of the roads shall be obtained by the department)

The alignment of the trench will be decided by a responsible departmental official, not below the rank of a junior Telecom Officer. Once the alignment is marked no deviation from the alignment is permissible except with the approval of Engineer-in- charge. While marking the alignment only the centerline will be marked and the contractor shall set out all other works to ensure that, the excavated trench is as straight as possible. The contractor shall provide all necessary assistance and labor, at his own cost for marking the alignment, contractor shall remove all bushes, undergrowth, stumps rocks and other obstacles to facilitate marking the center line without any extra charges. It is to be ensured that minimum amount of bushes and shrubs shall removed to clear the way and the contractor shall give all consideration to the preservation of the trees.

The line up of the trench must be such that cables shall be laid is a straight line except at location where it has to necessarily take a bend because of change in the alignment or gradient of the trench.

2.3 	Methods of Excavation:

In city limits as well as in built up areas, the contractor shall to use of manual labor only to ensure that no damage is caused to any underground or surface installations belonging to other public utility services and/ or private parties.

However, along the Highways and cross-country routes, there shall be no objection to the contractor resorting to mechanical means of excavation provided that no underground installations exist in the path of excavation, if any are damaged.

There shall be no objection to resort to horizontal boring to bore a hole of required size and to push through GI pipe through horizontal bore at road crossing or rail crossing or small hillocks etc.

In rocky strata excavation shall be carried out by use of Electro mechanical like breakers or by blasting wherever permissible with express permission from the competent authority

Necessary barricades night lamps, warning boards and required watchman shall be provided by the contractor of prevent any accident to pedestrians. While carrying out the blasting operations, the contractor shall ensure adequate safety by cautioning the vehicular other traffic. The contractor shall employ sufficient manpower for this with caution boards, flags, sign, writing etc.

When trenches are excavated in uneven ground, inclined portion the lower edge shall be treated as normal level of the ground for the purpose of measurement of depth of the trench.

In certain location, such as uneven ground, hilly area sand all other places, due to any reason whatsoever it can be ordered to excavate beyond standard of 100 Cms. Above the cable to keep the bed of the trench as smooth as possible.

If excavation is not possible to the minimum depth of 100 Cms. Above the cables, as derailed above, full fact shall be brought to the notice to the Engineer-in-charge in writing giving details of location and reason for not being able to excavate that particular portion. The competent authority in writing under genuine circumstances shall grant approval

The contractor shall be responsible for all necessary arrangements to remove or pump out water from trench. The Contractor should survey the soil conditions encountered in the section and make his own assessment about dewatering arrangement that may be necessary. Wherever the soil is hard due to dry weather conditions, if watering is to be done for wetting the soil to make it loose, the shall be done by the contractor

For excavation in hard rock, where blasting operations are considered necessary, the contractor shall obtain the approval of the Engineer-in –charge in writing for resorting to blasting operation. The contractor shall obtain license from the competent authority for undertaking blasting work as well as for obtaining and storing the explosive as per the Explosive Act, 1884 as amended upto date and the explosive rules 1983. The contractor shall purchase the explosives fuses, detonators, etc only from a licensed dealer. Transportation and storage of explosives at site shall confirm to the aforesaid explosive Act and explosive Rules.  The Contractor shall be responsible for the safe custody and proper accounting of the explosive materials. Fuses and detonators shall be stored separately and away from the explosive. The Engineer-in-charge or his authorized representative shall have the right to check the contractor’s store and account of explosive. The contractor shall provide necessary facilities for this.

The contractor shall be responsible for any damage arising out of accident to workmen, public or property due to storage, transportation and use of explosive during blasting operation.

Blasting operations shall be carried out under the supervision of a responsible authorized agent of the contractor (referred subsequently as agent only), during specified hours as approved in writing by the Engineer-in-charge. The agent shall be conversant with the rules of blasting.

All procedures and safety precautions for the use of explosives drilling and loading of explosives before and after shot firing and disposal of explosive shall be taken by the contractor as detailed in IS: 4081 safety code for blasting and related drilling operation.

2.3.1 	Trenching Near culverts/Bridges:

At bridges and culverts the cable shall be laid in GI pipe of suitable size with the permission of concerned authorized maintaining the roads/bridges. While carrying out the work on bridges and culverts, adequate arrangement for cautioning the traffic by way of caution boards during day time and danger lights at night shall be provided.

Of late bridge construction authorities are providing ducts below the footpaths on the bridges for various services. The telecom officers need to maintain good liaison with the concerned authority to get one side of the duct allotted for telecom cables. In such duchess GI pipe can be coupled and laid for pulling the cables. It would be pertinent to mention here that dose liaison with bridge construction authorities would be of immense advantage in ensuring provision of ducts on one or both the sides of the bridges as per future requirements. However, for laying Cables on exiting bridges, where duct arrangement dose not exists, one of the following methods is adopted.

- Where the custion on top of the arch of the culvert is 45Cms. Of more the pipe to carry the cable may be buried on the top of the arch adjoining the parapet wall by digging close to the wheel guard. Every precaution shall to see that no damage occurs to the arch of the culvert. After burying the GI pipe, the excavated surface on the arch shall be restored.

- When the thickness of the cushion is less than 45 Cms. The pipe to carry the cables may be buried the wheel guard masonry. After burning the pipes, wheel guard should be re-built.

- If neither of the two methods mentioned above is possible, the pipe should be clamped to the outside of the parapet wall of the culvert or bridge with the help of damps, nails, nuts, bolts, and screw of suitable size to ensure that the pipe is securely fixed. The GI clamps should be of minimum 25mm width and 3 mm thickness and should be fixed at an interval of 50 Cms. If necessary, the pipe should be takes to the parapet walls at the ends where the wall diverges away from the roads. The work should be carried out in consultation with the authorities concerned maintaining the roads and bridges.

After burring the G.I. pipes, the wheel guards or arch may require repairing by concreting at site. For carrying out protection by concreting at site, the nominal dimension of concreting shall be according to the requirement of the site. Cement concrete Mixture used shall be of 1:2:4 composition i.e. 1:53 grade cement of a reputed company, 2: Coarse sand, 4: graded Coarse stone aggregate of 6MM nominal size, reinforced with MS weld mesh. As the RCC is cast at site, it is imperative to ensure that special care is taken to see that proper curing arrangement is made with adequate supply of water. The contractor shall invariably use mechanical mixer at site for providing RCC protection, to ensure consistency of the mix

In case of small and culverts, where there is a likelihood of their of there subsequent expansion and remodeling, the cables should be laid with some curve on both sides of the culvert or the bridge to make some extra length available for readjustment of the cables at the time of reconstruction of culvert or the bridge.

    - Excavation in Surfaced Strata:

      - Excavation of Foot path:

The excavation of trenches in all types of footpaths including dismantling of asphalt/all type of tiles/CC and WBM shall be done up to a depth such that the top of the cable is 1.0 M below the normal ground level. The excavation on the footpaths will be done manually. The contractor shall have to provide shoring wherever necessary, in case the depth of trench is more that one meter. It is expected that the other services may be present below the footpath, therefore, extra care need to be exercised while excavation of trenches.

      - Excavation of Trenches along the road ( Which are  carpeted end to end )

The excavation of trenches along the road which are carpeted from end to end including dismantling of asphalt, concrete and WBM shall be done up to a depth such that the top of the cable is 1.0 M below the normal ground level. The excavation along the road shall be done manually. The contractor shall have to provide shorting wherever necessary, in case the depth to trench is more than meter. It is expected that the other service may be present below the roads, therefore extra care need to be exercised while excavation of trenches.

      - Excavation at Road Crossing/Railway Crossing:

The excavation of trenches in all type of roads including dismantling of asphalt/all type of tiles/CC and WBM shall be done up to a depth such that the top of the RCC pipe 1.0meter below the normal ground level. After excavation of trench, RCC pipes of 100MM/150mm/225mm/300mm dia shall be laid at the road crossing. In minor roads which can be temporarily closed to traffic, it is possible to open up across the entire width of the road, the pipes should be installed quickly in the trench which should then be filled in, there by reducing the time to a minimum for which the road is required to be closed. The road, which is broad, may be opened for half their width, allowing the other half for use of vehicular traffic. The second half of the width should be opened after laying pipes and reinstating the first half of the trench. Pipes laid in the second half should be coupled firmly with those laid in the first half. Care must be taken to couple the pipes fully. The pipes should be laid with a slight alope from the center to the sides of the road to prevent collection of water. 8 mm PP Rope shall be drown through the laid pipes to facilitate cleaning and cable pulling at a late date before closing the trench. As the work on road crossing entails lot of inconvenience to vehicular traffic and pedestrians, it is desirable to bury extra pipes for future expansion at the initial stage itself. The spare pipes must be sealed properly at both the end of the road obviate the possibility of pipe getting chocked due to settlement of sedimentation etc. The contractor shall have to provide shorting, wherever necessary, in case the depth of trench is more than one meter. Necessary barricades, night lamps, warning boards and required watchman shall be provide by the contractor to prevent any accident to pedestrians or vehicles.				The excavation within the railway property should be takes up after getting express permission from railway authority. When a cable has to cross a railway track, it should be laid in Iron pipes at a minimum depth of 1.25 M below rail level. The iron pipes of the requisite type shall be supplied by the Department of Railway Authority as mentioned in department. The Pipeline should extend on both sides of the Railway track for a sufficient distance to enable repairs to the cable, whenever necessary without disturbing the formation under the railway track. The 8 mm PP Rope shall be drown through the laid pipes of facilities cleaning and cable pulling at a later date. It is desirable to bury extra pipes for future expansion at the initial stage itself. The spare pipes must be sealed property at both the ends to obviate the possibility of pipe getting chocked due to settlement of sedimentation etc.

2.4 	Classification of Trenches: The trenches have been categorized based on its size required for laying different sizes and number of cables as under.

| SL.No. | Type of trench | Trench Size in Cms. | Required for |
| --- | --- | --- | --- |
|  |  | Width | Depth above cable/pipe |  |
|  |  | Top | Bottom |  |  |
| i. | A | 45 | 30 | 100 | Single cable of any size or Laying any number of cables below 400 pairs*or Laying two cables of 400 pairs and above with/without any number of additional small size cables. |
| ii | B | 60 | 45 | 100 | Laying three cables of 400 pairs and above with/without any number of additional small size cables. |
| iii | C | 75 | 60 | 100 | Laying four cables of 400 pairs and above with/without any number of additional small size cables.* |
| iv | D | 90 | 75 | 100 | Laying five cables of 400 pairs and above with/without any number of additional small size cables. |

- The bottom width is mandatory.

- In case of large number of cables to be laid in a trench, the type of trench can be upgraded to higher type of trench by the DGM in-charge considering site conditions

- Where more than one cable is being laid in a trench there should be a gap of 5cms. In between the cables. No cable should be laid one over the other.

  - Trenches of Less Depth: Relaxation and Competent Authorities to Grant relaxation: The depth of trench is very important for future life of cables. Therefore, the contractor is obligated to ensure that the standard depth is maintained in normal circumstances. However, due to obstructions, if the standard depth cannot be achieved, lower depth up to certain limits is acceptable by the authorities as prescribed below with extra protection as per specification. The relaxation by the competent authority prescribed below shall be obtained giving reasons for not achieving standard depth.

| Size of Cable | Standard depth in Cms. | Minimum acceptable depth relaxation | Powers delegated for relaxation for depth upto the depth in Cms.. |
| --- | --- | --- | --- |
|  |  |  | DET | DGM |
| All Sizes | 100 | 90 | 80 | 30 |

3.0 	Laying and Pulling of Cables:

The Normal methods used in the department of laying underground cables are:

- Laying direct in the ground

- Pulling through ducts

3.1 	Laying direct in the ground: After excavation of trenches, approximately 5 Cms thick bed or soft soil/ or sand (in case the excavation material contains sharp please of rock/stones) is laid before directly laying the cables. Adequate care shall be exercised while laying the cables so that the cables are not put to undue tension/pressure as this may adversely affect the electrical characteristics of cables with passage time.

The cables shall invariably be laid in the trenches through jack and spindle at appropriate position for easy unwinding putting cable rollers in the trenches, if required at a regular interval of approx 20 mtr under proper supervision.

Adequate overlaps shall be left for joining 2 successive lengths of cable as under

Size of cable			Length of overlap

1200 pairs and above 		1.5 Meter.

800 and 1000 pairs		1.4 meter.

400 and 600 pairs		1.2 meter.

below 400 pairs		1.0 meter.

In case the previous length ends in the middle of a carriage way / foot path/ road crossing / bridge culvert, it should be negotiated out of the carriage way / foot path/ road crossing / bridge culvert by laying the next length early and removing the excess overlap cable and depositing to the stores under proper receipt.

When more than one cable is laid in the same trench, the joining location shall be suitably staggered. When a cable is to be terminated is a pillar the length of cable for such termination shall be equal to (jointing length + height of the pillar)

Sharp bends shall be avoided, bends, if any, the radius of curvature should be more than at least six times the diameter of the cables. After the completion of laying, send / sieved earth, free of stones etc. shall be over the cable to a height of 7.5 Cms. duly leveled and rammed lightly to from a bedding for warning bricks of half round RCC  pipes/stone slab/ pre cast RCC slab for mechanical protection.

The cables may be required to be pulled through RCC/GI pipe at road crossing, railway crossing, bridges and culverts. Extra care should be taken to avoid damage to the cable while pulling through pipes which may occur due to kinks. The contractor should have the required tools and equipments for the purpose to complete the job are a professional manner.

When trenches are excavated up to specified depth, properly dressed and leveled and the cable(s) is/are laid, joint measurement of depth above cable shall be taken by representative of contractor and Engineer-in-charge. Measurements shall be recorded in measurement book with their signature. Trenches for which measurements are recorded in measurements book shall be considered as approved trenches.

The contractor shall ensure that trenching and cable laying activities are continuous, without leaving patches of portions incomplete in between.

When there are number of cable of the same size in the same trench it becomes difficult to identify the particular cable at time of maintenance. Therefore, identification collars bearing L.I. Number of the cable shall be tagged to all the cables. The identification collars shall be provided at an interval of not more than 2 meters.

  - Cable pulling through Ducts:

Before starting the cable pulling work, the duct and manholes/ hand must be cleaned and made free from obstruction so that cable is not damaged while hauling. The contractor shall be adequately equipped with tools and the equipments like-continuous steel rod, winch machine, cable hauling rope fitting, swivels, hauling eyes, cables grips etc. to carry out the cable pulling work through ducts in a professional manner. As the cable pulling through ducts is a specialized work and any damage to cable in duct may lead to development of faults progressively with the passage of time, it is imperative that the work force and the supervision responsible to carry out this work are fully trained and have sufficient experience.

4.0   	Placing of Half Round RCC Pipes/Stone slabs/Per Cast RCC slabs/Layer of Bricks

After laying of cables, it is covered by a consolidated layer of 8 Cms. of soft earth (or sand in special cases where excavated material contains sharp stones/objects) which should be free from stones or other sharp objects, carefully pressed and lightly tamped. On this layer of soft earth, a layer of half round RCC pipes(100/150  mm dia)/Stone slabs/Pre Cast RCC slabs/Bricks is placed as a warning layer  and also as a mechanical protection, as the telecom cables are vulnerable to damages due to excavations by other agencies.

The warning/protection layer of half round RCC pipes/ Stone slabs/Per Cast RCC slabs/Bricks is laid as per following schedule depending upon the size of the cables and depth of trench.

| Sl.No. | Size of Cable | Depth (In Cms.) | Warning Layer/Protection |
| --- | --- | --- | --- |
| 1. | 200 pairs & below | All depths | Bricks/Stone slabs |
| 2. | 400 pairs & above | Up to 80 Cms. | Bricks/stone slabs |
| 3. | 400 pairs& above | Below 80 Cms. | Half round RCC Pipes/Stone slabs/Pre Cast RCC slabs/ Bricks |

The choice for protection layer out of half round RCC Pips, Stone slabs and Pre Cast RCC slabs or bricks may be decided based on availability and comparative cost. Regarding half round RCC Pipes, upto 400 pairs cable 100mm dia RCC pipe and above 400 pairs cables 150mm dia RCC Pipes shall be required.

4.1       Layer of bricks:

Well burnt non-modular bricks of nominal size 229 mm (+/- 4mm)x 114 mm (+/-3mm)x  70 mm of minimum compressive strength of  75 Kg per square cm shall be used as a warning / protection layer. Bricks shall be used longitudinally over the cables up to 400 pairs and transversely over cables above 400 pairs or two cables of size up to 400 pairs.

Approximately 4400 bricks per kilometer shall be required for laying longitudinally and 9000 bricks per Km. shall be required for laying transversely.

SDA in-charge of work shall get the bricks tested from a reputed laboratory for compressive strength. One test sample shall be got tested for a lot of 50,000 bricks or part there of. The test certificate shall be attached along with the final bill.

5.0   	Back Filling and Compacting of the Excavated Trenches:

After laying the cables and providing warning/protection layer as per specifications, the remaining portion of the trench shall be filled in and well tamped in steps. The trench should be back filled in layers not exceeding 20 cms. Each at a time and rammed. The contractor shall remove the excess earth from the site and leave only a crown of earth rising approximately 5 cms. In the centre. This allows for natural subsidence. When digging on footpaths, along roads and road crossings, care should be taken to see that the road is made motor-able as soon as the work is completed. The permanent reinstatement of roads and pavement shall be done by the local authorities.

6.0 	Erection of Pillars:

The pillars should be installed in safe places on footpaths at suitable locations convenient and accessible for maintenance. The positions close to the edge of footpaths, near transformers or below Electric Lines particularly H.T. Lines must be avoided. The location of pillar, which may obstruct the view of drivers of vehicles as on kerbed lines at street intersections, locations in which the doors of the pillars when opened constitute a danger to pedestrians or traffic must be avoided. In general, the pillar shall be so located that reasonable and safe working conditions to the staff are possible throughout the year. The height of the pillar shall be such that the pillar does not get submerged during rains.

6.1     Construction of RCC Plinth for pillars and Erection of Pillars:

The Plinth for erection of pillars shall be made of RCC, cast at site. The dimensions of the pits for casting the foundation of the plinth shall be as under:

Length	=  W+30 cms.

Width	=  D+30 cms.

Depth	=  110 cms.

Where W=Width of the pillar shell, D=Depth of the pillar shell.

After digging the pit for casting the plinth of the pillar, a G.I. Plate of size 300 mm X 300 mm and 4mm thickness bolted to copper wire of 7/18 size(2 meter length) with the help of lug shall be buried in the bottom of the trench to form earth for the pillar. The copper wire shall be embedded in RCC work with one end coming out on top of the plinth to be terminated in the C.T. box mounting frame inside the pillar shell.

The earth in bottom of the plinth shall be well rammed. The concrete base for the pillar should be dimensioned to suit the particular pillar shell dimensions. The R.C.C. for the pillar foundation should be in the ratio of 1:2:4 (1Cement of 53 Grade of reputed brand, 2coarse sand, 3 graded stone aggregate of 20 mm nominal size). The details of reinforcement and dimensions of plinth work are shown in figures 1&2. The height of the pillar plinth shall be such that the bottom of pillar shell should normally remain 45 cms.  above the normal ground level. However, in localities, which are subjected to flooding during the rainy season, the height of the base shall be suitably raised so that the bottom of the pillar is kept well above the high food level. The plinth shall be cast as per the approved drawings and with the use of proper  from work. After the RCC work is settled and cured, the plinth shall be finished with cement mortar in proportion of 1:3 (1Cement of 53 grade of reputed brand 3 fine sand) of 6mm thickness. The contractor shall arrange water for curing the plinth for at least 7 days to give necessary strength. The side of the RCC formwork shall be flied with the excavated earth and rammed properly to give it necessary strength so that the plinth dose not tilt and loose its verticality at a later date. Finally the plinth above the ground level shall be painted with black oil paint.

Erection of pillar shall be done by fixing the pillar boxes on the plinth with 10mm bolts embedded in RCC formwork firmly and terminating the earth wire on the C.T. Box mounting frame inside.

6.2 	Painting and sign writing of pillars:

The pillar shell be cleaned thoroughly and one coat of red oxide primer shall be applied on all surface i.e.  Inside and out side surfaces. After it is dried up, spray painting shall be done with battleship gray paint of reputed brand on all surfaces. Once the gray paint dries up, the sign writing shall be done after cleaning the surfaces with dry cloth, with white enamel paint of reputed brand. Sign writing shall be carried out on capital letters of height 10 cm. and width 7.5 cm. (4”x3”) and as per instructions of Engineer-in charge. The following contents shall be written on the face of the pillar shell:

7.0 	Erection of D.Ps.

The distribution points (D.Ps.) are fitted on poles, walls or in the staircase walls easily accessible for maintenance to terminate distribution cables coming from pillar.

- External D.Ps.

- Internal D.Ps.

The items of work involved in eructation of a D.P. are as under:

7.1 	External D.Ps.

- Fitting of post with all components: i.e. Hamilton tubes (normally A4BC of BC) socket, cap and spikes.

- Digging pit for the post.

- Fitting Sole plate in the assembled tube and lowering the assembled post in the pit.

- Re-instating and consolidating after making the post upright and rigid.

- Preparation and installation of stay(s).

- Pulling the L.I. cable (5 pair/10 pair/20 pair) through 20/32 mm dia G.I. pipe and terminating the cable pairs in D.P. box and fixing D.P. box and fixing of D.P. box on the post with the help of fixtures (either steel tapes & accessories such as buckles, pole ring pole bracket, Retainer Clamps & Hooks, Drive Bolts, Wall rings, Plastic etc. or set of three G.I. clamps, saddles, brackets etc.)

- Painting & sign writing of the D.P. post. The D.P. post shall be painted with enamel paint of reputed brand in three colored bands of ten inch each (red, Blue, and red). The painting of lower red band will start at five from ground. The sign writing will be done ion the middle of the Blue band with white enamel paint of reputed brand. The contents of the sign writing are given below.

- Abbreviated code of name of SSA

- Abbreviated code of exchange system.

- Numbering of the D.P.

The height of the letters and contents according to numbering scheme of DPs in the SSA will be given by engineer-in-charge

7.2 	Internal D.Ps. The item of work in erecation of Internal D.Ps are as under

- Fixing of 20/32mm G.I. pipe with the help of clamps, nails and saddles at every 30cms. The clamps should be made of 25 mm wide and 3mm thick G.I. strips properly galvanized.

- Pulling of L.I. cable (5 pairs/10pairs/20pairs/50paires) through 20/32 mm dia G.I. pipe of approximately 7 to 10 ft. and terminating the cable pairs in D.P. box and fixing of D.P. box on the wall with the help of suitable rawl plugs / wooden gitty and screws.

- Painting & sign writing of the D.P. the sign writing shall be done on the wall near the D.P. box. The sign writing shall be done on blue background of 300 mm X200 mm with sign writing in white colour. Enamel paint of reputed brand shall be used for painting and sign writing. The contents of the sign writing are given below.

- Abbreviated code of name of SSA

- Abbreviated code of exchange system.

- Numbering of the D.P.

The height of the letters and contents according to numbering scheme of DPs in the SSA will be given by engineer-in-charge

8.0 	Termination of Cables In MDF & Pillars

The U.G. cables are terminated on tag block on line side of the MDF. The MDF consists of iron framework and line side stage blocks are fitted on verticals. In the department, depending upon the height of the MDF room, MDFs of different sizes are erected. For simplicity and uniformity, a standard numbering scheme of verticals, stag block and tag numbers in the tag block is followed. From the non-growing end, the vertical are numbered as 01,02 and so on. The tag blocks in a vertical are numbered as 01, 02 and so on from top to bottom. In the tag block, which is of 100 pairs, tags are numbered as 01 to 100 from top most left corner to bottom most right corner.

The U.G. Cables are terminated on MDF from top to bottom on a vertical. The cables in pillars are terminated in the tag blocks of 100 pairs each. For the sake of simplicity and uniformity, a standard numbering scheme of tag blocks in pillars is followed. The verticals in pillar are numbered as A, B, C, &D. The tag blocks are counted from top to bottom in a column as A1, A2.... ; B1, B2... ; C1,C2 ... ; & D1,D2 ...  The tags in a tag block of 100 pairs are counted as 01,02 ... 100 from top most left corner to bottom most right corner. The A & C column tag blocks are used for terminating the primary cables and B & D column tag blocks are used for distribution cables.

While terminating the cables in MDFs and pillars, the correspondence of pairs shall be maintained from the point of view of counting of pairs and maintenance of the cables. In case of armored cables, the armour of the cables shall be connected to the C.T. box mounting frame in the pillar and to the verticals of MDF, which are earthed.

For terminating the cables in pillars, the joints at the food of the pillars should be avoided and the cables should be directly led into the pillar thought bottom inlet to the pillar shell. The sheath of the cables should be removed inside the pillars and the bunches of the pairs shall be terminated on tag blocks after cleaning and lacing neatly. The termination of cables of MDF and pillars (and of course in D.P. also) should be done using only the standard tools.

The work of “termination on MDF and pillars “includes:

- Fixing of Tag Blocks on MDF vertical/C.T. boxes in pillars.

- Drawing the cables into the pillar and removing the cable sheath for required length.

- Providing earth continuity with the armour of the cables(s)

- Cleaning the insulated and covering the formed bunches with PVC sleeve/tape.

- Termination of cables pairs in Tag blocks/C.T. boxes.

- Sign writing with white enamel paint of reputed brand on inner panel of the pillar shall be done indicating the termination details. On MDF, the written labels shall be put in place provided for it indicating the termination details. The details of sign writing shall be given by the Engineer-in-charge.

The termination of cables should be done using standard tools.

9.0 	Jointing of cables and End Testing.

“A chain is as strong as its weakest link”, hence, the quality of external plant is depends upon quality of jointing work to a huge extent. As mentioned elsewhere, the external plant using U.G Copper cables entails huge investment to the tune of Rs.  10,000/- per pair on an average. If some pairs are lost in one joint, the pairs are not available for the entire length of the cables. The loss of pairs is not only loss of capital but also the department looses the potential revenue by not able to provide the connections. In view of these facts, the quality of jointing work is of immense importance and therefore, the Jointing work should be done by experienced jointers using standard tools and accessories.

The work of cable jointing involves jointing of pairs by twisting or machine jointing using modular connectors. The quality of joint is vital for overall electrical characteristics and quality of transmission of the subscriber loop and therefore, the same has to be done meticulously. There are three different types of joints;

  - Straight joint: for connecting all the pairs of two cables

  - Branch joint: for connecting pairs of one cable to two or more different cables branching out at the joint.

  - Teeing joint: Teeing of cables is done at the time of area transfer or rearrangements of cables in the external plant.

The items of work involved in jointing are as under:

9.1       Straight and Branch Joints:

  - Digging the pit for the joint

  - Preparation of cable ends for jointing.

  - Jointing of cable conductors by twisting or by machine jointing using modular connectors.

  - Closing the joint & Flooding of the joint * (Flooding of joints shall be mandatory.)

  - Providing protection to the joint with half round RCC pipe/stone slab/Pre cast RCC slabs.

  - Back filling and compacting.

  - Providing joint indicators and noting distance from three permanent points for future reference to locate the joints.

9.2     	Teeing work involved in Area Transfer/Re-arrangement work

The following works are involved in teeing for Area Transfer/Re-arrangement work.

(a)	Digging pit for the joint.

(b) 	Operating the cable and Numbering out.

- Putting sleeves with indicator slip on cable pairs.

- Jointing with new cable i.e. Tee joint.

- Conducting correspondence test between old D.P. and New D.P. on MDFs.

- Closing the joint by Thermo Shrinking old required before releasing the Tee.

- Release of Tee after Area transfer.

Closing the joint by thermo shrinking after release of Tee. And flooding of the joint * (Flooding of joints shall be mandatory.)

- Providing protection to the joint with half round RCC pipe/stone slabs/ pre cast RCC slabs.

- Back filling and compacting.

- Providing joint indicators and noting distances from three permanent points for future reference to locate the joints.

For area transfer work, it is preferable to award teeing and cable construction work from new MDF to the teeing point covering laying, jointing and termination of cables on new MDF to a single contractor to facilitate smooth completion and testing.

The contractor shall make hundred percent pairs available from end-to-end. To ensure the availability of 100% pairs end-to-end it is a good practice not to close the joints until all the pairs are tested from MDF to pillar for primary cable work and from pillar to D.P. for distribution cable work. “An ounce of prevention is worth a pound of cure.” In case of same pairs missing, the defects should be rectified at this stage itself, as the joints are still kept open. Once all the pairs are available, joint shall be closed properly using jelly and other accessories as per instructions. Proper and adequate filling of jelly in the joints is of importance as any water ingress and trapped in the cavities will result into low insulation fault at later date.

Before closing the joint the contractor is required to place a slip inside the joint, indicating the following:

- Name of the contractor.

- Name of the official of the department supervising the work.

- Date of joint.

  - End-to-End Testing:  The cables are to be tested for continuity of pairs and electrical

and transmission characteristics of the cable pairs, between MDF and pillar in case of primary cables and pillar of D.Ps. in case of distribution cables, separately. The test parameters should conform to the A.T. standards of the department issued by T & D Circle. Broadly the following parameters are tested. (I) insulation (ii) cross insulation (iii) continuity (IV) loop resistance (v) transmission (VI) cross talk level.

10.0 	Cable route & Joint Indicators:

Cable route and joint indicators are to be provided to indicate the cable route and location joint. The route and joint indicators are to be used for cables laid in rural areas as availability of landmarks over wide expanse of lands is scanty. The route indicators are to be placed at every 200 meters and at every place where the cables changes direction. Joint indicators are to be provided at all joints. For the sake of uniformity and from viewpoint of identification of cable at later date for maintenance, the route indicators shall be provided in the alignment of the trench and the joint indicators should be provided in the alignment of the trench 2 meters towards exchange from the location of joint to obviate removal of joint indicators at the time of operating the joint.

The route and joint indicators are of RCC of trapezoidal shape having base of approximately 250mm x 150mm and top 200mm x 75mm and height 1000mm. The indicators shall be supplied by the department. For fixing the route/joint indicators, the pits of size 60Cms x 60 Cms. And 75 Cms depth shall be dug. The indicators shall be secured in upright position by ramming with stone and murrum up to a depth of 15 Cms and concreting the remaining portion of 15 Cms by concrete mix of 1:2:4 (1 Cement, 2 Coarce Sand and stone aggregate of 20 mm nominal size. Necessary curing shall be carried for the concreting structure with sufficient amount of water for reasonable time to harden the structure.

The Route/Joint indicators shall be painted with primer before painting with oil paint. The route indicators shall be painted with yellow paint and joint indicators shall be painted with red paint. The construction specifications of route and joint indicators are given in the figures 3.

11.0 	Documentation:

The documentation, consisting of Route Diagrams, depicting Joint Location, Termination details of cables on MDF Pillars and D.Ps. is of immense help at the time of maintenance or undertaking any re-arrangement work in the external plant. The details available in documentation prove to be of huge value in subsequent planning and construction activities in the external plant. These documents are also useful in coordinating excavating activities by other agencies thus saving our huge investment from getting damaged and also avoiding disruption of services.

The documentation shall be prepared primary cable wise for one or more than one primary cables with all its pillars shown and for all its pillars the distribution cables shown pillar wise, for the works ordered against a work order. The scope of work in documentation shall include the following:

- Route Diagrams: preparation of route diagram depicting alignment of cables on roadside on a geographical map of the pillar area/exchange areas. Though it is desirable to prepare these diagrams on geographical maps to the scale but in case geographical maps are not available the maps should be constructed to a reasonable accuracy by taking details from the local bodies of the area. On this diagram, besides showing alignment of the cable the topographical details of the road. Location of pillars and landmarks along side should also be shown to locate the cables(s) easily as and when required. These diagrams shall be prepared on A-3 sheets 80 GSM.

- Joint offsets: The joints offsets will inter-alia show the locations of joints by showing distances from three permanent points so that the joints can be located easily as and when required. Besides showing the location of joints, it shall also show details of distribution of pairs in the joints in case of branch joints. These joint offsets shall be prepared in A-4 size sheets of 80 GSM.

- Pillar Cards: The pillar cards shall show the termination details of primary as well as distribution cables in the pillar. These cards shall be prepared in A-4 size sheets of 80 GSM.

- MDF Termination Cards: The MDF termination cards shall provided details of termination of cable depicting full details of MDF vertical, tag block numbers and pair numbers of the cable terminated on the MDF and its correspondence with termination in pillars. These cards shall be prepared in A-4 size sheets of 80 GSM.

The route diagrams, joint offsets, pillar cards and MDF termination cards shall be prepared by the contractor through an experienced draughtsman or these may be computerized. The utility of the documentation will be enhanced if the existing cables are also shown on these diagrams being prepared for the new work. The contractor shall be bound to implant the details on the documents if supplied by Engineer-in-charge timely, without any extra cost. All the diagrams/cards/joint offsets shall bear the signatures of the contractor, the Engineer-in-charge and the A.T. Officer as a proof of accuracy of the diagram.

All the above documents (I to IV) pertaining to a pillar area/exchange system (in case of small exchange system) shall be bound in A-4 size. The cover sheets shall be of 110 GCM and laminated. The front cover shall have the following details:

    - Name of the SSA

    - Name of the Exchange system

    - Name of the Contractor

    - Name and Number of the pillar/ exchange system

    - Work order No

    - Date of commencement of work

    - Date of completion of work

The contractors shall supply 6 copies of bound document as one set of Documentation. The rate for one set of documentation is given in standard schedule rates.

12.0 	SAFETY PRECAUTIONS:

12.1 	Safety Precautions when excavating or working in excavations close to electric cables. The engineer-in-Charge of the work should get full information from Electricity undertaking regarding any electric cables, which are known or suspected to exist near the proposed excavation and unless this is done, excavation should not be carried out in the section concerned. The electricity undertaking should be asked to send a representative and work should be preceded with close consultation with them.

Only wooden handled hand tools should be used until the electric cables have been completely exposed. Power cables not laid in conduits are usually protected from above by a cover slab of concrete, brick or stone. They may or may not be protested on the sides. It is safer, therefore, always to drive the point of the pickaxe downwards then uncovering cables, so that there is less chance of missing such warning slabs. No workman should be permitted to work alone where there are electric cables involved. At least one more man should be working near by so that help can be given quickly in case of an accident. If disconnection of power could be arranged in that section it will be better. No electric cables should be moved or altered without the consent of the Electric Authority and they should be contacted to do the needful. If electric cables are damaged even slightly, it should be reported to the electric Authority and any warning bricks disturbed during excavating should be replaced while back filling the trench. Before driving a spike into the ground, the presence of other underground properties should be checked. Information on plans regarding the location of power cables need not to be assumed as wholly accurate. Full precautions should be taken in the vicinity until the power cables is uncovered. All electric cables should be regarded as being live and consequently dangerous. Any power is generally dangerous, even low voltage proving fatal in several cases.

    - Electric shock-Action and treatment:

Free the victim from the contact as quickly as possible. He should be jerked away from the live conductors by dry timber, dry rope or dry clothing. Care should be taken not to touch with bare hands as his body may be energized while in contact. Artificial respiration should begin immediately to restore breathing even if life appears to be Extinct. Every moment of delay is serious, so, in the mean while, a doctor should be called for.

12.2 	Safety precaution while working in Public Street and along railway lines.

Where a road of footpath is to be opened up in the course of work, special care should be taken to see that proper protection is provide to prevent any accidents from occurring. Excavation work should be done in such a manner that it will not unduly cases inconvenience to pedestrians or occupants of building of obstruct road traffic. Suitable bridge over open trenches should be so planned that these are required for the minimum possible time. Where bridges are constructed to accommodate vehicular traffic and is done near or on railway property, it should be with the full consent and knowledge of the competent railway authorities.

12.2.1 Danger from falling material:

Care should be takes to see that apparatus, tools or other excavating implements or excavated materials are not left dangerous or insecure position so as to fall or be knocked into the trench thereby injuring any workman who may be working inside the trench.

12.2.2 Care when working in excavating:

Jumping into a trench is dangerous. If it is deep, workman should be encouraged to lower themselves. Worker should work at safe distance so as to avoid striking each other accidentally with tools. If the walls of the trench contain glass bits, corroded wire or sharp object they should be removed carefully. If an encountered, it should be carefully uncovered and protected necessary. Care must be taken to see that excavated material is not left in such a position that it is likely to cause any accident or obstruction to a roadway or waterway. If possible the excavated material should be put between the workmen and the traffic without encroaching too much on the road.

12.2.3 Danger of cave in:

When working in deep trenches in loose soil, timbering up/shorting the sides will prevent soil subsidence. The excavated material should be kept at sufficient distance from the edge of the trench or pit. Vehicles or heavy equipment must not be permitted to approach too close to the excavation. When making tunneled opening, it should be ensured that the soil is compact enough to prevent cave under adverse conditions of traffic. Extra care should be taken excavating near the foundation of building or retaining walls. In such cases, excavation should be done gradually and as far as possible in the presence of the owners of the property.

12.2.4. Protection of excavations:

Excavations in populated areas, which are not likely to be filled up on the same day should be protected by barriers or other effective means of preventing accidents and the location of all such opening must in any event be indicated by red flag or other suitable warning signs. During the hours from dusk to down, adequate number of red warning lamps should be displayed. Supervisory officer should ensure that all excavations are adequately protected in this manner as serious risk and responsibility is involved. Notwithstanding adoption of the above mentioned precautions, works involving excavations should be so arranged as to be keep the extent of opened ground and the time to open is to a minimum.

12.2.5 Precautions while working on roads:

The period between half on hour after sun-set and half an hours before sunrise, and any period of fog or abnormal darkness may also be considered as night for the purpose of these instructions, for the purpose of providing the warning signs. Excavation liable to cause danger to vehicles or the public must at all times be protected with fencing of rope tied to strong upright or bamboo poles at a suitable height or by some other effective means. Any such temporary which is likely to cause obstruction and which is not readily visible should be marked by posts carrying red flag or boards with a red background by day and by continuously lighted lamps at night.

The flag and the lamps should be planed in conspicuous so as to indicate the pedestrians and driver of vehicles the full expanse i.e. both width and length of the obstruction. The distance between lamps or between floors should not generally exceed 1.25 mtrs. along the width and 6mtrs. Length of the obstruction in non-congested areas, but 4 meters along the length in congested areas. If the excavation is extensive, sufficient notice to give adequate warning of the danger should be displayed conspicuously not less than 1.25 mtrs. Above the ground and close to the excavation. Where nay excavation is not clearly visible for a 25 meters. to traffic approaching from any direction or nay part of the carriage  way of the road in which the excavation exists, a warning notice should be placed on the kerb  of edge of all such roads from which the excavation or as near the distance as is practicable but not less than 10 mtrs. From the junction of an entering or intersecting road in which the excavation exists. All warning in these should have a red background and should be clearly visible and legible. All warning lamps should exhibit a red light, but white light may be used in addition to facilities working at night. Whenever required a passage for pedestrians with footbridge should be provided. At excavation cable, dumps, tools and all materials likely to offer obstructions should be properly folded round and protected. This applies to jointer’s tents as well. Leads, hoses etc. stretched and across the carriageway should be guarded adequately for their own protection and also that of the public.

12.2.6 Traffic Control:

The people authority are normally responsible for the control of traffic and may require the setting up of traffic controls to reduce the inconvenience occasioned by establishment of a single line of traffic due to restriction in road width or any other form of obstruction caused by the work. As far as possible, such arrangements should be settled in advance. If there is any specific regulation imposed by the local authorities, these should be followed.

12.2.7 Work along Railway Lines:

Normally all works at Railway crossing is to be done under supervision of the railway authorities concerned, but it is to be borne in mind that use of white, red or green flags by the Departmental staff is positively forbidden to be used when working along a railway line as this practice may cause an accident through engine drivers mistaking them for railway signals. When working along a double line of railway, the men should be warned to keep a sharp look on both the “UP” and “DOWN” lines to avoid the possibility of any accident when trains pass or happen to cross one another near the work spot.

  - Procedure and Safety precautions for use of explosives during blasting for

Trenching

In areas where the cable trench cannot be done manually on account of boulders and rocks, it is necessary to blast the rocks by using suitable explosives. The quality of explosive to be used depends on the nature of the rocks and the kind of boulders. A few types of explosive fuses and detonators normally used for making trenches for cable works are detailed below:

- Gun Powder

- Nitrate Mixture

- Gelatin

- Safety Fuse

- Electric Detonator

- Ordinary Detonator.

    - Procedure:

A detailed survey of the route is to be done to assess the length of the section where trenching is to be done with the help of blasting. A route diagram of the rocky section may be prepared indicating the length of the route where the explosives are to be used. For the purpose of obtaining license, a longer length of route should be given in the application as in many cases, after digging, rocks appear were blasting was not initially anticipated.

Next a license will have to be obtained for use and storing of explosive in that section. If the area falls under a police commissioner, the authority for grating such license is the police commissioner of the concerned area. When the route does not fall in the jurisdiction of a police commissioner, the authority for issuing license is the District Magistrate.

The concerned authority should be applied in prescribed from with a route map. The concerned authority will make an enquiry and issue a license for using/storing explosives for cables trenching work. Such license will be valid for 15 days only. The license should be got renewed if the blasting operation need to be extended. Once the license is granted it is the responsibility of the holders of the license for the proper use of explosives, its transportation and storing.

    - Method of using:

The safest explosive is the gelatin and electric detonator. Gelatin is in the from of a stick. Electric detonator is a type of fuse used for firing the explosive electrically. Holes are made at suitable intervals on rocky or builders either by air compressor or by manual chipping. The depth of the holes should be 2 to 3 .fc. Fill up the holes with small quantity of sand for about 6”. First the electric detonator is to be inserted into the gelatin and the gelatin is to be inserted into the holes keeping the + ve and – ve wirings of electric detonator outside the holes. Again refill the holes with sand. These + ve and – ve insulated wire of detonator are than extended and finally connected to an EXPLODER kept at a distance of not less than 100 mtrs.

Now the explosive is ready for blasting. But, before connecting wire to exploder for blasting, all necessary precautions for stopping the traffic, use of red flags, exchange of caution singles, etc, should be completed and only then Exploder should be connected and operated.

    - Operation of exploder (IDL Schaffer type exploder):

The type 350 blasting machine consists of a bearing block with blasting machine system and the explosion proof light-alloy injection molded housing. The exploder is held with the left hand. The twist handle is applied to the drive pin, dapped with the right hand turned in the clock wise direction in continuous measurements at the highest speed from the initial position until it reached to a stop. At this stage an indication lamp will glow. When the indication lamp glows, “press button switch” should be pressed. This will extend the electric current to detonator and gelatin will be denoted. The rock will be blasted out of the trench. Number of holes can be blasted in a single stroke by connecting all such detonators in series connection and finally to the exploder. After blasting, again mazdoors are engaged on the work to clear to debris. If the result of the first blasting is not satisfactory, it should be repeated again on the same place.

    - Warning:

There may be two reasons for unsatisfactory results of the blasting:

  - Misfire of gelatin due to leakage of current from detonator.

  - Over loading because of overburdens.

Never pull the broken wire pieces from the holes in such cases. Attempt should not be made to re-blast the misfired gelatin. The safest way is to make a fresh hole by its side and put fresh gelatin in that hole and blast it.

    - Precautions:

The abstract of Explosives Rules 1983 which are relevant to our work is given below:

Restriction of delivery and dispatch of explosives:

No persons shall deliver or dispatch any explosives to any one other then a person who.

(a) Is the holder of a license to possess the explosives or the agent of a holder of such a license duly authorized by him in writing on his behalf?

OR

(b) Is entitled under these rules to possess the without a license

The explosives so delivered or dispatched shall in no case exceed the quantity which the person to whom they are delivered or dispatched is authorized to possess with or without a license under these rules.

No person shall receive explosives from any person other than the holder of a license. Granted under these rules. No person shall receive from or transfer explosives to any person for a temporary storage or safe custody in a licensed premise unless prior approval is obtained from the chief Controller.

A person holding license for possession of explosives granted under these rules shall store the explosives only in premises specified in the license.

- Protection from Lightening During Storing:

Every magazine shall have attached there to one or more efficient lightening conductors designed and erected in accordance with the specification laid down Indian standard Specifications No. 2309 as amended from time to time. The connections to various parts of earth resistance of the lighting conductor terminal on the building to the earth shall be tested at least once in every year by a qualified electrical engineer or any other competent person holding a certificate of competency in this behalf from the state Electricity Department. A certificate showing the result of such tests and the date of the last test shall be hung up in conspicuous place in the building.

- Precautions during thunder-storm:

When a thunder-storm appears to be imminent in the vicinity of a magazine or store house every person engaged in or around such magazine and store house shall be withdrawn to a safe distance from such magazine or store house and the magazine and threat of it has passed.

- Maintenance of records:

Every person holding a license granted under these rules for possession sale or use of explosives shall maintain records in the prescribed forms and shall produce such record on demand to an Inspection Officer.

- Explosives not to be kept in damaged boxes:

The licensee of every magazine or store house shall ensure that, the explosives are always kept in their original outer package, In case the outer package gets damaged so that the explosives contained therein cannot be stored or transported, such explosives shall be repacked only after the same examined by controller of explosives:

Storage of explosives in excess of the licensed quantity:

The quantity of any kind of explosives kept in any licensed magazine or store house shall not exceed the quantity entered in the license against such kind of explosives. No explosives in excess of the licensed quantity shall be stored in the magazine or store house unless a permit in this behalf is obtained from the licensing authority by a letter or telegram.

12.3.6. Precautions to be observed at Site:

The electric power at the blasting site shall be discontinued as far as practicable before charging the explosives. No work other than that associated with the charging operations shall be carried out within 10 meters of the holes unless otherwise specified to the country by the licensing authority.

When charging power is completed, any surplus explosive detonators and fuses shall be removed from the vicinity of the hole and stored at a distance which should prevent accidental detonation in the event of a charge detonating prematurely in any hole. The holes which have been charged with explosives shall not be left unattended till the blasting is completed. Care shall be taken to ensure that fuse or wires connected to the detonation are not damaged during the placing of stemming materials and tamping.

- Suitable warning procedure to be maintained :

The licenses or a person appointed by the licenses to be charge of the use of explosives at the site shall lay down a clear warning procedure consisting of warning signs and suitable signals and all persons employed in the area shall be made fully conversant with such signs and signals.

- Precautions to be observed while firing:

The end of the safety fuse (if used in place of a detonator should be freshly cut before being lighted. The exploders shall be regularly tested and maintained in a fit condition for use in firing. Exploders shall not be used for firing a circuit above its rated capacity. The electric circuit shall be tested for continuity before firing. All persons other than the shot firer and his assistant if any shall be withdrawn from the site before testing the continuity.

For the purpose of jointing, the ends of all wires and cables should have the insulation removed for a maximum length of 5 cms. And should, then be made clear and bright for a minimum length of 2.5 cms. And the end to be jointed should be twisted together so as to have a position metal contact. Then these should be taped with insulation to avoid leakage when in contact with earth.

Is case of blasting with dynamite or any other high explosive, the position of the bore holes to be drilled shall be marked in circles with while paint. These shall be inspected by the contractor’s agent. Bore holes shall be of a size that the cartridge can easily pass down. After the drilling operation the agent shall inspect the holes to ensure that drilling has been done only at the marked locations ad no extra hole has been drilled. The agent shall then prepare the necessary charge separately for each bore hole. The bore holes shall be thoroughly cleaned before a cartridge is inserted. Only cylindrical wooden tamping rods shall be used for tamping. Metal rods or rods having pointed ends shall never be used for tamping. One cartridge shall be placed in the bore hole and gently pressed but not rammed down. Other cartridges shall than be added as may be required to make up he necessary charge for the bore hole. The top most cartridges shall be connected to the detonator which shall in turn be connected to the safety fuses of required length. All fuses shall be cut to the length required before being inserted into the holes. Joints in fuses shall be avoided. Where joints are unavoidable, a semi-circular niche shall be cut in one piece inserted into the niche. The two pieces shall then be wrapped together with string. All joints exposed to dampness shall be wrapped with rubber tape.

The maximum of eight bore holes shall be loaded and fired at one occasion. The charges shall be fired successively and not simultaneously. Immediately before firing, warming shall be given and the agent shall see that all persons have retired to a place of safety. The safety fuses of the charged holes shall be ignited in the presence of the agent, who shall see that all the fuses are properly ignited.

Careful count shall be kept by the agent and others of each blast as it explodes. In case all the charged bore holes have exploded, the agent shall inspect the site soon after the blast but in case of misfire the agent shall inspect the site after half an hour and mark red crosses (X) over the holes which have not exploded. During his interval of half an hour, nobody shall approach the misfired holes. No driller shall work near such bore until either of the following operations has been done by the agent for the misfired boreholes.

- The contractor’s agent shall very carefully (when the tamping is damp clay) extract the tamping with a wooden scraper and withdraw the primer and detonator.

- The holes shall be cleaned for 30 cm of tamping and its direction ascertained by placing a stick in the hole. Another hole shall then be drilled 15 cm away and parallel to it. This hole shall be charged and fired. The misfired holes shall also explode along with the new one.

Before leaving the site of work, the agent of one shift shall inform the agent relieving him for the next shift, of any case of misfire and each such location shall be jointly inspected and the action to be taken in the matter shall be explained to the relieving agent.

The Engineer-in-charge shall also be informed by the agent of all cases of misfire, their causes and steps taken in that connection.

12.3.7 General Precaution: For the safety of persons red flags shall be prominently

displayed around the area where blasting operations are to be carried out. All the workers at site, except those who actually ignite the fuse, shall withdraw to a safe distance of at least 200 meter from the blasting site. Audio warning by blowing whistle shall be given before igniting the fuse.

Blasting work shall be done under careful supervision and trained personnel shall be employed. Blasting shall not be done within 200 meters of an existing structure, unless specifically permitted by the Engineer-in-Charge in writing.

Precautions against misfire: The safety fuse shall be cut in an oblique direction with a knife. All saw dust shall be cleared from inside of the detonator. This can be done by blowing down the detonator and tapping the open end. No tools shall be inserted into the detonator for this purpose.

If there is water present or if the borehole is damp, the junction of the fuse and detonator shall be made water tight by means of tough grease or any other suitable material. The detonator shall be inserted into the cartridge so that about one-third of the copper tube is left exposed outside the explosive. The safety fuse just above the detonator shall be securely tied in position in the cartridge. Waster proof fuse only shall be used in the damp borehole or when water present in the borehole.

If a misfire has been found to be due to defective fuse, detonator or dynamite, the entire consignment form which the fuse, detonator or dynamite was taken shall be got inspected by the Engineer-in-charge or his authorized representative before resuming the blasting or returning the consignment.

12.3.8 Precaution against stray currents:

Where electrically operated equipments is used in locations having conductive ground or continuous metal objects, tests shall be made for stray current to ensure that electrical firing can proceed safely.

Section – IX

MATERIAL SECURITY BOND FORM

Where as ………. (Here in under called  “ the Contractor”) has been awarded the contract of cable construction work as per tender number _________________________ KNOW ALL MEN by these presents that WE…….OF……….. Having our registered office at ……………………… (hereinafter called the  “the Contractor”) are bound unto ………(here in after called “The Department”) in the sum of……… for which payment will and truly to be made of the said Department, the Bank binds itself, its successors and assigns by these presents.

THE CONDITIONS of the obligation are:

- If the Contractor is unable to keep stores issued to him, properly, i.e. the store provided to the contractor, by the Department are damaged or

- The stores issued to the contractor by the Department are stolen or

- The Contractor is not able to provide proper account of the stores issued to him/her/them by the Department.

We undertake to pay to the Department up to the above amount upon receipt of its first written demand without the Department having to substantiate its demand, provided that in its demand, the Department will note that the amount claimed by it is due to it owing to the occurrence of one or two or all of three conditions specifying the occurred condition or conditions.

This guarantee will remain in force up to and including One hundred and eighty (180) days after the Period of Contract validity, and any demand in respect thereof should reach the Bank not later than the above date.

Signature of the Bank

Signature of the Witness

Name of Witness

Address of Witness

SECTION - X

AGREEMENT

The successful tenderer shall have to execute the following agreement.

The agreement made on this ………………………………….……………………….. day of (month)……………(year)……………….between M/s. ………………………….………….. here in after called  “ The Contractor ( which expression shall unless executed  by or  repugnant to the context , include its successors, heir, executors, administrative representative and assignee )  of the one part & the President of India of India herein after referred to as the Government, of other part.

Where as the contractor has offered to enter into contract with the said Government for the execution of work of trenching & pipe laying UG cable pulling, UG cable Splicing and termination, Preparation of joint chambers, fixing, painting and sign writing of route/joint indicators and other associated works in Jammu SSA on the terms and conditions herein contained and the rates approved by the Government (copy of Rates annexed) have been duly accepted and where as the necessary security deposits have been furnished in accordance with the provisions of the tender document and whereas no interest will be claimed on the security deposits.

Now these presents witness and it is hereby agreed and declared by and between the parties to these presents as follows:

- The contractor shall, during the period of this contract that is to say from……………to……………………………………or completion of work for Rs………………… (in words) …………..…………………………Whichever is earlier or until this contact shall be determined by such notice as is herein after mentioned, safely carryout, by means of labours, employed at his own expenses and by means of tolls, implements and equipment etc. to be supplied by him to his labour at his own expenses, all trenching, pipe laying, cable pulling, cable splicing, joint chamber preparation, fixing, painting and sign writing of route indicators and other associated works as described in tender documents (annexed to the agreement), when  The GMTD Jammu or any other persons authorized by The GMTD Jammu  in that behalf require.  It is understood by the contractor that the quantity of work mentioned on the schedule is likely to change as per actual requirements as demanded by exigencies of service.

- The NIT (notice inviting tender), Bid documents (Qualifying and Financial), letter of intent, approved rates, annexed hereto and such other additional particulars, instructions, drawing, work orders as may be found requisite to be given during execution of the work shall be deemed and taken to be an integral part of the contract and shall also be deemed to be included in the expression “The Agreement “ or “ The Contract “ wherever herein used.

- The contractor shall also supply the requisite number of workmen with means & materials as well as tools, appliances, machine, implements, vehicles for transportation, cartage etc. required for the proper execution of work within the time prescribed in the work orders.

- The contractor hereby declares that nobody connected with or in the employment of the Department of Telecommunications / DTS/ BSNL is not/ shall not ever be admitted as partner in the contract.

- The contractor shall abide by the terms and conditions, rules, guidelines, construction practices, safety precautions etc. stipulated in the tender document including any correspondence between the contractor and the Government having bearing on execution of work and payments of work to be done under the contract.

In witness whereof the parties presents have here into set their respective hands and seals the day and year in_____________

Above written:

Signed sealed & Delivered by

The above named Contractor in

The presence of

Witness:

1

2

Signed & Delivered on behalf of BSNL

Witness:

Of

1

2

SECTION XI

LETTER OF AUTHORISATION FOR ATTENDING BID OPENING

Tender Number__________________________________________________________

Sub: 	Authorization for attending bid opening on ___________ (date ) in the tender of __________

Following persons are hereby authorized to attend the bid opening for the tender mentioned above on behalf  of _______________________________________ (Bidder) in order of preference given below:-

Order of Preference		Name				Specimen Signature

I

II

Alternate

Representative

Signature of bidder

Or

Officer authorized to sign the bid

Documents on behalf of the bidder

No.	1.	Maximum of two representatives will be permitted to attend bid opening.   In cases

where it is restricted to one, first preference will be allowed.  Alternate representative will be permitted when regular representatives are not able to attend.

2.	Permission for entry to the hall where bids are opened may be refused in case authorization as prescribed above is not recovered.

###### SECTION –XII

LIST OF THE DOCUMENTS TO BE SUBMITTED ALONG WITH QUALIFYING BID

The tenderer will have to submit the following documents/ deposits with the Technical Bid.  Any bid not accompanying the below mentioned documents / deposits will be liable to be rejected:

- Bid Security in accordance with the tender document.

- Tender document (s) in original, duly filled in and signed by tenderer or his authorized representative along with seal on each page.  All corrections and overwriting must be initialed with date by the tenderer or his authorized representative.

- The copy of Enlistment certificate issued by the competent authority duly attested by a gazetted officer.

- The registration of the firm.  Authenticated copy of partnership deed in cases of partnership firm.

- Bid Form, duly filled in, as per section II.

- Tenderer’s profile, duly filled in, as per Section III of the tender document.

- Original “Power of Attorney “  in case person other than the tenderer has signed the tender documents.

- List of qualified experienced personnel, who are working for the tenderer, who will be deployed for the work.

- Attested copy of PAN Number.

.

##### SECTION – XIII

##### RATES OF EMPTY CABLE DRUMS

These are the rates of the empty cable drums, which have to be deducted from contractor’s bills as per tender document.

| S. No. | Size of drum | Rate of disposal |
| --- | --- | --- |
| 1. | 1200 Pair and above | 550/- |
| 2. | 800 Pairs | 500/- |
| 3. | 400 Pairs | 375/- |
| 4. | 200 Pairs | 250/- |
| 5. | 100 Pairs | 150/- |
| 6. | 50 Pairs | 125/- |
| 7. | 20 Pairs | 100/- |
| 8. | 10 Pairs | 75/- |

Note: These are fixed rates and no variation shall be acceptable from these rates.

#### SECTION - XIV

STANDARD SCHEDULE FOR RATES FOR U.G. CABLE CONSTRUCTION WORKS

Route/Section:  From…………………..……To…………………….……….

BHARAT  SANCHAR  NIGAM  LIMITED

(A GOVT OF INDIA  ENTERPRISE)

O/O GENERAL MANAGER TELECOM

DISTRICT JAMMU

TENDER FOR U/G

CABLE LAYING

IN

JAMMU SSA

FINANCIAL DOCUMENT

TENDERNO:  JP/AP/UGCABLE-1/ DAYALCHAK/07-08

JP/AP/UGCABLE-2/SIDHRA&

KOTBALWAL/07-08

OFFICE OF THE GENERAL

MANAGER

TELECOM DISTRICT

KACHI CHAWNI

JAMMU

###### SECTION - XV

###### FINANCIAL BID

To,

The GMTD, Jammu.

Sub: - 	Our Financial Bid for Cable Construction Works on UG route …………....

Ref: - __________________________________________________________________

Dear Sir,

Having examined the tender documents, terms and conditions stipulated therein, specifications of work etc., we the under signed offer to execute the Cable Construction Works in conformity with the said specifications and conditions of contract at the percentage  (Below /at par / above) on standard schedule rates quoted as under:

BELOW	In figure………………………………………%

In words…………………………………percent

OR

AT PAR	In figure ………………………………………%

In words……………………………….…percent

OR

ABOVE	In figures…………………….…………………%

In words……………………….………….percent

If our Bid is accepted, we shall submit the securities as per the conditions mentioned in the contract.

We agree to abide by this Bid for a period of 240 days from the date of opening of financial bid and it shall remain binding upon us and may be accepted at any time before the expiry of that period.

Dated ……………..

Signature of the tenderer…………….

Name of tenderer………...……………

# Text boxes

Passport size photograph of the tenderer/authorised signatory holding power of attorney